Supplementary Table 1. Peak Expiratory Flow Rate (PEFR; l/min) measured with Wright peak flow and Mini Wright flow meters

| Subject | Large Wright Peak Flow Meter |  | Mini Wright Peak Flow Meter |  | Large meter - Mini meter |
| --- | --- | --- | --- | --- | --- |
|  | 1st PEFR | 2nd PEFR | 1st PEFR | 2nd PEFR |  |
| 1 | 494 | 490 | 512 | 525 | -18 |
| 2 | 395 | 397 | 430 | 415 | -35 |
| 3 | 516 | 512 | 520 | 508 | -4 |
| 4 | 434 | 401 | 428 | 444 | 6 |
| 5 | 476 | 470 | 500 | 500 | -24 |
| 6 | 557 | 611 | 600 | 625 | -43 |
| 7 | 413 | 415 | 364 | 460 | 49 |
| 8 | 442 | 431 | 380 | 390 | 62 |
| 9 | 650 | 638 | 658 | 642 | -8 |
| 10 | 433 | 429 | 445 | 432 | -12 |
| 11 | 417 | 420 | 432 | 420 | -15 |
| 12 | 656 | 633 | 626 | 605 | 30 |
| 13 | 267 | 275 | 260 | 227 | 7 |
| 14 | 478 | 492 | 477 | 467 | 1 |
| 15 | 178 | 165 | 259 | 268 | -81 |
| 16 | 423 | 372 | 350 | 370 | 73 |
| 17 | 427 | 421 | 451 | 443 | -24 |
| Mean | 450.35 | 445.41 | 452.47 | 455.35 | -2.12 |
| SD | 116.31 | 119.61 | 113.12 | 111.32 | 38.77 |

Supplementary Figure 1. Comparisons with the limits of agreement for 4 different scenarios: panel A (Cb=1, ρ=0.65), panel B (Cb=1, ρ=0.75), panel C (Cb=1, ρ=0.85), and panel D (Cb=1, ρ=0.9). The CCC of 0.75 is selected as a lower bound of excellent concordance. The sample size is 100. X1 and X2 are generated from uniform distribution by the Demirtas method. The % of outliers are 10%, 7%, 5%, and 3%, respectively. The half-width of the RB is not dependent on the correlation ρ while the half-width of the LoA is inversely associated with ρ (the half-widths of the LoA are 0.508, 0.409, 0.297, and 0.242, respectively).

Supplementary Figure 2. Association between the CCC values and the % of outliers for 4 different scenarios: panel A (Cb=1, ρ=0.65), panel B (Cb=1, ρ=0.75), panel C (Cb=1, ρ=0.85), and panel D (Cb=1, ρ=0.9). The CCC of 0.75 is selected as a lower bound of excellent concordance. Under each scenario, 10,000 runs of simulation are conducted, and the sample size of each run is 1,000. X1 and X2 are generated from uniform distribution by the Demirtas method.