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Supplemental Table 1.  Correlation of IFA titer and ELISA in acute samples*

	
	

	
	IgG
	IgM

	IFA titer
	# of samples
	# of ELISA positives
	# of samples
	# of ELISA positives

	<1:50
	170
	27
	175
	15

	1:50
	9
	6
	10
	6

	1:100
	9
	9
	4
	2

	1:200
	8
	8
	7
	7

	1:400
	19
	19
	12
	12

	1:800
	5
	5
	8
	8

	1:1600
	10
	10
	14
	14

	1:3200
	11
	11
	10
	10

	>= 1:6400
	7
	7
	8
	8


*. ELISA cutoff values used for this comparison were 0.816 for IgG and 0.320 for IgM.

Supplemental Table 2. Distribution of IgG or IgM ELISA positive but diagnosed as scrub typhus negative*

	Diagnosis
	Total # of patients
	# of patients without convalescent sera
	# of patients with convalescent sera and remained IFA negative

	Unknown
	23
	18
	5

	leptospirosis
	6
	2
	4

	Murine typhus
	1
	0
	1


*. The ELISA cutoff values used for IgG and IgM were 0.816 and 0.320, respectively.
Supplemental Figure 1. Correlation of IgG and IgM ELISA OD with single IFA titers at 400. One of the criteria to consider a patient as ST positive was based on IgG or IgM titer >= 400 of a single serum.  The ELISA OD of patients with were plotted against the IgG or IgM titer < 400 (negative, open symbols) or >= 400 (positive, closed symbols). The mean OD of each group was plotted in red. The mean and standard deviation of ELISA OD of IgG (circles) or IgM (triangles) IFA positives (IFA titer >=400) was significantly different from that of IFA negatives (t test, p < 0.0001).
Supplemental Figure 2. Correlation of IgG and IgM ELISA OD with ST cases. ST cases were determined by a combination of IFA and PCR results. The ELISA OD of patients who were determined as positives (closed symbols) and negatives (open symbols) were plotted. The mean and standard deviation of ELISA OD of each group was plotted in red. The mean OD of IgG (circles) or IgM (triangles) for determined positives and negatives was significantly different (t test, p < 0.0001).

