## Supplemental table 1. Performance evaluation of the RT-iiPCR and RT-qPCR assays in ZIKV-spiked specimens.

|  |  |  | Sample condition |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample type | Assay |  | ZIKV- spiked | Mock- infected | Total number of samples |
| Whole blood | RT-iiPCR | Positive | 74 | 0 | 74 |
|  |  | Negative | 26 | 20 | 46 |
|  |  | Total | 100 | 20 | 120 |
|  | CDC-PAHO RT-qPCR | Positive | 60 | 0 | 60 |
|  |  | Negative | 40 | 20 | 60 |
|  |  | Total | 100 | 20 | 120 |
| Plasma | RT-iiPCR | Positive | 86 | 0 | 86 |
|  |  | Negative | 14 | 20 | 34 |
|  |  | Total | 100 | 20 | 120 |
|  | CDC-PAHO RT-qPCR | Positive | 74 | 0 | 74 |
|  |  | Negative | 26 | 20 | 46 |
|  |  | Total | 100 | 20 | 120 |
| Serum | RT-iiPCR | Positive | 90 | 0 | 90 |
|  |  | Negative | 10 | 20 | 30 |
|  |  | Total | 100 | 20 | 120 |
|  | CDC-PAHO RT-qPCR | Positive | 78 | 0 | 78 |
|  |  | Negative | 22 | 20 | 42 |
|  |  | Total | 100 | 20 | 120 |
| Semen | RT-iiPCR | Positive | 17 | 0 | 17 |
|  |  | Negative | 3 | 4 | 7 |
|  |  | Total | 20 | 4 | 24 |
|  | CDC-PAHO RT-qPCR | Positive | 15 | 0 | 15 |
|  |  | Negative | 5 | 4 | 9 |
|  |  | Total | 20 | 4 | 24 |
| Urine | RT-iiPCR | Positive | 73 | 0 | 73 |
|  |  | Negative | 27 | 20 | 47 |
|  |  | Total | 100 | 20 | 120 |
|  | CDC-PAHO RT-qPCR | Positive | 57 | 0 | 57 |
|  |  | Negative | 43 | 20 | 63 |
|  |  | Total | 100 | 20 | 120 |
| Mosquito pools | RT-iiPCR | Positive | 5 | 0 | 5 |
|  |  | Negative | 1 | 1 | 2 |
|  |  | Total | 6 | 1 | 7 |
|  | CDC-PAHO RT-qPCR | Positive | 5 | 0 | 5 |
|  |  | Negative | 1 | 1 | 2 |
|  |  | Total | 6 | 1 | 7 |