[bookmark: _GoBack]Suppl. Table 1. Performance of NS1 rapid antigen test vs NS1 ELISA capture assay
	Patient
	NS1 rapid
	NS1 ELISA 
index
	NS1 ELISA 
assay result
	Match
	Study group

	MUPL-001-RURI-F
	neg
	0.664554
	neg
	Yes
	probable

	MUPL-002-SHMA-F
	neg
	0.094598
	neg
	Yes
	another origin

	MUPL-003-SAAR-M
	neg
	-0.28143
	neg
	Yes
	probable

	MUPL-005-YURY-F
	neg
	0.113518
	neg
	Yes
	another origin

	MUPL-006-JAIO-M
	neg
	0.125343
	neg
	Yes
	another origin

	MUPL-007-DIWI-F
	neg
	0.089869
	neg
	Yes
	probable

	MUPL-008-BUSO-M
	neg
	0.096963
	neg
	Yes
	probable

	MUPL-009-SOTO-M
	neg
	0.087504
	neg
	Yes
	another origin

	MUPL-010-BATI-F
	neg
	0.082774
	neg
	Yes
	another origin

	MUPL-011-DENI-F
	neg
	0.089869
	neg
	Yes
	another origin

	MUPL-012-DWTA-F
	neg
	-0.20102
	neg
	Yes
	another origin

	MUPL-013-IHAM-M
	neg
	0.127708
	neg
	Yes
	another origin

	MUPL-014-ARNO-F
	neg
	0.115883
	neg
	Yes
	another origin

	MUPL-015-SUTO-M
	neg
	0.111153
	neg
	Yes
	another origin

	MUPL-016-WANG-F
	neg
	0.092233
	neg
	Yes
	another origin

	MUPL-017-ARTA-F
	pos
	3.105193
	pos
	Yes
	confirmed

	MUPL-018-MOAE-M
	pos
	5.831993
	pos
	Yes
	confirmed

	MUPL-019-NENI-F
	neg
	0.118248
	neg
	Yes
	another origin

	MUPL-020-ABNI-M
	neg
	-0.10642
	neg
	Yes
	another origin

	MUPL-021-INNA-F
	neg
	0.111153
	neg
	Yes
	another origin

	MUPL-022-DATO-M
	neg
	0.125343
	neg
	Yes
	probable

	MUPL-023-NAHA-F
	pos
	6.749598
	pos
	Yes
	confirmed

	MUPL-024-CAWO-M 
	pos
	1.648378
	pos
	Yes
	confirmed

	MUPL-025-ADWI-F
	pos
	5.550563
	pos
	Yes
	confirmed

	MUPL-026-SHNO-M
	neg
	0.593605
	neg
	Yes
	another origin

	MUPL-027-ANKO-M 
	neg
	0.186832
	neg
	Yes
	probable

	MUPL-028-YUAN-F 
	neg
	-0.20812
	neg
	Yes
	probable

	MUPL-029-THNA-F 
	neg
	0.122978
	neg
	Yes
	another origin

	MUPL-030-SUDO-F 
	neg
	0.196292
	neg
	Yes
	another origin

	MUPL-031-SAAH-F 
	neg
	0.148993
	neg
	Yes
	probable

	MUPL-032-YUAN-M
	neg
	0.115883
	neg
	Yes
	probable

	MUPL-033-RATA-M
	pos
	5.661716
	pos
	Yes
	confirmed

	MUPL-034-NUTI-F
	neg
	0.101693
	neg
	Yes
	probable

	MUPL-035-FITI-F
	pos
	7.229685
	pos
	Yes
	confirmed

	MUPL-036-DEKI-F
	neg
	-0.17028
	neg
	Yes
	probable

	MUPL-037-HETA-F
	pos
	3.015325
	pos
	Yes
	confirmed

	MUPL-038-SAUS-M
	neg
	0.134803
	neg
	Yes
	another origin

	MUPL-039-PUNI-F*
	neg
	0.127708
	neg
	Yes
	excluded*

	MUPL-040-IMAT-M
	neg
	0.125343
	neg
	Yes
	probable

	MUPL-041-DINO-M
	neg
	0.108788
	neg
	Yes
	probable

	MUPL-042-AJTI-F
	neg
	0.099328
	neg
	Yes
	probable

	MUPL-043-MAYA-F
	pos
	7.385772
	pos
	Yes
	confirmed

	MUPL-044-DWNO-M
	neg
	-0.2294
	neg
	Yes
	probable

	MUPL-045-INNA-F
	neg
	0.099328
	neg
	Yes
	probable

	MUPL-046-SENI-F
	neg
	0.151357
	neg
	Yes
	probable

	MUPL-047-SUYO-M
	neg
	0.146628
	neg
	Yes
	another origin

	MUPL-048-AIRI-F
	neg
	1.326743
	pos
	No
	confirmed

	MUPL-049-ISTO-M
	neg
	0.130073
	neg
	Yes
	probable

	MUPL-050-MIAP-M
	neg
	0.118248
	neg
	Yes
	another origin

	MUPL-051-MUKI-M
	neg
	0.416233
	neg
	Yes
	probable

	MUPL-052-GIVO-M
	neg
	-0.13244
	neg
	Yes
	probable

	MUPL-053-ABNA-M
	neg
	0.087504
	neg
	Yes
	probable

	MUPL-054-ADNO-M
	neg
	0.130073
	neg
	Yes
	another origin

	MUPL-055-YEPH-M
	neg
	0.137168
	neg
	Yes
	probable

	MUPL-056-RORA-F
	neg
	0.130073
	neg
	Yes
	another origin

	MUPL-057-NADI-M
	neg
	0.118248
	neg
	Yes
	probable

	MUPL-058-SUNO-M
	neg
	0.113518
	neg
	Yes
	another origin

	MUPL-059-WAKA-M
	neg
	0.156087
	neg
	Yes
	probable

	MUPL-060-ASTO-M
	neg
	-0.10169
	neg
	Yes
	probable

	MUPL-061-NUTI-F
	neg
	0.137168
	neg
	Yes
	another origin



* The subject was analysed for both NS1 tests, but excluded from the final analysis due to incomplete data.

