SUPLEMENTARY MATERIAL
Additional file 2. 
[bookmark: _GoBack]Operational characteristics of dual POCT and routine tests (N=18)*
	  
	Bioline POCT
	Chembio POCT
	HIV single rapid test
	Syphilis single rapid test

	Clarity of kit instructions 

	Difficult to follow 
	0 (0%)
	0 (0%)
	0 (0%)
	0 (0%)

	Fairy clear 
	2 (11.11%)
	3 (16.67%)
	0 (0%)
	0 (0%)

	Very clear 
	6 (33.33%)
	5 (27.78%)
	7 (38.89%)
	7 (38.89%)

	Excellent 
	8 (44.44%)
	8 (44.44%)
	7 (38.89%)
	6 (33.33%)

	Missing 
	2 (11.11%)
	2 (11.11%)
	4 (22.22%)
	5 (27.78%)

	Ease of use 

	Complicated 
	0 (0%)
	1 (5.56%)
	0 (0%)
	0 (0%)

	Fairly easy 
	9 (50%)
	7 (38.89%)
	1 (5.56%)
	1 (5.56%)

	Very easy 
	4 (22.22%)
	5 (27.78%)
	9 (50%)
	9 (50%)

	Excellent 
	2 (11.11%)
	2 (11.11%)
	3 (16.67%)
	3 (16.67%)

	Missing 
	3 (16.67%)
	3 (16.67%)
	5 (27.78%)
	5 (27.78%)

	Ease of interpretation of results 

	Difficult 
	0 (0%)
	0 (0%)
	0 (0%)
	0 (0%)

	Fairly easy 
	5 (27.78%)
	4 (22.22%)
	0 (0%)
	1 (5.56%)

	Very easy 
	9 (50%)
	2 (11.11%)
	12 (66.67%)
	11 (61.11%)

	Unambiguous 
	1 (5.56%)
	10 (55.56%)
	2 (11.11%)
	2 (11.11%)

	Missing 
	3 (16.67%)
	2 (11.11%)
	4 (22.22%)
	4 (22.22%)

	Rapidity of test results 

	<20 
	9 (50%)
	10 (55.56%)
	12 (66.67%)
	11 (61.11%)

	20-30 minutes 
	6 (33.33%)
	5 (27.78%)
	1 (5.56%)
	1 (5.56%)

	>30 minutes 
	0 (0%)
	0 (0%)
	0 (0%)
	0 (0%)

	Missing 
	3 (16.67%)
	3 (16.67%)
	5 (27.78%)
	6 (33.33%)

	Hands-on time 

	<5 minutes 
	4 (22.22%)
	5 (27.78%)
	8 (44.44%)
	8 (44.44%)

	5 minutes 
	4 (22.22%)
	7 (38.89%)
	3 (16.67%)
	3 (16.67%)

	10 minutes 
	4 (22.22%)
	1 (5.56%)
	0 (0%)
	0 (0%)

	>10 minutes 
	2 (11.11%)
	2 (11.11%)
	1 (5.56%)
	1 (5.56%)

	Missing 
	4 (22.22%)
	3 (16.67%)
	6 (33.33%)
	6 (33.33%)

	Training time required 

	<30 minutes 
	5 (27.78%)
	6 (33.33%)
	10 (55.56%)
	10 (55.56%)

	30 minutes 
	8 (44.44%)
	7 (38.89%)
	4 (22.22%)
	3 (16.67%)

	1 hour 
	1 (5.56%)
	1 (5.56%)
	0 (0%)
	0 (0%)

	>1 hour 
	2 (11.11%)
	2 (11.11%)
	0 (0%)
	0 (0%)

	Missing 
	2 (11.11%)
	2 (11.11%)
	4 (22.22%)
	5 (27.78%)


*The providers from Site 3 only evaluated the operational characteristics of dual POCTs, as the routine tests in their site were performed in the laboratory.


