Supplementary Table 1 2x2 Data summary of temporal artery thermometers (TATs) studies included in the meta-analysis (n=22)
	First author and Year
	Unique study ID
	Setting
	Inclusion 
of adult
	Fever 
threshold
(°C)
	Reference
standard
	Index test device
	N
	TP
	FP
	FN
	FN

	Siberry
2002
	Siberry
	Pediatric
	No
	38
	Rectal
	Home model
	275
	45
	121
	3
	106

	
	Siberry
	Pediatric
	No
	38.5
	Rectal
	Home model
	275
	29
	40
	1
	205

	
	Siberry
	Pediatric
	No
	39
	Rectal
	Home model
	275
	21
	12
	1
	241

	Suleman
2002
	Suleman
	OR
	Yes
	37.8
	Pulmonary artery
	SensorTouch
	30
	0
	0
	15
	15

	
	Suleman
	OR
	No
	37.8
	bladder
	SensorTouch
	26
	13
	2
	3
	8

	Callanan
2003
	Callanan
	ER
	No
	38
	Rectal
	SensorTouch
	187
	19
	23
	4
	141

	Hebbar
2005
	Hebbar
	PICU
	No
	38
	Rectal
	Exergen
	44
	8
	3
	11
	22

	
	Hebbar
	PICU
	No
	38.5
	Rectal
	Exergen
	44
	8
	1
	11
	24

	Ei-Radhl 2007
	Ei-Radhl
	Pediatric
	No
	37.6
	Oral
	TAT 5000, Exergen
	34
	4
	0
	15
	15

	Kimberger
2007
	Kimberger
	OR/ICU
	Yes
	37.8
	Bladder
	TAT 5000, Exergen
	70
	40
	7
	15
	218

	Stelfox
2010
	Stelfox
	ICU
	No
	38.3
	Bladder
	Exergen TAT 500
	760
	2
	24
	734
	0

	Teran
2011
	Teran
	ER/Inpat
	No
	38
	Rectal
	Exergen TAT 2000
	434
	152
	1
	15
	266

	Hamilton
2013
	Hamilton
	Hospital
	Yes
	38
	Oral
	Chicco Thermo Touch Plus -contact forehead thermometer
	171
	46
	5
	18
	102

	
	Hamilton
	Hospital
	Yes
	38
	Oral
	Beurer FT 60 infrared forehead thermometer digital contact forehead ther
	171
	29
	5
	35
	102

	
	Hamilton
	Hospital
	Yes
	38
	Oral
	Exergen TAT-2000C temporal artery thermometer
	171
	35
	5
	29
	102

	Hamilton
2013
	Hamilton
	ER
	No
	38
	Oral  Rectal
	TAT -500
	205
	68
	4
	26
	107

	Singler
2013
	Singler
	ER
	Yes
	37.9
	Rectal
	Exergen TemporalScanne
Model TAT-5000
	427
	0
	319
	104
	3

	Allegaert
2014
	Allegaert
	Pediatric
	No
	38
	Rectal
	Exerogen
	294
	9
	5
	13
	267

	Odinaka
2014
	Odinaka
	Pediatric
	No
	38
	Rectal
	Exergen TAT 2000C
	156
	66
	9
	13
	68

	Moore
2015
	Moore
	Pediatric
	No
	38
	Rectal
	Exergen
	239
	55
	10
	43
	131

	Bijur
2016
	Bijur
	Pediatric
	Yes
	38
	Rectal
	Exergen TAT500
	987
	201
	54
	82
	650

	Forrest
2017
	Forrest
	Pediatric
	No
	38
	Rectal
	Exergen TAT5000
	85
	16
	4
	10
	55

	Brosinski
2018
	Brosinski
	ER
	No
	38
	Rectal
	Exergen TAT-5000
	126
	51
	10
	6
	59

	
	Brosinski
	ER
	Yes
	38
	Rectal
	[bookmark: _GoBack]Exergen TAT-5000
	125
	35
	5
	12
	73

	
Supplementary Table 1 2x2 Data summary of temporal artery thermometer studies included in the meta-analysis (n=22) (cont.)

	First author and Year
	Unique study ID
	Setting
	Inclusion 
of adult
	Fever 
threshold
(°C)
	Reference
standard
	Index test device
	N
	TP
	FP
	FN
	FN

	Mogensen
2018
	Mogensen
	Pediatric
	No
	38
	Rectal
	Exergen TAT500
	965
	305
	59
	71
	530

	Haimovich
2020
	Haimovich
	ER
	Yes
	38
	Rectal
	No report
	1293
	120
	17
	325
	831

	
	Haimovich
	ER
	Yes
	38
	Oral
	No report
	1293
	13
	12
	43
	1225

	Nygarrd
2020
	Nygarrd
	ER
	Yes
	38
	Rectal
	Exergen
	381
	24
	14
	12
	331

	Erdem
2021
	Erdem
	ER
	Yes
	38
	Axillary
	TAT5000-IR
	151
	943
	88
	60
	1173

	Ravi
2022
	Ravi
	OPD
	Yes
	38
	Oral
	TAT 5000, Exergen
	200
	7
	23
	1
	169


Abbreviations: TP: True Positives, FP: False Positives, FN: False Negatives, TN: True Negatives, ER: emergency room    OPD: Out-Patient Departments, PICU: Pediatric intensive care unit, ICU: intensive care unit
