Supplementary Table 2 2x2 Data summary of non-contact infrared thermometers (NCITs) studies included in the meta-analysis (n=16)

| First author and Year | Unique study ID | Setting | Inclusion of adult | Fever threshold (°C) | Reference standard | Index test device | N | TP | FP | FN | TN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Liu, 2004 | Liu | Outdoor | No | 37.5 | Tympanic membrane | Thermofocus | 500 | 19 | 7 | 91 | 383 |
| Ng, 2005 | Ng | Pediatric | No | 38 | Tympanic membrane | Standard ST-8812 | 1000 | 110 | 216 | 13 | 661 |
| Hausfater, 2008 | Hausfater | ER | No | 37.5 | Tympanic membrane | Raynger MX | 2026 | 46 | 668 | 15 | 1297 |
|  | Hausfater | ER | No | 38 | Tympanic membrane | Raynger MX | 2026 | 50 | 452 | 11 | 1513 |
|  | Hausfater | ER | No | 38.5 | Tympanic membrane | Raynger MX | 2026 | 50 | 197 | 11 | 1769 |
| Paes, 2010 | Paes | Pediatric | No | 38 | Rectal | Thermofocus | 100 | 16 | 3 | 9 | 72 |
| Chiappini, 2011 | Chiappini | Pediatric | No | 38 | Axially | Thermofocus | 251 | 47 | 20 | 6 | 178 |
| Teran, 2011 | Teran | ER/Inpat | No | 38 | Rectal | Thermofocus | 434 | 162 | 8 | 5 | 259 |
| Apa, 2013 | Apa | Pediatric | No | 38 | Axially | ThermoFlash LX-26 | 1639 | 164 | 139 | 10 | 1326 |
| Hamilton,2013 | Hamilton |  | No | 38 | Oral | Visiomed SAS Thermoflash LX-26 | 171 | 28 | 5 | 36 | 102 |
| Berksoy, 2018 | Berksoy | ER | No | 37.5 | Axially | DT 8806 | 319 | 163 | 54 | 21 | 81 |
| Chen, 2020 | Chen | ER | Yes | 37.3 | Tympanic membrane | NA | 261 | 41 | 87 | 3 | 130 |
| Hayward, 2020 | Hayward | OPD | No | 38 | Axially | Thermofocus 0800 | 401 | 11 | 8 | 5 | 377 |
|  | Hayward | OPD | No | 38 | Axially | Firhealth forehead thermometer | 401 | 2 | 2 | 14 | 383 |
| Erdem, 2021 | Erdem |  | No | 38 | Axially | Veratemp | 151 | 1003 | 391 | 0 | 871 |
| Khan, 2021 | Khan | Ward | No | 37.5 | Forehead | Cocoon-NC9900 | 265 | 1 | 2 | 6 | 256 |
| Kim, 2022 | Kim | Pediatric | No | 38 | Tympanic membrane | Hubdic Thermofinder S2, HFS-710 | 255 | 32 | 4 | 8 | 211 |
| Lai, 2022 | Lai | ER/OPD | Yes | 37.3 | Axially | JXB-170 | 235 | 204 | 15 | 207 | 478 |
|  | Lai | ER/OPD | No | 37.3 | Axially | JXB-170 | 669 | 196 | 12 | 215 | 481 |
| Ravi, 2022 | Ravi | OPD | Yes | 38 | Oral | TriTemp | 200 | 1 | 8 | 7 | 184 |

Abbreviations: TP: True Positives, FP: False Positives, FN: False Negatives, TN: True Negatives, ER: Emergency Room, OPD: Out-Patient Departments