[bookmark: _GoBack]Supplementary Table 2 2x2 Data summary of non-contact infrared thermometers (NCITs) studies included in the meta-analysis (n=16)
	First author and Year
	Unique study ID
	Setting
	Inclusion
of adult
	Fever
threshold
(°C)
	Reference
standard
	Index test device
	N
	TP
	FP
	FN
	TN

	Liu, 2004
	Liu
	Outdoor
	No
	37.5
	Tympanic membrane
	Thermofocus
	500
	19
	7
	91
	383

	Ng, 2005
	Ng
	Pediatric
	No
	38
	Tympanic membrane
	Standard 
ST-8812
	1000
	110
	216
	13
	661

	Hausfater,
2008
	Hausfater
	ER
	No
	37.5
	Tympanic membrane
	Raynger MX
	2026
	46
	668
	15
	1297

	
	Hausfater
	ER
	No
	38
	Tympanic membrane
	Raynger MX
	2026
	50
	452
	11
	1513

	
	Hausfater
	ER
	No
	38.5
	Tympanic membrane
	Raynger MX
	2026
	50
	197
	11
	1769

	Paes, 2010
	Paes
	Pediatric
	No
	38
	Rectal
	Thermofocus
	100
	16
	3
	9
	72

	Chiappini,
2011
	Chiappini
	Pediatric
	No
	38
	Axially
	Thermofocus
	251
	47
	20
	6
	178

	Teran, 2011
	Teran
	ER/Inpat
	No
	38
	Rectal
	Thermofocus
	434
	162
	8
	5
	259

	Apa, 2013
	Apa
	Pediatric
	No
	38
	Axially
	ThermoFlash LX-26
	1639
	164
	139
	10
	1326

	Hamilton,2013
	Hamilton
	
	No
	38
	Oral
	Visiomed SAS Thermoflash LX-26 
	171
	28
	5
	36
	102

	Berksoy, 2018
	Berksoy
	ER
	No
	37.5
	Axially
	DT 8806
	319
	163
	54
	21
	81

	Chen, 2020
	Chen
	ER
	Yes
	37.3
	Tympanic membrane
	NA
	261
	41
	87
	3
	130

	Hayward, 2020
	Hayward
	OPD
	No
	38
	Axially
	Thermofocus 0800
	401
	11
	8
	5
	377

	
	Hayward
	OPD
	No
	38
	Axially
	Firhealth forehead thermometer
	401
	2
	2
	14
	383

	Erdem, 2021
	Erdem
	
	No
	38
	Axially
	Veratemp
	151
	1003
	391
	0
	871

	Khan, 2021
	Khan
	Ward
	No
	37.5
	Forehead
	Cocoon-NC9900
	265
	1
	2
	6
	256

	Kim, 2022
	Kim
	Pediatric
	No
	38
	Tympanic membrane
	Hubdic Thermofinder S2, HFS-710
	255
	32
	4
	8
	211

	Lai, 2022
	Lai
	ER/OPD
	Yes
	37.3
	Axially
	JXB-170
	235
	204
	15
	207
	478

	
	Lai
	ER/OPD
	No
	37.3
	Axially
	JXB-170
	669
	196
	12
	215
	481

	Ravi, 2022
	Ravi
	OPD
	Yes
	38
	Oral
	TriTemp 
	200
	1
	8
	7
	184


Abbreviations: TP: True Positives, FP: False Positives, FN: False Negatives, TN: True Negatives, ER: Emergency Room, OPD: Out-Patient Departments
