Table S1. Diagnostic performance of KOH microscopy, fluorescence staining, and FMIA compared to the composite gold standard.

	Diagnostic modality
	Test outcome
	Gold standard positive(n = 241)
	Gold standard negative(n = 59)
	Total

	KOH 
	Positive
	182 (TP)
	4 (FP)
	186

	
	Negative
	59 (FN)
	55 (TN)
	114

	
	Total
	241
	59
	300

	
	
	
	
	

	Fluorescence
	Positive
	224 (TP)
	2 (FP)
	226

	
	Negative
	17 (FN)
	57 (TN)
	74

	
	Total
	241
	59
	300

	
	
	
	
	

	FMIA 
	Positive
	232 (TP)
	3 (FP)
	235

	
	Negative
	9 (FN)
	56 (TN)
	65

	
	Total
	241
	59
	300


[bookmark: _GoBack]FMIA, fluorescence microscopic image analyzer ; KOH, potassium hydroxide; TP, true positive; FP, false positive; FN, false negative; TN, true negative. 
