Supplementary Materials

Nanoparticle-based biosensors coupled with loop-mediated isothermal amplification for rapid, visual, and in-field identification of pathogenic Leptospira

Ling Xie1,2, Ying Liu3, Xinggui Yang3, Shijun Li3*, Xu Chen1,2*

1The Second Clinical Medical College, Guizhou University of Traditional Chinese Medicine, Guiyang, Guizhou, 550003, Peoples Republic of China

2Medical Science Laboratory of Integrative Chinese and Western Medicine, The Second Affiliated Hospital, Guizhou University of Traditional Chinese Medicine, Guiyang, Guizhou, 550003, Peoples Republic of China

3Experimental Center, Guizhou Provincial Centre for Disease Control and Prevention, Guiyang, Guizhou, 550004, Peoples Republic of China

*Corresponding author:

Xu Chen: xuchen1220@126.com

Shijun Li: zjumedjun@163.com

E-mail addresses:

Ling Xie: 2995997537@qq.com           Ying Liu: 24166746@qq.com

Xingui Yang: 1085750482@qq.com        Shijun Li: zjumedjun@163.com

Xu Chen: xuchen1220@126.com

Table S1 Comparison of real-time PCR, Leptospira-LAMP-AuNP-LFB, and culture-sequencing assays for identification of pathogenic Leptospira strains in field mice kidney and human blood samples

| Sample NO. | Sample type | Real-time PCRa （Ct value） | Leptospira- LAMP-AuNP-LFB | Culture-sequencingb |
| --- | --- | --- | --- | --- |
| Test 1 | Field mice kidney | 28 | + | Leptospira interrogans |
| Test 2 | Field mice kidney | — | + | Leptospira interrogans |
| Test 3 | Field mice kidney | 34 | + | Leptospira interrogans |
| Test 4 | Field mice kidney | 26 | + | Leptospira interrogans |
| Test 5 | Field mice kidney | 29 | + | Leptospira interrogans |
| Test 6 | Field mice kidney | — | + | Leptospira interrogans |
| Test 7 | Field mice kidney | 32 | + | Leptospira interrogans |
| Test 8 | Field mice kidney | 27 | + | Leptospira interrogans |
| Test 9 | Field mice kidney | 25 | + | Leptospira interrogans |
| Test 10 | Field mice kidney | — | + | Leptospira interrogans |
| Test 11 | Field mice kidney | 33 | + | Leptospira interrogans |
| Test 12 | Field mice kidney | 32 | + | Leptospira interrogans |
| Test 13 | Field mice kidney | 32 | + | Leptospira interrogans |
| Test 14-56 | Field mice kidney | — | — | Non Leptospira spp. strains |
| Test 57 | Patient blood | 34 | + | Leptospira interrogans |
| Test 58 | Patient blood | 32 | + | Leptospira interrogans |
| Test 59 | Patient blood | 29 | + | Leptospira interrogans |
| Test 60-82 | Patient blood | — | — | Non Leptospira spp. strains |

Notice: a, the real-time PCR diagnosis was carried out using commercial real-time TaqMan Leptospira Nucleic Acid Assay Kits (MABSKY Biological Co., Ltd., Shenzhen, China). The threshold cycle (Ct value) ≤ 36 was determined to indicate a positive result according to the manufacturer’s guidelines.

b, for culture-sequencing, the leptospires were cultured in EMJH-liquid medium and incubated for 3 weeks at 28°C, and then the bacterial genomic DNA was extracted using Bacterial Genomic DNA Extraction Kit according to the manufacturer's instructions (Xi’an Tianlong Technology Co., Ltd.; Xi’an, China). The 16S rRNA gene was amplified with PCR method and then were sequenced by Sanger sequencing. The sequences were analyzed with basic local alignment search tool (BLAST) alignment (information available at www.ncbi.nlm.nih.gov/BLAST).

+, Positive; —, Negative