Supplementary Table S2. 
Antimicrobial susceptibility testing results for the two Pseudomonas aeruginosa isolates included in this study.
	Antimicrobial
	SRR36105565 (PDR)
	SRR36105564 (XDR/near-PDR)
	AST method
	Breakpoint standard
	MIC (µg/mL)

	Piperacillin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Piperacillin–Tazobactam
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Ceftazidime
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Cefepime
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Imipenem
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Meropenem
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Doripenem
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Aztreonam
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Tobramycin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Netilmicin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Amikacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Ciprofloxacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Levofloxacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Norfloxacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Ofloxacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Gatifloxacin
	R
	R
	Disk diffusion / VITEK 2
	CLSI 2024
	—

	Colistin
	R
	S
	Broth microdilution (reference method)
	CLSI/EUCAST
	>64 / 2


[bookmark: _GoBack]Abbreviations: AST, antimicrobial susceptibility testing; BMD, broth microdilution; CLSI, Clinical and Laboratory Standards Institute; MIC, minimum inhibitory concentration; R, resistant; S, susceptible.
- Antimicrobial susceptibility testing was performed using the VITEK® 2 automated system and confirmed by disk diffusion according to CLSI recommendations. Colistin susceptibility was determined exclusively by broth microdilution (BMD), the reference method recommended by CLSI and EUCAST, because automated susceptibility testing systems may not provide reliable colistin MIC values. 
- MIC values are reported only for colistin because broth microdilution was specifically performed for polymyxin susceptibility testing, whereas the remaining antimicrobial agents were interpreted according to routine AST categorical results generated by VITEK® 2 and disk diffusion testing. 

