METRICS tool

| Categories | No. | Items | Weights | Scoref |
| --- | --- | --- | --- | --- |
| Study design | #1 | Adherence to radiomics and/or machine learning-specific checklists or guidelines | 0.0368 | 0.0368 |
|  | #2 | Eligibility criteria that describe a representative study population | 0.0735 | 0.0735 |
|  | #3 | High-quality reference standard with a clear definition | 0.0919 | 0.0919 |
| Imaging data | #4 | Multi-center | 0.0438 | 0.0438 |
|  | #5 | Clinical translatability of the imaging data source for radiomics analysis | 0.0292 | 0.0292 |
|  | #6 | Imaging protocol with acquisition parameters | 0.0438 | 0.0438 |
|  | #7 | The interval between imaging used and reference standard | 0.0292 | 0.0292 |
| Segmentationa | #8 | Transparent description of segmentation methodology | 0.0337 | 0.0337 |
|  | #9 | Formal evaluation of fully automated segmentationb | 0.0225 | 0 |
|  | #10 | Test set segmentation masks produced by a single reader or automated tool | 0.0112 | 0.0112 |
| Image processing and feature extraction | #11 | Appropriate use of image preprocessing techniques with transparent description | 0.0622 | 0.0622 |
|  | #12 | Use of standardized feature extraction softwarec | 0.0311 | 0.0311 |
|  | #13 | Transparent reporting of feature extraction parameters, otherwise providing a default configuration statement | 0.0415 | 0.0415 |
| Feature processing | #14 | Removal of non-robust featuresd | 0.0200 | 0.0200 |
|  | #15 | Removal of redundant featuresd | 0.0200 | 0.0200 |
|  | #16 | Appropriateness of dimensionality compared to data sized | 0.0300 | 0.0300 |
|  | #17 | Robustness assessment of end-to-end deep learning pipelinese | 0.0200 | 0 |
| Preparation for modeling | #18 | Proper data partitioning process | 0.0599 | 0.0599 |
|  | #19 | Handling of confounding factors | 0.0300 | 0.0300 |
| Metrics and comparison | #20 | Use of appropriate performance evaluation metrics for task | 0.0352 | 0.0352 |
|  | #21 | Consideration of uncertainty | 0.0234 | 0 |
|  | #22 | Calibration assessment | 0.0176 | 0.0176 |
|  | #23 | Use of uni-parametric imaging or proof of its inferiority | 0.0117 | 0.0117 |
|  | #24 | Comparison with a non-radiomic approach or proof of added clinical value | 0.0293 | 0.0293 |
|  | #25 | Comparison with simple or classical statistical models | 0.0176 | 0.0176 |
| Testing | #26 | Internal testing | 0.0375 | 0 |
|  | #27 | External testing | 0.0749 | 0.0749 |
| Open science | #28 | Data availability | 0.0075 | 0.0075 |
|  | #29 | Code availability | 0.0075 | 0 |
|  | #30 | Model availability | 0.0075 | 0 |
| Total METRICS score (should be given as percentage) |  |  |  | 0.8816 |
| Quality categoryg |  |  |  | excellent |

aConditional for studies including region/volume of interest labeling

bConditional for studies using fully automated segmentation

cConditional for the hand-crafted radiomics

dConditional for tabular data use

eConditional on the use of end-to-end deep learning

fScore is simply the weight if present and 0 otherwise

gProposed total score categories: 0 ≤ score < 20%, “very low”; 20 ≤ score < 40%, “low”; 40 ≤ score < 60%, “moderate”; 60 ≤ score < 80%, “good”; and 80 ≤ score ≤ 100%, “excellent” quality