Contingency Table 1– Undergraduate Students (STD 1 and STD 2), Endodontics Residency Students (ERS 1 and ERS 2), Artificial Intelligence (AI) vs Gold Standard (Tooth Decay Detection)

|  | Gold Standard: Decay Present | Gold Standard: No Decay |
| --- | --- | --- |
| STD 1: Decay Present | 70 (True Positive - TP) | 4 (False Positive - FP) |
| STD 2: No Decay | 25 (False Negative - FN) | 89 (True Negative - TN) |
| Total | 95 | 93 |
| STD 1: Decay Present | 77 (True Positive - TP) | 4 (False Positive - FP) |
| STD 2: No Decay | 18 (False Negative - FN) | 89 (True Negative - TN) |
| Total | 95 | 93 |
| ERS 1: Decay Present | 90 (True Positive – TP) | 4 (False Positive – FP) |
| ERS 2: No Decay | 5 (False Negative – FN) | 89 (True Negative – TN) |
| Total | 95 | 93 |
| ERS 1: Decay Present | 87 (True Positive – TP) | 4 (False Positive – FP) |
| ERS 2: No Decay | 8 (False Negative – FN) | 89 (True Negative – TN) |
| Total | 95 | 93 |
| AI: Decay Present | 62 (True Positive – TP) | 3 (False Positive – FP) |
| AI: No Decay | 33 (False Negative – FN) | 90 (True Negative – TN) |
| Total | 95 | 93 |