
Table S1 
The MRI Scan Sequences and Parameters for Three Medical Systems
	Sequence
	Category
	TR (ms)
	TE (ms)
	FOV 
(mm)
	Thickness 
(mm)
	Fat Saturation
	Breath-hold

	GE Medical Systems
	
	
	
	
	
	
	

	T1WI in/opposed phase
	Fast SPGR
	4.6
	2.0
	400×400
	3.0
	No
	Yes

	[bookmark: OLE_LINK1]T1WI-fs
	LAVA-Flex
	4.6
	2.0
	400×400
	3.0
	[bookmark: OLE_LINK7]Yes
	Yes

	T2WI-fs
	FRFSE-XL
	2857
	81
	400×400

	6.5
	Yes
	Yes

	DWI
	DW EPI
	3333
	68
	400×400
	[bookmark: OLE_LINK6]6.5
	Yes
	No

	Contrast-enhanced
	
	
	
	
	
	
	

	T1WI-fs (AP)
	LAVA-Flex
	3.7
	1.4
	[bookmark: OLE_LINK5]400×320
	3.0
	Yes
	Yes

	T1WI-fs (VP)
	LAVA-Flex
	3.7
	1.4
	400×320
	3.0
	Yes
	Yes

	[bookmark: OLE_LINK2]T1WI-fs (HBP)
	LAVA-Flex
	3.7
	1.4
	400×320
	3.0
	Yes
	Yes

	Philips Medical Systems
1.5T
	
	
	
	
	
	
	

	T1WI in/opposed phase
	[bookmark: OLE_LINK3]mDIXON
	5.5
	[bookmark: OLE_LINK4]1.7
	400×300
	
3.0
	No
	Yes

	T1WI-fs
	mDIXON
	5.5
	1.7
	400×300
	3.0
	Yes
	Yes

	T2WI-fs
	TSE
	2438
	100
	380×380
	6.6
	
	

	DWI
	DW EPI
	1264
	78
	400×313
	6.6
	Yes
	No

	Contrast-enhanced
	
	
	
	
	
	
	

	T1WI-fs (AP)
	mDIXON
	5.6
	1.75
	375×348
	3.0
	Yes
	Yes

	T1WI-fs (VP)
	mDIXON
	5.6
	1.75
	375×348
	3.0
	Yes
	Yes

	T1WI-fs (HBP)
	mDIXON
	5.6
	1.75
	375×348
	3.0
	Yes
	Yes

	Philips Medical Systems 3.0T
	
	
	
	
	
	
	

	T1WI in/opposed phase
	mDIXON
	3.1
	1.09
	400×350
	3.0
	No
	Yes

	T1WI-fs
	mDIXON
	[bookmark: OLE_LINK8]3.1
	1.09
	400×350
	3.0
	Yes
	Yes

	T2WI-fs
	TSE
	2000
	92
	360×360
	6.6
	
	

	DWI
	DW EPI
	1547
	55
	350×420
	6.6
	Yes
	No

	Contrast-enhanced
	
	
	
	
	
	
	Yes

	T1WI-fs (AP)
	mDIXON
	3.7
	1.31
	450×322
	3.0
	Yes
	Yes

	T1WI-fs (VP)
	mDIXON
	3.7
	1.31
	450×322
	3.0
	Yes
	Yes

	T1WI-fs (HBP)
	mDIXON
	3.7
	1.31
	450×322
	3.0
	Yes
	Yes


Note.—FOV = field of view, fs = fat suppression, AP = arterial phase, VP = portal venous phase, HBP = hepatobiliary phase, Fast SPGR = Fast Spoiled Gradient Recalled Echo, LAVA-Flex = Liver Acquisition with Volume Acceleration-Flexible, FRFSE-XL = Fast Recovery Fast Spin Echo-eXtended Echo Train Length, DW EPI = Diffusion-Weighted Echo Planar Imaging, mDIXON = modified Dixon, TSE = turbo spin-echo.
