## S1_Data
No. | Study ID | Country | Study design | Primary analysis entry | Record type | Sample size (patients) | Sample size (images/discs) | Analysis unit | Validation-set size | Positive events | Negative events | Imaging modality | Imaging view | MRI sequence | Data source type | Validation strategy | Cross-institution external validation | Temporal independent test | Center setting | Reference standard | AI category | Model architecture | Automation level | TP | FP | FN | TN | Sensitivity (%) | Specificity (%) | Accuracy (%)
1 | Sustersic, 2022 | Serbia | Retrospective | Yes | Primary standalone DL | 243 | 557 | Non-patient-level | 84 | 48 | 36 | MRI | Axial | T2-weighted | Public + Private | Internal validation | No | No | Multi-source/public+private | Consensus/Expert | DL | CNN-based DL | Fully-automatic | 45 | 0 | 3 | 36 | 93.75 | 100 | 96.43
2 | Zhang, 2024 | China | Retrospective | Yes | Primary standalone DL | 217 | 3255 | Non-patient-level | 480 | 238 | 242 | MRI | Sagittal | T2-weighted | Private | Internal validation | No | No | Single-center | Consensus/Expert | DL | CNN-based DL | Fully-automatic | 224 | 6 | 14 | 236 | 94.12 | 97.52 | 95.83
3 | Su, 2022 | China | Retrospective | Yes | Primary standalone DL | 100 | 1273 | Non-patient-level | 1273 | 723 | 550 | MRI | Axial | T2-weighted | Private | External validation | Yes | No | Multi-center | Consensus/Expert | DL | CNN-based DL | Semi-automatic | 628 | 66 | 95 | 484 | 86.9 | 88 | 87.35
4 | Su, 2022 | China | Retrospective | No | Extended standalone DL | 1015 | 15254 | Non-patient-level | 2299 | 1178 | 1121 | MRI | Axial | T2-weighted | Private | Internal validation | No | No | Single-center | Consensus/Expert | DL | CNN-based DL | Semi-automatic | 1068 | 87 | 110 | 1034 | 90.7 | 92.2 | 91.43
5 | He, 2025 | China | Retrospective | Yes | Primary standalone DL | 265 | 3180 | Non-patient-level | 530 | 92 | 438 | MRI | Axial | T2-weighted | Private | Internal validation | No | No | Single-center | Consensus/Expert | DL | CNN-based DL | Fully-automatic | 74 | 17 | 18 | 421 | 80.4 | 96.1 | 93.4
6 | He, 2025 | China | Retrospective | No | Human reader comparison | 265 | 3180 | Non-patient-level | 530 | 92 | 438 | MRI | Axial | T2-weighted | Private | Internal reader comparison | No | No | Single-center | Consensus/Expert | Human | N/A | Manual | 71 | 23 | 21 | 415 | 77.2 | 94.7 | 91.7
7 | He, 2025 | China | Retrospective | No | AI-assisted reader comparison | 265 | 3180 | Non-patient-level | 530 | 92 | 438 | MRI | Axial | T2-weighted | Private | Internal reader comparison | No | No | Single-center | Consensus/Expert | DL + Human | CNN-based DL | Semi-automatic | 79 | 15 | 13 | 423 | 85.9 | 96.6 | 94.7
8 | Xu, 2024 | China | Retrospective | No | Extended standalone DL | 1496 | 2684 | Non-patient-level | 2684 | 1567 | 1117 | MRI | Axial | T2-weighted | Private | Internal validation | No | No | Multi-center dataset with internal split | Consensus/Expert | DL | Detection DL | Fully-automatic | 1477 | 60 | 90 | 1057 | 94.3 | 94.6 | 94.4
9 | Xu, 2024 | China | Retrospective | Yes | Primary standalone DL | 1496 | 1015 | Non-patient-level | 1015 | 704 | 311 | MRI | Axial | T2-weighted | Private | External validation | Yes | No | Multi-center | Consensus/Expert | DL | Detection DL | Fully-automatic | 633 | 33 | 71 | 278 | 89.9 | 89.4 | 89.8
10 | Xu, 2024 | China | Retrospective | No | Human reader comparison | 1496 | 2684 | Non-patient-level | 2684 | 1567 | 1117 | MRI | Axial | T2-weighted | Private | Internal reader comparison | No | No | Multi-center dataset with internal split | Consensus/Expert | Non-AI (Rater 1) | N/A | Manual | 1439 | 31 | 128 | 1086 | 91.8 | 97.3 | 94.08
11 | Xu, 2024 | China | Retrospective | No | Human reader comparison | 1496 | 2684 | Non-patient-level | 2684 | 1567 | 1117 | MRI | Axial | T2-weighted | Private | Internal reader comparison | No | No | Multi-center dataset with internal split | Consensus/Expert | Non-AI (Rater 2) | N/A | Manual | 1412 | 37 | 155 | 1080 | 90.1 | 96.7 | 92.85
12 | Zhang, 2023 | China | Retrospective | No | Extended standalone DL | 216 | 3237 | Non-patient-level | 3237 | 1590 | 1647 | MRI | Axial | T2-weighted | Private | Internal validation | No | No | Single-center | Composite (MSU) | DL | Detection DL | Fully-automatic | 1476 | 117 | 114 | 1530 | 92.83 | 92.9 | 92.86
13 | Zhang, 2023 | China | Retrospective | Yes | Primary standalone DL | 100 | 1273 | Non-patient-level | 1273 | 723 | 550 | MRI | Axial | T2-weighted | Private | External validation | Yes | No | Multi-center | Composite (MSU) | DL | Detection DL | Fully-automatic | 690 | 121 | 33 | 429 | 95.44 | 78 | 87.9
14 | Wang, 2025 | China | Retrospective | Yes | Primary standalone DL | 8428 | 100000 | Non-patient-level | 30000 | 16615 | 13385 | MRI | Axial | T2-weighted | Private | Internal temporal validation | No | Yes | Single-center | Composite (MSU) | DL | Detection DL | Fully-automatic | 16133 | 542 | 482 | 12843 | 97.1 | 96 | 96.6
15 | Ke, 2025 | China | Retrospective | Yes | Primary standalone DL | 654 | 391 | Non-patient-level | 391 | 198 | 193 | MRI | Sagittal | Multi-sequence | Private | Internal validation | No | No | Single-center | Consensus/Expert | DL (Pure AI) | Detection DL | Fully-automatic | 194 | 3 | 4 | 190 | 97.98 | 98.45 | 98.21
16 | Ke, 2025 | China | Retrospective | No | Human reader comparison | 654 | 391 | Non-patient-level | 391 | 198 | 193 | MRI | Sagittal | Multi-sequence | Private | Internal reader comparison | No | No | Single-center | Consensus/Expert | Non-AI (Rater) | N/A | Manual | 180 | 11 | 18 | 182 | 90.91 | 94.3 | 92.58
17 | Huang, 2026 | China | Retrospective | No | Extended standalone DL | 36 | 91 | Non-patient-level | 91 | 76 | 15 | CT | Axial | N/A | Private | Internal validation | No | No | Multi-center study, internal test from center A | Multiple readers | DL | CNN-based DL | Fully-automatic | 76 | 2 | 0 | 13 | 100 | 86.7 | 97.8
18 | Huang, 2026 | China | Retrospective | Yes | Primary standalone DL | 97 | 307 | Non-patient-level | 307 | 248 | 59 | CT | Axial | N/A | Private | External validation | Yes | No | Multi-center | Multiple readers | DL | CNN-based DL | Fully-automatic | 234 | 5 | 14 | 54 | 94.4 | 91.5 | 93.8
19 | Chu, 2025 | China | Retrospective | Yes | Primary standalone DL | 983 | 983 | Non-patient-level | 200 | 123 | 77 | CT | Axial | N/A | Private | Internal validation | No | No | Single-center | Consensus/Expert | DL | Transformer-based DL | Fully-automatic | 114 | 6 | 9 | 71 | 92.68 | 92.21 | 92.5
Note: The workbook contains 19 extracted diagnostic-performance records from 10 studies. The primary pooled analysis and primary subgroup analysis used one primary standalone DL result per study (n = 10), marked as “Yes” under “Primary analysis entry”. Other records were retained for descriptive, reader-comparison, or sensitivity interpretation only.

## Notes
Item | Content
Purpose | Final supplementary dataset for the diagnostic meta-analysis after full-text verification.
Scope | All extracted diagnostic-performance records are retained. Rows marked 'Yes' under 'Primary analysis entry' were used in the primary pooled analysis and primary subgroup analysis. Other rows are extended records used for descriptive, reader-comparison, or sensitivity interpretation only.
Primary analysis rule | One primary standalone DL model result was selected from each study to reduce non-independence caused by multiple models, validation sets, or reader-comparison records from the same study.
Validation strategy | Internal validation includes internal hold-out testing, cross-validation, or temporally independent same-center testing. External validation refers to data from a different institution or independent center.
Analysis unit | Extracted counts are not patient-level unless explicitly stated. They may correspond to images, discs, slices, or spinal segments.
2x2 table reconstruction | TP, FP, FN, and TN were directly extracted when available or reconstructed from reported sensitivity, specificity, and positive/negative event counts when sufficient information was available. Reconstructed values were rounded to the nearest integer.
Data independence caution | Su 2022 and Zhang 2023 may have overlapping external validation data. Wang 2025 was classified as same-center temporally independent validation rather than cross-institutional external validation.
Abbreviations | AI, artificial intelligence; DL, deep learning; CNN, convolutional neural network; CT, computed tomography; MRI, magnetic resonance imaging; T2W, T2-weighted imaging; TP, true positive; FP, false positive; FN, false negative; TN, true negative; ViT, vision transformer.