Supplementary Method

Method for sanger sequencing

A fragment of 517bp containing mutation was amplified by Extaq using primer:

Forward: 5’-TAGGCATGATTCCAACCCCA-3’

Reverse: 5’-CTGACGGGCAAGGAACAAAA-3’.

The reaction was assembled following manufacturer's instruction.

The PCR program

| Temperature | Time | Cycle |
| --- | --- | --- |
| 94℃ | 5min | 1 |
| 94℃ | 30s | 10 |
| 65-55℃(touch down 1℃ per cycle) | 30s |  |
| 72℃ | 30s |  |
| 94℃ | 30s | 30 |
| 55℃ | 30s |  |
| 72℃ | 30s |  |
| 72℃ | 5min | 1 |
| 12℃ | hold |  |

The fragment was sequenced using ABI 3500. The reverse primer was used for sequencing.