Table S1 Criteria of clotting scores of extra corporeal circuit at the end of dialysis.
	Clotting score
	Hemofilter
	Expansion chamber

	0
	Clear or No clotting of Hemofilter
	Clear or No clotting of expansion chamber

	1
	Area of streaky Hemofilter less than 1/3 of total 
	Volume of thrombus less than 1/3 of expansion chamber

	2
	Area of streaky Hemofilter less than 2/3 of total 
	Volume of thrombus less than 2/3 of expansion chamber

	3
	Area of streaky Hemofilter more than 2/3 of total
	Volume of thrombus more than 2/3 of expansion chamber 


