Table S1. Protocols of functional magnetic resonance sequences
	Sequence
	IVIM
	DTI
	DKI

	Scan plane
	Axial
	Axial
	Axial

	TR/TE
	2400/58
	2500/58
	2500/58

	FOV (cm)
	38–42
	38–42
	38–42

	Thickness (mm)
	5
	5
	5

	Spacing (mm)
	2
	2
	2

	Slices
	20–24
	20–24
	20–24

	Matrix
	256 × 256
	256 × 256
	256 × 256

	NEX
	1–6
	2
	2

	b values
	25, 50, 100, 150,
 200, 400, 800, 1000
	0, 1000
	0, 500, 1000

	Number of directions
	3
	30
	30


[bookmark: _GoBack] Abbreviation: DKI, diffusion kurtosis imaging; DTI, diffusion tensor imaging; FOV, field of view; IVIM, intravoxel incoherent motion; NEX; number of excitations; TE, echo time; TR, repetition time. 
 

