Additional file 1: Echocardiographic Protocol

All echocardiographic imaging to be performed on the GE Vivid 7/E9. Observe the following settings:

- High frame rates necessary for colour TDI (>150 fps)

- 2D Frame rates should be 50-90 fps

- Record 4 beat loops

- Obtain BP (right arm) at the end of the study and enter into machine to calculate wall stress

Parasternal Long Axis View

- Zoom LVOT and aortic valve

- PLAX view with colour of aortic and mitral valves

- M-mode aortic valve for LVET/LAd and R-R interval

- VCFc

- PLAX RV inflow 2D and colour and CW Doppler

- RV outflow view from PLAX with colour and Doppler

Parasternal Short Axis View

- M-mode at level of mitral valve leaflet tips LV (SF and EF if possible)

- Colour Doppler PV and TV

- Obtain mean PA pressure when possible

- PW Doppler of main PA

- 2D PSAX views at MV/PAP/apical levels for 2D speckle strain

- Corresponding colour tissue Doppler PSAX at MV/PAP/apical level for strain (using appropriate TD Nyquist scale)

Apical Views (cross sectional areas and long axis dimensions/volumes)

- 2D 4 chamber view for bi-plane Simpson’s and 2D Strain

- 2D 2 chamber view for bi-plane Simpson’s and 2D Strain

- CALCULATE Simpson’s EF

- Colour MV/Aov and TV

- Obtain RVsp

- Obtain tricuspid valve inflow

- Obtain pulsed Tissue Doppler traces optimizing alignment in the basal lateral LV, the basal septal and basal lateral RV segment

- Obtain pulsed Doppler traces in the basal anterior and posterior segments on the 2-chamber view

- Obtain 4-ch apical view of LA/ RA: 2D+ color TDI

- Obtain 2-ch view of LA: 2D+ color TDI

Mitral valve Doppler/Pulmonary vein Doppler

- Record PW Doppler of Mitral inflow (MVe,a dt): between the valve leaflets (at tips of mitral leaflets)

- PW Doppler between inflow and outflow for IVRT and myocardial performance index

- Obtain Color-Doppler M-Mode of LV inflow with adequate baseline shift

- LV dp/dt: record CW Doppler of mitral regurgitation (RV dp/dt in single V)

- Record PW Doppler RUPV: optimize tracing

LVOT + AO valve Doppler

- Record PW LVOT Doppler

- Record CW Doppler through the aortic valve (gradient + aortic acceleration time)

Colour Tissue Doppler

- Broad sector views for colour TDI for LV dyssynchrony: include 4C + RV, (RV free wall and septum, LV lateral wall and septum, 3C and 2C-12 segments for analysis)

- Narrow sector views from 4-chamber for colour TDI of LV lateral wall, IVS and RV lateral wall for strain (narrow sector width= high frame rates ), from two chamber view obtain narrow sector of anterior and posterior wall

IVC/Hepatic veins

- Image and Doppler hepatic venous flow and abdominal aorta

- Image and Doppler of SVC from supra-sternal views - required in any patient who has or had a PICC)

At the end of study

- Obtain AFI

- Measure BP and measure WALL STRESS