Supplementary Table 1: Suggested processing definitions using the Incucyte® Zoom.

| Cell line | Parameter | Radius (µm) | Adjustment | Edge | Fill (µm) | Area (µm) | Eccentricity | Mean intensity | Integrated intensity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KURAMOCHI Cytotox | Adaptive | - | 2.0 | 8 | 0 | >100, <1000 | <0.8 | 0 | 0 |
| KURAMOCHI Annexin V | Adaptive | - | 2.0 | 35 | 2000 | 0 | 0 | 0 | 0 |
| OVSAHO Cytotox | Top-Hat | 40.0 | 1.0 | 42 | 0 | >100 | 0 | >20 | 0 |
| OVSAHO Annexin V | Adaptive | - | 1.5 | 20 | 0 | 0 | 0 | 0 | 0 |
| COV362 Cytotox | Top-Hat | 40.0 | 2.0 | 30 | 0 | >100 | >50 | 0 | 0 |
| COV362 Annexin V | Adaptive | - | 1.0 | 20 | 0 | 0 | 0 | 0 | 0 |
| OVCAR4 Cytotox | Adaptive | - | 0.5 | 20 | 0 | 0 | 0 | >100 | 0 |
| OVCAR4 Annexin V | Adaptive | - | 0.2 | 32 | 400 | 0 | 0 | 0 | 0 |
| COV318 Cytotox | Adaptive | - | 2.0 | 38 | 0 | >100, <1200 | 0 | 0 | 0 |
| COV318 Annexin V | Adaptive | - | 2.0 | 30 | 0 | 0 | 0 | 0 | 0 |
| TYKNU Cytotox | Adaptive | - | 2.0 | 32 | 0 | >100, <1000 | 0 | >50 | 0 |
| TYKNU Annexin V | Adaptive | - | 0.5 | 25 | 0 | 0 | 0 | 0 | 0 |
| OVKATE Cytotox | Adaptive | - | 2.0 | 38 | 100 | >150 | 0 | 0 | 0 |
| OVKATE Annexin V | Adaptive | - | 1.0 | 20 | 0 | 0 | 0 | 0 | 0 |
| OAW28 Cytotox | Adaptive | 1.0 | - | -6 | 200 | 0 | 0 | >100 | 0 |
| OAW28 Annexin V | Adaptive | 0.5 | - | 18 | 0 | 0 | 0 | 0 | 0 |