[bookmark: _Hlk167177257]Table S1. 1.5 T and 3.0 T MRI acquisition parameters
	Weighting
	GE Signa Excite 1.5T
	
	GE Signa HDx 3.0T

	
	T2
	Diffusion
	Dyn 3D T1 fs
	
	T2
	Diffusion
	Dyn 3D T1 fs

	Sequence name
	TSE
	DWI
	Vibrant
	
	TSE
	DWI
	Vibrant

	n of slices
	28
	28
	88
	
	32
	32
	212

	Thickness(mm)
	4
	4
	1.8
	
	4
	4
	1.0

	Gap(mm)
	1
	1
	0
	
	1
	1
	0

	FOV(mm×mm)
	300×300
	350×350
	380×380
	
	300×300
	320×320
	320×320

	Matrix
 (read×phase)
	320×256
	128×128
	380×240
	
	288×224
	128×96
	320×320

	TR(ms)
	4000
	4500
	4.9
	
	5428
	3875
	4.8

	TE(ms)
	42
	73.6
	2.2
	
	85
	72.2
	2.2

	Flip angle(degrees)
	90
	90
	15
	
	90
	90
	15

	Fat suppression
	STIR
	STIR
	STIR
	
	STIR
	STIR
	STIR

	b-value (s/mm2)
	-
	800
	-
	
	-
	800
	-

	Contrast injection
	N/A
	N/A
	Intravenous injection of 0.1 mmol/kg body weight gadoteridol 
	
	N/A
	N/A
	Intravenous injection 
of 0.1 mmol/kg body
weight gadoteridol

	Acquisition duration (min:s)
	4:51 
	02:29 
	1:10 mins per phase, 10:30 min total (1 pre-contrast phase, 8 post-contrast phases with K0 values acquired every 1 :10 seconds after contrast injection)
	
	04:55
	02:48
	1:12 mins per phase, 10:48 min total (1 pre-contrast phase, 8 post-contrast phases with K0 values acquired every 1 :12 seconds after contrast injection)


             n, number; TR, repetition time; TE, echo time; T2, T2-weighted; Dyn 3D T1 fs, dynamic three-dimensional 
T1-weighted with fat suppression; TSE, turbo spin echo; STIR, short tau inversion recovery; 
DWI, diffusion-weighted imaging.
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Table S2. The numbers of false-negative and false-positive results obtained after applying the ADCmin and ADCACRIN cutoff.
	
	Derivation cohort
	
	Validation cohort

	
	ADCmin 
	ADCmean 
	
	ADCmin
	ADCmean

	False nagative(total）
	8/167
(4.79%)
	8/167
(4.79%)
	
	4/107
(3.73%)
	6/107
(5.61%)

	mass
	6
	6
	
	1
	1

	NME
	2
	2
	
	3
	5

	 ＞1cm
	5
	5
	
	3
	5

	≤1cm
	1
	1
	
	1
	1

	  1.5T
	4
	4
	
	3
	5

	  3.0T
	4
	4
	
	1
	1

	BI-RADS 4
	8
	8
	
	4
	6

	BI-RADS 5
	0
	0
	
	0
	0

	False-positive（total）
	76/144
(52.8%)
	79/144
(54.9%)
	
	32/76
(42.1%)
	34/76
(44.7%)

	mass
	55
	57
	
	27
	28

	NME
	21
	22
	
	5
	6

	＞1cm
	44
	46
	
	24
	25

	≤1cm
	32
	33
	
	8
	9

	 1.5T
	43
	47
	
	25
	25

	 3.0T
	33
	32
	
	7
	9

	BI-RADS 4
	76
	78
	
	32
	34

	BI-RADS 5
	0
	1
	
	0
	0



