Supplemental Table 3. Intraobserver and interobserver reliability of intraocular lens (IOL) stability parameters (N=20)

| Parameters | Intra-observer ICC | P value | Inter-observer ICC | P value |
| --- | --- | --- | --- | --- |
| Vertical tilt | 0.991 | 0.000* | 0.980 | 0.000* |
| Vertical decentration | 0.977 | 0.000* | 0.880 | 0.001* |
| Horizontal tilt | 0.976 | 0.000* | 0.922 | 0.000* |
| Horizontal Decentration | 0.993 | 0.000* | 0.802 | 0.006* |
| IT 500 , mm | 0.965 | 0.000* | 0.848 | 0.000* |
| IT 1000 , mm | 0.932 | 0.000* | 0.851 | 0.000* |
| CIT , mm | 0.924 | 0.000* | 0.885 | 0.000* |
| AOD500 , mm | 0.993 | 0.000* | 0.998 | 0.000* |
| ACD , mm | 0.993 | 0.000* | 0.833 | 0.006* |
| Spur to spur distance , mm | 0.984 | 0.000* | 0.909 | 0.000* |
| Superior scleral spur angle, degrees | 0.839 | 0.000* | 0.892 | 0.000* |
| Inferior scleral spur angle, degrees | 0.877 | 0.000* | 0.933 | 0.000* |
| Nasal scleral spur angle, degrees | 0.845 | 0.000* | 0.922 | 0.000* |
| Temporal scleral spur angle, degrees | 0.922 | 0.000* | 0.917 | 0.000* |

*P<0.05 was considered statistically significant. ICC: Intraclass correlation coefficient；
IT500: Iris thickness at 500 μm from the iris root；IT1000: Iris thickness at 1000 μm from the iris root；CIT: Central iris thickness；CCT ：Central corneal thickness；AOD500: Angle opening distance at 500 μm from the scleral spur；ACD: Anterior chamber depth.