Table 3. Details of the devices used in publications.

| First author Year (Ref.) | Light source | Red Light Wavelength (nm) | Brand Manufacturer/Model | Power | Irradiation Scheme |
| --- | --- | --- | --- | --- | --- |
| Xiong Y, 2024 | Laser | 650 nm | Yishiliang [Hunan Yuanliang health technology Co. LTD. Hunan, China] | 0.9 mW，0.178 mW for 4 mm pupil | 2times/d,3min/times,7days/wk,1,3,6,and12-mo follow-up visits |
| Xu Y, 2024 | Laser | 650 nm | Eyerising International | 0.29mW for 4 mm pupil | 2times/d,3min/times,7days/wk,1,3,6,9and12-mo follow-up visits |
| Jiang Y, 2022 | Laser | 650 ± 10 nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | 0.29mW for 4 mm pupil | 2times/d,3min/times,5days/wk,1,3,6,and12-mo follow-up visits |
| Liu G*, 2024 | Laser | 650 ± 10 nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | NA | 2times/d,3min/times,5days/wk,1,3,6,and12-mo follow-up visits |
| Liu G, 2024 | Laser | 650 ± 10 nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | NA | 2times/d,3min/times,5days/wk,1,3,6,9and12-mo follow-up visits |
| Zhou L, 2023 | Laser | 650 ± 10 nm | LD-A [Jilin Londa Optoelectronics Technology, Jilin, China] | 0.35 ± 0.02 mW/cm2 | 2times/d,3min/times,7days/wk,3,6,9and12-mo follow-up visits |
| Xiong F, 2021 | Laser | 650 nm | Ya Kun Optoelectronic Co.Ltd.Wuhan,China | 2 ± 0.5 mW | 2times/d,3min/times,7days/wk,1,3,6mo follow-up visits |
| Dong J, 2023 | Laser | 650 ± 10 nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | 0.29mW for 4 mm pupil | 2times/d,3min/times,7days/wk,3,6,9and12-mo follow-up visits |
|  |  |  |  | 0.03 mW |  |
| Zhao C, 2023 | Laser | 650±10nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | 2mW | 2times/d,3min/times,7days/wk,1,2,4-wk follow-up visits |
| Wu G, 2024 | Laser | 635 nm | Londa optics | 0.35 mw | 2times/d,3min/times,7days/wk,1,3,6,and12-mo follow-up visits |
| Zhou L, 2022 | NA | 650 nm | NA | NA | 2times/d,3min/times,7days/wk,3,6,9-mo follow-up visits |
| Lai W, 2022 | Laser | 650 nm | Eyerising | NA | 2times/d,3min/times,5days/wk,1,3,6-mo follow-up visits |
| Cao K, 2024 | Laser | 650 nm | NA | NA | 2times/d,3min/times,7days/wk,6,12-mo follow-up visits |
| Kang D, 2025 | Laser | 650±10nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | 0.29mW for 4 mm pupil | 2times/d,3min/times,7days/wk,12-mo follow-up visits |
| Chen Q, 2025 | Laser | 650±10nm | RS-200–2A, Eyerising | 2.0± 0.5 mW | 2times/d,3min/times,5days/wk,3,6,12-mo follow-up visits |
| Wei H, 2025 | Laser | 650±10nm | RS-200–2A, Eyerising | 2.0± 0.5 mW | 2times/d,3min/times,5days/wk,1,3,6,12-mo follow-up visits |
| Wang Y, 2025 | Laser | 650±10nm | Yunnan Zuoguan medical equipment Co., Ltd.,Yun nan, China | 2.0± 0.5 mW | 2times/d,3min/times,7days/wk,1,3,6,8-mo follow-up visits |
| Luo K, 2025 | Laser | 650±10nm | Eyerising [Suzhou Xuanjia Optoelectronics Technology] | 0.29mW for 4 mm pupil | 2times/d,3min/times,7days/wk,3,6,9,12-mo follow-up visits |
| Deen N, 2025 | Laser | 650±10nm | Eyerising International Pty Ltd, Melbourne, Australia | 2.0± 0.5 mW | 2times/d,3min/times,5days/wk,1,3,6,12-mo follow-up visits |