Supplemental Table 2
Summary of reference intervals for 26 biochemistry analytes in comparison with other studies.

| Analytes |  | Current study [1] |  |  |  | Manufacturer provided [2] |  | Korea [3] | China [4] | China [5] |  | Canada [6] |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | VITROS 5600 |  |  |  | VITROS 5600 |  | COBAS 8000 | HITACHI 7020 | OlYMPUS AU5400 |  | VITROS 5600 |  |
|  |  | Age |  |  | RI | RI for female | RI for male | RI | RI | Age | RI | Age | RI |  |
| Chemistry |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CO2, mmol/L | 1-3 d |  |  | 16-28 |  | 20-30 |  |  | 11-27 |  |  |  |  |  |  |
| Cl, mmol/L | 1-3 d |  |  | 92-108 |  | 98-107 |  |  | 90-103 |  |  |  |  |  |  |
| K, mmol/L | 1-3 d |  |  | 3.3-5.4 |  | 3.5-5.1 |  |  | 3.64-6.00 |  |  |  |  |  |  |
| Na, mmol/L | 1-3 d |  |  | 131-140 |  | 137-145 |  |  | 130-142 |  |  |  |  |  |  |
| Ca, mmol/L | 1-3 d |  |  | 1.53-2.15 |  | 2.10-2.55 |  | 4.8-11.2 | 1.91-2.75 |  |  | 0-1 y | 1.98-2.9 |  |  |
| Mg, mmol/L | 1-3 d |  |  | 0.68-0.94 |  | 0.7-1.0 |  | 0.66-1.48 |  |  |  |  |  |  |  |
| P, mmol/L | 1-3 d |  |  | 1.70-2.75 |  | 0.81-1.45 |  | 0.13-1.19 |  |  |  | 0-14 d | 1.89-3.53 |  |  |
| Fe, μmol/L | 1 d |  |  | 5.2-14.6 |  | 6.6-30.4 | 8.8-32.4 | 13.6-48.0 |  |  |  | 0-14 y | 4.8-25.3 |  |  |
|  | 2 d |  |  | 6.8-15.9 |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 d |  |  | 6.4-18.1 |  |  |  |  |  |  |  |  |  |  |  |
| TIBC, μmol/L | 1-3 d |  |  | 32.9-52.4 |  | 47.4-89.0 | 46.8-82.7 |  |  |  |  |  |  |  |  |
| BUN, mmol/L | 1 d |  |  | 0.71-5.72 |  | 2.5-6.1 | 3.2-7.1 | 1.07-5.35 | 1.56-7.56 | 0-1 m | 0.8-5.1 |  |  |  |  |
|  | 2 d |  |  | 0.71-3.77 |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 d |  |  | 0.71-3.55 |  |  |  |  |  |  |  |  |  |  |  |
| Cr, μmol/L | 1 d |  |  | 41-82 |  | 46-92 | 58-110 | 18-80 | 16-110 | 0-3 d | 15.6-61.1 |  |  |  |  |
|  | 2 d |  |  | 38-76 |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 d |  |  | 31-65 |  |  |  |  |  |  |  |  |  |  |  |
| UA, μmol/L | 1 d |  |  | 99-454 |  | 149-369 | 208-506 |  | 82-446 | 0-1 m | 56.3-287.4 | 0-14 d | 168-751 |  |  |
|  | 2 d |  |  | 97-335 |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 d |  |  | 78-271 |  |  |  |  |  |  |  |  |  |  |  |
| Enzymes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ALT, U/L | 1-3 d |  |  | 6-44 |  | 9-52 | 21-72 | 3-20 | 1-32 | 0-15 d | 3-39 | 0-1 y | 17-69 |  |  |
| ALP, U/L | 1-3 d |  |  | 91-229 |  | 38-126 |  | 91-269 |  | 0-8 d | 43-344 | 0-14 d | 89-239 |  |  |
| AST, U/L | 1-3 d |  |  | 29-101 |  | 14-36 | 17-59 | 16-73 | 22-168 | 0-8 d | 12-58 | 0-14 d | 29-213 |  |  |
| CHE, U/L | 1-3 d |  |  | 3299-6491 |  | 4650-10440 | 5900-12220 |  |  | 0-1 m | 1.5-8.2 | 0-14 d | 3542-7370 |  |  |
| GGT, U/L | 1-3 d |  |  | 42-302 |  | 12-43 | 15-73 | 29-502 |  | 0-3 m | 17-64 | 0-14 d | 19-196 |  |  |
| CK, U/L | 1-3 d |  |  | 95-715 |  | 30-135 | 55-170 | 48-505 | 186-1074 |  |  |  |  |  |  |
| CKMB, U/L | 1-3 d |  |  | 12-40 |  | - |  |  | 14-94 |  |  |  |  |  |  |
| LDH, U/L | 1-3 d |  |  | 651-1577 |  | 313-618 |  | 200-926 | 429-1045 |  |  |  |  |  |  |
| Proteins |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Alb, g/L | 1-3 d |  |  | 28-40 |  | 35-50 |  | 25-41 | 30.1-42.9 | 0-1 m | 21.6-46.3 | 0-14 d | 34-47 |  |  |
| TP, g/L | 1-3 d |  |  | 41-59 |  | 63-82 |  | 40-64 | 41.8-66.8 | 0-4 m | 42.2-65.7 | 0-14 d | 54-85 |  |  |
| Lipids/Lipoproteins |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HDL-C, mmol/L | 1-3 d |  |  | 0.43-1.13 |  | - |  | 0.31-1.45 |  |  |  | 0-14 d | 0.38-1.03 |  |  |
| LDL-C, mmol/L | 1-3d |  |  | 0.20-1.48 |  | - |  | 0.1-1.53 |  |  |  |  |  |  |  |
| TG, mmol/L | 1-2 d |  |  | 0.38-1.25 |  | - |  | 0.11-0.89 |  |  |  | 0-14 d | 0.99-3.21 |  |  |
|  | 3 d |  |  | 0.32-1.84 |  |  |  |  |  |  |  |  |  |  |  |
| TCHO, mmol/L | 1-2 d |  |  | 1.29-2.57 |  | - |  | <3.26 |  |  |  | 0-14 d | <1.29-3.20 |  |  |
|  | 3 d |  |  | 1.29-3.16 |  |  |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Study type |  |  | [1,3,4] Prospective; [2]Not specified; [5] Retrospective; [6]Transference of RIs. |  |  |  |  |  |  |  |  |  |  |  |  |
| Age range studied |  |  | [1] 0-3 d; [2] Adult; [3] At birth; [4] 0-24 h; [5] 0-15 y; [6] 0-19 y. |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample size |  |  | [1]195; [2] Not specified; [3] 79; [4] 400; [5] 63086; [6] Not available. |  |  |  |  |  |  |  |  |  |  |  |  |
| Gestational age |  |  | [1] 37-42; [2] Not available; [3] 26-42; [4] 37-42; [5,6] Not specified. |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample type |  |  | [1,4] Arterial blood; [3] Umbilical cord; [2,5,6] Not specified. |  |  |  |  |  |  |  |  |  |  |  |  |