Medical Oxygen and Pulse Oximetry Supportive Supervision Tool

Instructions: Please begin by introducing yourself and explaining the basic details of the visit

SECTION I: GENERAL INFORMATION

| NO. | QUESTION | RESPONSE CODE | SKIP |
| --- | --- | --- | --- |
|  | Date of visit (use Gorgonian calendar) | _______/____/______ DD/MM/YYYY |  |
|  | Full Name of supervisors | A. B. C. D. |  |
|  | INSTITUTION OF supervisors | A. B. C. D. |  |
|  | Telephone number of supervisors The telephone number should have 9 digits. Do not enter 251 or 0. | A. B. C. D. |  |
|  | Name of the Hospital | _______________________________________ |  |
|  | Type of the hospital | Primary 1 General 2 Referral/specialized/University 3 |  |
|  | Region | _______________________________________ |  |
|  | Zone | _______________________________________ |  |
|  | Town | _______________________________________ |  |
|  | Telephone number of THE HOSPITAL Record the telephone number that is owned by the Hospital. The telephone number should have 9 digits. Do not enter 251 or 0. | _______________________________________ |  |
|  | Contact information of THE CHIEF Executive Officer(CEO) [A] Name [B] Telephone number The telephone number should have 9 digits. Do not enter 251 or 0. [C] Email (Optional) | A. B. C. |  |
|  | Contact information of the Medical director or Chief Clinical Officer (CCO) [A] Name [B] Telephone number The telephone number should have 9 digits. Do not enter 251 or 0. [C] Email (Optional) | A. B. C. |  |
|  | Contact information of the Biomedical Engineer/ Technician (Head of the unit) [A] Name [B] Telephone number The telephone number should have 9 digits. Do not enter 251 or 0. [C] Email (Optional) | A. B. C. |  |
|  | Distance of THE HOSPITAL from: [A] Regional city [B] Zone town [ C] the nearest referral hospital (FOR primary & General hospitals) If don’t know, please state your expert estimation If in the same town/city, write 0 (zero) km | A. Regional city ____________________KM B. Zone town ______________________KM C. Nearest Referral hospital ___________KM |  |

SECTION II: MEDICAL OXYGEN SERVICE AVAILABILITY AND USE

| NO. | QUESTION | RESPONSE CODE | SKIP |
| --- | --- | --- | --- |
|  | what sources of oxygen are used at this hospital? Mark all responses mentioned. | Oxygen cylinders A Oxygen concentrators B Piped oxygen from a plant C | AO2 BO19 CO37 |
|  | Is there functional cylinder available in the following units? NA will be selected if the department or the unit is not available in the facility. | Yes No NA [A] Pediatric OPD 1 2 3 [B] Pediatric IPD 1 2 3 [C] Pediatrics Emergency 1 2 3 [D] Emergency 1 2 3 [E] NICU 1 2 3 [F] ICU (all types) 1 2 3 [G] Maternity ward and L&D 1 2 3 [H] Gyn Ward 1 2 3 [I] OR and recovery 1 2 3 [J] Surgical Ward 1 2 3 [K] Medical ward 1 2 3 [L ] Other (specify) 1 2 3 |  |
|  | if there is no cylinder in any of the units at O3, what are the reasons? Ask and circle all that apply: | Yes No [A] Shortage of budget 1 2 [B] Sharing with other Units 1 2 [C] Sent for refilling/not refilled 1 2 [D] Source of O2 in the unit is concentrator 1 2 [D] Others, Specify below 1 2 ______________________________________ |  |
|  | if there is non-functional cylinder in any of the units at O3, what are the reasons? Ask and circle all that apply: | Yes No [A] Not reported to BME/T 1 2 [B] Lack of spare part 1 2 [C] Lack of BME/T 1 2 [D] BME’s maintenance skill gap 1 2 [E] Not repairable (Obsolete) 1 2 [F] Others, Specify below 1 2 ______________________________________ |  |
|  | Where do you refill your cylinders usually? Write the name of the refilling center | ______________________________________ ______________________________________ |  |
|  | do you have a written agreement with the refilling centre? Verify through observation | Yes 1 No 2 |  |
|  | what is the distance from your hospital to the nearest refiling centre? | Distance: _________________________K.M |  |
|  | does the hospital have cylinder refilling schedule? | Yes 1 No 2 |  |
|  | how many days does it usually take between sending the oxygen cylinders to be refilled and receiving them back? | Number of Days _________________________ |  |
|  | On average, how many cylinders are delivered to your facility each month? | Cylinders delivered per month______________ |  |
|  | average monthly oxygen consumption in volume? | Average volume of oxygen ______________M3 |  |
|  | Are all oxygen cylinders coded according to Ethiopian standard? Verify that all cylinders are painted with white color | Yes 1 No 2 |  |
|  | On average, what is the price you pay to re-fill one oxygen cylinder (excluding transportation)? | Price per cylinder__________________ ETB OR Price per M3______________________ETB |  |
|  | is there mechanism of checking concentration (quality) of oxygen during accepting the cylinders using oxygen analysers? | Yes 1 No 2 |  |
|  | are there any standard oxygen consumption recording formats at the hospital? Verify through observation of the standard consumption format per facility. | Yes, verified 1 No 2 |  |
|  | does the hospital record oxygen consumption on recording formats? Verify through observation. | Yes, verified 1 No 2 |  |
|  | Is there anyone responsible focal person assigned for oxygen logistics management in this facility? | Yes, fulltime 1 Yes, but not fulltime 2 No, 3 |  |
|  | what are the main challenges for the re-filling process? Ask and circle all that apply: | Yes No [A] Cost of refiling cylinders 1 2 [B] Distance to refiling center 1 2 [C] Transportation mechanism 1 2 [D] Others, Specify below 1 2 ______________________________________ |  |
|  | Is/are there functional concentrator/s available in the following units? NA will be selected if concentrators are not selected as source of oxygen at O1. | Yes No NA [A] Pediatric OPD 1 2 3 [B] Pediatric IPD 1 2 3 [C] Pediatrics Emergency 1 2 3 [D] Emergency 1 2 3 [E] NICU 1 2 3 [F] ICU (all types) 1 2 3 [G] Maternity ward and L&D 1 2 3 [H] Gyn Ward 1 2 3 [I] OR and recovery 1 2 3 [J] Surgical Ward 1 2 3 [K] Medical ward 1 2 3 [L ] Other (specify) 1 2 3 |  |
|  | if there is no oxygen concentrator in any of the units at O19, what are the reasons? Ask and circle all that apply: | Yes No [A] Shortage of budget 1 2 [B] Sharing with other Units 1 2 [C] Others, Specify below 1 2 ______________________________________ |  |
|  | if there is non-functional oxygen concentrator in any of the units at O19, what are the reasons? Ask and circle all that apply: | Yes No [A] Not reported to BME/T 1 2 [B] Lack of spare part 1 2 [C] Lack of BME/T 1 2 [D] BME’s maintenance skill gap 1 2 [E] Not reparable (Obsolete) 1 2 [F] Others, Specify below 1 2 ______________________________________ |  |
|  | is there a back-up power source the concentrator can use (e.g. generator) in case the hospital loses electricity? | Yes 1 No 2 |  |
|  | is there mechanism of checking concentration or quality of oxygen by using oxygen analyser? (Especially during maintenance ) | Yes 1 No 2 |  |
|  | Is there functional pulse oximetry available in the following units? NA will be selected if pulse oximetry service is not available at all in the facility. | Yes No NA [A] Pediatric OPD 1 2 3 [B] Pediatric IPD 1 2 3 [C] Pediatrics Emergency 1 2 3 [D] Emergency 1 2 3 [E] NICU 1 2 3 [F] ICU (all types) 1 2 3 [G] Maternity ward and L&D 1 2 3 [H] Gyn Ward 1 2 3 [I] OR and recovery 1 2 3 [J] Surgical Ward 1 2 3 [K] Medical ward 1 2 3 [L ] Other (specify) 1 2 3 |  |
|  | if there is no pulse oximeter in any of the units at O24, what are the reasons? Ask and circle all that apply: | Yes No [A] Shortage of budget 1 2 [B] Sharing with other Units 1 2 [C] Others, Specify below 1 2 ______________________________________ |  |
|  | if there is non-functional pulse oximeter in any of the units at O24, what are the reasons? [A] Not reported to BME/T [B] Lack of spare part [C] Lack of BME/T [D] BME/T’s maintenance skill gap [E] Not reparable (Obsolete) [F] Others, Specify below Ask and circle all that apply: | Yes No [A] Not reported to BME/T 1 2 [B] Lack of spare part 1 2 [C] Lack of BME/T 1 2 [D] BME’s maintenance skill gap 1 2 [E] Not reparable (Obsolete) 1 2 [F] Others, Specify below 1 2 ______________________________________ |  |
|  | Is there any biomedical engineer or technician in the facility? | Yes 1 No 2 | 1O28 2O34 |
|  | Total number of biomedical technicians or biomedical engineer in currently working in the hospital? | A. Number of biomedical engineers___________ B. Number of biomedical technicians___________ |  |
|  | if available, how many of them are trained on oxygen concentrator and pulse oximetry maintenance? - biomedical engineers - biomedical technicians | A. # of trained biomedical engineers___________ B. # of trained biomedical technicians___________ |  |
|  | Are there oxygen device maintenance job aids or SOPs for technicians and BMEs? | Yes 1 No 2 |  |
|  | does the hospital have preventive maintenance schedule? | Yes 1 No 2 |  |
|  | does the hospital have notification and work order system in place for medical equipment maintenance? Verify through observation. | Yes, verified 1 No 2 |  |
|  | does the hospital have maintenance kit for oxygen device? | Yes, verified 1 No 2 |  |
|  | Are the following spare parts of pulse oximetry adequately available in your stock? | Yes No [A] Batteries for POx 1 2 [B] Replacement probes 1 2 [C] Others, Specify below 1 2 ______________________________________ |  |
|  | Are the following spare parts or replacement parts of concentrator adequately available in your stock? | Yes No [A] Filters 1 2 [B] Fuse 1 2 [C] Battery (9 V) 1 2 [D] Compressor 1 2 [E] Sieve beds 1 2 [F] Valve spares 1 2 [G] Capacitor 1 2 [H] Others, specify 1 2 ________________________________________ |  |
|  | Are the following spare parts or replacement parts of cylinder adequately available in your stock? | Yes No [A] Gauge 1 2 [B] Regulator 1 2 [C] Flow meter 1 2 [D] Humidifier 1 2 [E] Others, specify 1 2 ________________________________________ |  |
|  | IS there a physician/ nurse in the hospital trained on medical oxygen therapy | Yes 1 No 2 |  |
|  | Under which situations are pulse oximeters used in this facility? circle all that apply | Pre O2 administering assessment A During O2 administration (monitoring) B To make decision for stopping oxygen C Other (specify) X Don’t know Z |  |
|  | are there any job aids or sops for providing oxygen therapy at the hospital? If yes, verify through observation. | Yes, verified 1 No 2 |  |
|  | Does the facility train all clinical staff who use oxygen equipment in basic concentrator maintenance or troubleshooting? | Yes, all staff who use the equipment are trained 1 Yes, but only some of the staff who use the equipment are trained 2 No, clinical staff are not trained 3 |  |
|  | Are oxygen related adverse events (overdose, toxicity, Retinopathy of prematurity) observed at this hospital? | Yes 1 No 2 |  |
|  | If yes, how many oxygen related adverse events (ADEs) were reported at the hospital within the last 12 months? | # of reported O2 related ADEs _______ |  |

# G1. Date of visit------ G2. Region ---------G3. Name of Hospital_________________ G4. Type of Hospital_______________ G5. Card #

# Review 10 randomly selected medical records of under 5 patients with severe pneumonia seen in the past 6 months (juNE-OCTOBER, 2019):

|  | Criteria | Write 1 if Yes, write 2 if No or write 3 if not applicable (the stated service is not available) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MR-1 | MR-2 | MR-3 | MR-4 | MR-5 | MR-6 | MR-7 | MR-8 | MR-9 | MR-10 |
| 1 | Did the child get a POx assessment at triage? |  |  |  |  |  |  |  |  |  |  |
| 2 | Did the child get a POx assessment at diagnosis? |  |  |  |  |  |  |  |  |  |  |
| 3 | If yes to Q2, did the child have hypoxemia (SPO2 < 90) at diagnosis? |  |  |  |  |  |  |  |  |  |  |
| 4 | If yes to Q3, Was the child prescribed oxygen as part of the initial clinician’s order at diagnosis? |  |  |  |  |  |  |  |  |  |  |
| 5 | Did the child get a POx assessment at any point during admission? |  |  |  |  |  |  |  |  |  |  |
| 6 | If yes to Q5, did the child have hypoxemia (SPO2 < 90) at any point during admission? |  |  |  |  |  |  |  |  |  |  |
| 7 | Was the child prescribed oxygen at any time (including at diagnosis) during the stay (emergency and/or IPD)? |  |  |  |  |  |  |  |  |  |  |
| 8 | If yes to Q7, does the prescription state the mode of delivery of oxygen? (Nasal prong, Catheter or Facemask) |  |  |  |  |  |  |  |  |  |  |
| 9 | If yes to Q7, does the prescription state flow rate? |  |  |  |  |  |  |  |  |  |  |
| 10 | If yes to Q7, does the prescription mention target SPO2? |  |  |  |  |  |  |  |  |  |  |
| 11 | If yes to Q7, did the prescriber mention frequency of monitoring SPO2? |  |  |  |  |  |  |  |  |  |  |
| 12 | Was the child actually received oxygen? |  |  |  |  |  |  |  |  |  |  |
| 13 | Was the child SPO2 monitored at least once per day? |  |  |  |  |  |  |  |  |  |  |
| 14 | Was the oxygen therapy stopped after at least two records of SPO2 > 90%? |  |  |  |  |  |  |  |  |  |  |
| 15 | Status at the end –Improved? Referred? Left against medical advice? Died? Write A for Improved, B for Referred, C for Left against medical advice, D for Died |  |  |  |  |  |  |  |  |  |  |

Instructions: Thank the hospital staff for their time. Provide any final feedback to them regarding the supportive supervision visit.

SECTION III: END

| NO. | QUESTION | RESPONSE CODE | SKIP |
| --- | --- | --- | --- |
| COMMENT | Thank you for your time. This concludes our visit. Are there any other comments you would like to tell us? Write on your notebook for narrative report, but this will not be written on tablets. |  |  |
| GPS | GPS location of the Facility Make sure the device's GPS is turned on and you are standing outdoors when recording the GPS location and capture the data when the accuracy is possibility below 10. |  |  |