## ReadMe
ABC_Neonatal Device Planning and Costing Tool User testing version
Goal: A tool to support health facility managers/planners of one or multiple facilities to equip level-2 care plus respiratory support with continuous positive airway pressure (CPAP) . The tool enables planning, budgeting and purchase of ward furniture, context-specific neonatal devices and training for use at device installation.
Tool structure
1) Structured into three components: Component 1: Ward furniture, Component 2: Devices, Component 3: User training at device installation
2) Each data input field has guidance notes to guide the user.
3) For each component the user can plan quantities and estimate costs by using either default or customised data.
4) The tool estimates quantities for a single health facility; if planning for multiple facilities, the tool assumes standard estimates for all, and total results are displayed in the procurement report and cost dashboard.
5) The cost calculations are in standard US dollars, but the costs results are displayed in both US dollars and local currency.
Default estimates derivation:
a) Quantity estimation: The tool estimates furniture (Component 1) and training at device installation (Component 3) quantities based on a 40-bed newborn unit with five rooms; and device (component 1) quantities based on a 10-bed level-2 care (high dependency unit)
b) Cost estimation: The tool's unit costs are determined by the market price set by the government procurement agency and local government suppliers (median of Kenya, Nigeria, and Tanzania). The device cost is inclusive of shipping, customs & tarrifs, inspection, and distribution.
Tool navigation
The tool is made up of three tabs based on the components plus ReadMe and General data inputs. The tool's components are easily navigated stepwise via the tabs at the bottom of the screen. The data input sheets are explained below:
Input sheet (REQUIRED)
Input sheets (OPTIONAL - can complete only the components you wish, recommended to complete all stepwise)
Output sheet
Tool cell colour codes
Data request list before using the tool
The data inputs required before populating each tab are listed below. You can use more recent data or follow the link in the tool to determine the statistics.
| Data input | Tab to enter
| Population size in your country | General data input
| Number of annual live births (recent statistics ) | General data input
| Inventory list of functional newborn ward furniture (if available) | 1. Ward furniture
| Inventory list of functional neonatal devices (if available) | 2. Devices
| Training logistics | 3. Installation training
Welcome Questions/Feedback:
Alice.Tarus@lshtm.ac.uk
becca.kirby@kellogg.northwestern.edu
Joy.Lawn@lshtm.ac.uk
General data inputs tab; Displays general information required to guide quantity and cost estimation of the components
Procurement report tab
Displays the summary of quantities to be procured, specifications of 11 of the 16 devices qualified for newborn care in low-resource settings, and examples of device models
Enter or customise data here
Default value; the tool uses this value once "Option 1 default" is selectedthe tool will use this value unless overridden by the user in the adjacent input cell
Calculated costs , no action required
Component 2: Neonatal devices tab lists the sixteen devices and quantities based on a 10-bed level-2 care and unit costs.
Component 1: Ward furniture & fixtures tab shows a total of eighteen with quantities for a 40-bed newborn unit including 10-bed level-2 care unit.
Component 3 : User training at device installation tab Allows planning and cost estimation of a one-day, onsite training of clinical and biomedical staffs.
Cost dashboard tab
Shows the cumulative costs results of the components

## Assumptions
ABC_Neonatal Device Planning and Costing Tool
Assumptions & Data sources
General assumptions | The default estimates are tailor-made for setting up a newborn unit at a district hospital. i.e. 40-bed newborn unit with a 10-bed level-2 care unit (High dependency unit) for care of small and sick newborns
The tool follows the Activity-Based Costing (ABC) approach, providing specific inputs for SSNC components
The tool customisation feature allow users input policy or context-specific data for more accurate estimates
The tool assumed a constant unit cost, economies of scale and other cost saving opportunities were not explored.
General data inputs | Selection of the "Option 1 (default)" allows estimation of quantities and costs using default estimates throughout the tool.
Selection of the "Option 2 (customise)" allows tailored estimation of quantities and costs.
Baseline numbers of the functional ward furniture and neonatal devices
The tool assumes the user should have an inventory of exisitng furniture and devices.
Unrepairable equipment are assumed to be unavailable. Thus, not included in the baseline count.
Exsting devices accessories & consumables are not assessed.
The brand name, mode, year of manufacturer, and date of installation are out of the scope.
Component 1 : Ward furniture
List of furniture and fixtures
List of items compiled through a review of WHO/UNICEF guidelines, and Tanzania national neonatal care manuals
Quantification
Number per ward furniture and fixtures are calculated based on the number of rooms and cots/beds
Default numbers based on Tanzania neonatal floor plan i.e. 40-bed newborn unit including 10-bed level-2 care unit (High dependency unit)
A contigency of one item per ward fixture is made to account for breakdowns
Unit cost
The tool assumes the ward furniture and fixtures are procured locally from government suppliers
Default unit cost based on the local government suppliers costs (median of Kenya, Nigeria and Tanzania)
Unit costs is inclusive of distribution cost to the health facility.
Component 2: Neonatal devices
List of devices
Device list is editable to add or remove and was informed particularly by UN publications
Quantification
Numbers of devices based on the number of beds.
Default numbers informed by UNICEF neonatal care manuals: UNICEF India for a 12-bed unit (21); UNICEF Bangladesh for a ten-bed unit (23); and UNICEF Sierra Leone for a ten-bed unit, and expert inputs.
The device specification of the 11 devices are based on UNICEF/NEST360 Target product profiles .
Unit costs
Default unit costs derived from government procurement agencies’ (Kenya, Nigeria & Tanzania) publicly available pricelists
The government procurement agency pricelists do not give minimum specifications for devices. Thus the price is bound to change once device specification is factored
Device installation was assumed to be done by government-salaried biomedical experts. Thus not costed.
The government procurement agency prices may be marginally lower on average than private distributor costs. Differences may be attributable to more stringent device specifications and add-ons post distribution (e.g., installation, one-year warranty costs, starter packs of consumables, etc.) included in private distributor costs
Component 3: Training at device installation
List of Training inputs
Training inputs drawn from the experience of implementing small and sick newborn care package through the NEST360 alliance in 67 newborn units
Quantification
The tool assumes the ratio of nurses required for a 40-bed neonatal unit is 26, and at least 50% (13) are trained for device use.
the tool provides a provision to include nurses from other service areas: postnatal, labour ward, peds ward- rotation/receive babies. This allows knowledge sharing in the event of staff rotation
Tool assumes two biomedical technicians/engineers (BMETs) (one responsible for the whole hospital and one attached to the newborn unit) are needed for a functional 40-bed neonatal unit
Specialised cadres (neonatal nurse and neonatologist) are included if available. The tool assumes the unit has at least one of each.
The default recommended number of health professionals per 40-bed neonatal unit is 25.
Unit costs
Government reimbursement policies and prevailing market costs (i.e., cost of stationeries, meals, refreshments, etc.) across three countries (Kenya, Nigeria, and Tanzania) informed the default unit cost estimates
Cost dashboard | Tool summarises the costs from the components (1 to 3), assesses cost drivers and determines the financial implication of investing in neonatal unit intervention.

## General data inputs
ABC_Neonatal Device Planning and Costing Tool
Directions: Follow the step-by-step instructions below as you enter general data to inform other steps.
COUNTRY LEVEL INPUTS
Enter general information about your country
| Select your country from the drop down menu | Kenya
| The name of your currency | KES
| Enter current local currency exchange rate equivalent to One USD (follow the link to estimate) | 135 | https://www.oanda.com/currency-converter/en/?from=USD&to=USD&amount=1
| Enter estimated population in your country (follow the link to estimate) | 53000000 | https://data.worldbank.org/indicator/SP.POP.TOTL
| Enter the number of annual live births (based on latest available statistics) | 2000000
HEALTH FACILITY PLANNING INPUTS
Enter information about the health facilities you want to plan for. You can plan for a single facility or several facilities with similar features
Neonatal scale up planning
| Enter number of health facilities you would like to plan for:(Default suggestion: tool assumes standard features for all facilities) | 100
Estimating the number of neonatal cots/beds for the WHO level 2+ unit
| Which level of neonatal care would like to plan for? ( Default suggestion: WHO Level-2 plus CPAP (special newborn care+ transit ) | Level-2 care (Special newborn care)
| Select the most suitable option you would like to use plan for number beds/cots in the newborn unt | Option 1 (default)
| Option 1 (default): Use the 40-bed neonatal unit of which a 10-bed is a level-2 care unit(high dependency unit) for care of small and sick newborns | 40-bed neonatal unit with 10-bed level-2 care
| Option 2 (customise): Enter the number of beds/cots in the neonatal unit (multiples of 10) | 60
Number of neonatal cots/beds for the WHO level 3 unit
Enter the number of beds/cots for the neonatal intensive care unit (WHO level 3)
Hyperlink to OPTIONAL Tabs
If you would like to navigate directly to one of the component tabs, click the link:
1. Ward Furniture
2. Devices
3. Installation Training
Component 2: Devices tab lists the recommended devices, quantities and allows estimation of costs
Component 1: ward furniture & fixtures tab shows list of items, quantities and costs
Component 3: User training at device installation tab estimates the cost of initial device users training

## 1. Ward furniture
ABC_Neonatal Device Planning and Costing Tool
Directions: Follow the steps below to calculate the required numbers and estimate the cost of the neonatal ward furniture and fixtures.
ESTIMATION OF THE NUMBER OF ROOMS AND COTS/BEDS PER ROOM
The number of rooms and beds is the unit of analysis to determine quantity of furniture and fixtures required. Enter number of rooms and neonatal cots per room for level-2 care neonatal unit you are planning for.
STEP 1-a
| Number of rooms | Option 1 (default) | Option 1 (default) | Option 2 (customise)
| Enter the number of wards in the newborn unit (default number of rooms following Tanzania newborn floor plan is 5: Level-2 care/high dependency room, isolation room, kangaroo mother care , general neonatal ward, and rooming-in) | 5 | 5
Number of neonatal cots/beds per room
| Based on the option chosen in the General data inputs tab: Default option automatically autopopulates the number of cots/beds per room. Option 2 customise - enter the total number of cots/beds and number per room. | Option 1 (default) | Option 1 (default) | Option 2 (customise)
| Total number of cots/beds |  |  | 40
| High dependency unit- baby cots | 10 | 10
| General neonatal ward (step down)- baby cots | 10 | 10
| Rooming in- Adult beds | 5 | 5
| KMC ward- special mother beds | 10 | 10
| Isolation ward - baby cots | 5 | 5
| If planning for neonatal level 3, enter the additional number of cots/beds | 0 |  | Option 2 (customise)
| NICU | 0
| iKMC (special mother beds) | 0
HEALTH FACILITY BASELINE DATA
Enter quantities of AVAILABLE & FUNCTIONAL ward furniture and fixtures. The tool assumes baseline number is similar for all health facilties if planning for more than one/
STEP 1-b
| Ward furniture & fixtures for neonatal unit (functional) |  |  | Baseline number of functional ward furniture
Baby cots
Beds for rooming-in
Special mother beds-KMC
Chairs-KMC
Room thermometer
Room heater
Wall clock with seconds' hand
Bedside lamp for procedures
Emergency trolley
Medicine trolley
Ordinary trolley
Refrigerator with freezer compartment
Medicine cabinets
Water distiller 5L/Hr
Oxygen cylinder (back up with humidifier and flow splitter)
Oxygen cylinder (small for transport)
Tape measure, vinyl-coated
Voltage stabilizer and UPS
Add additional items available
item 1
item 2
item 3
item 4
item 5
item 6
item 7
item 8
item 9
item 10
item 11
item 12
item 13
item 14
item 15
item 16
item 17
item 18
item 19
item 20
FURNITURE QUANTIFICATION
The following is a list of eighteen ward fixture and fixture items, along with default quantities for a 40-bed newborn unit with 5 rooms. If you want to change the suggested numbers, fill out the Option 2 (customise)" column. There are rows at the end of the table where you can add more neonatal ward furniture and fixtures.
STEP 1-c
| Ward furniture & fixtures for neonatal unit | Additional furniture & fixtures based on baseline numbers and option selected | Option 1 (default) | Option 2 (customise)
| Baby cots | 25 | 25
| Beds for rooming-in | 5 | 5
| Special mother beds-KMC | 10 | 10
| Chairs-KMC | 5 | 5
| Room thermometer | 5 | 5
| Room heater | 5 | 5
| Wall clock with seconds' hand | 5 | 5
| Bedside lamp for procedures | 6 | 6
| Emergency trolley | 6 | 6
| Medicine trolley | 6 | 6
| Ordinary trolley | 6 | 6
| Refrigerator with freezer compartment | 2.5 | 2.5
| Medicine cabinets | 1 | 1
| Water distiller 5L/Hr | 1 | 1
| Oxygen cylinder (back up with humidifier and flow splitter) | 2.5 | 2.5
| Oxygen cylinder (small for transport) | 2.5 | 2.5
| Tape measure, vinyl-coated | 6 | 6
| Voltage stabilizer and UPS | 3 | 3
Please list other items as rows here and estimate required quantity
| item 1 | 0
| item 2 | 0
| item 3 | 0
| item 4 | 0
| item 5 | 0
| item 6 | 0
| item 7 | 0
| item 8 | 0
| item 9 | 0
| item 10 | 0
| item 11 | 0
| item 12 | 0
| item 13 | 0
| item 14 | 0
| item 15 | 0
| item 16 | 0
| item 17 | 0
| item 18 | 0
| item 19 | 0
| item 20 | 0
FURNITURE COST ESTIMATION
This calculator computes the cost of purchasing the items locally. The default costs are the local suppliers median costs across three African countries (Kenya, Nigeria and Tanzania); you can adjust the unit costs in the "customise unit cost column" to reflect your country's costs
STEP 1-d | Ward furniture & fixtures for neonatal unit | Total cost (USD) | Default Unit cost (USD) | Customise Unit cost (USD)
| Baby cots | 4859.6112 | 194.3844
| Beds for rooming-in | 2733.8493 | 546.7699
| Special mother beds-KMC | 6000 | 600
| Chairs-KMC | 408.0395 | 81.6079
| Room thermometer | 4500 | 900
| Room heater | 320.55 | 64.11
| Wall clock with seconds' hand | 63.0888 | 12.6178
| Bedside lamp for procedures | 665.0151 | 110.8359
| Emergency trolley | 4896.4745 | 816.0791
| Medicine trolley | 1009.4213 | 168.2369
| Ordinary trolley | 757.0659 | 126.1777
| Refrigerator with freezer compartment | 1051.4805 | 420.5922
| Medicine cabinets | 210.2961 | 210.2961
| Water distiller 5L/Hr | 420.5922 | 420.5922
| Oxygen cylinder (back up with humidifier and flow splitter) | 799.1252 | 319.6501
| Oxygen cylinder (small for transport) | 609.8587 | 243.9435
| Tape measure, vinyl-coated | 9.7929 | 1.6322
| Voltage stabilizer and UPS | 3450 | 1150
Other items as required
| item 1 | 0
| item 2 | 0
| item 3 | 0
| item 4 | 0
| item 5 | 0
| item 6 | 0
| item 7 | 0
| item 8 | 0
| item 9 | 0
| item 10 | 0
| item 11 | 0
| item 12 | 0
| item 13 | 0
| item 14 | 0
| item 15 | 0
| item 16 | 0
| item 17 | 0
| item 18 | 0
| item 19 | 0
| item 20 | 0
| Total cost per health facility (USD) | 32764.2613
| Total scale-up cost for health facilities you are planning for (USD) | 3276426.1309

## 2. Devices
ABC_Neonatal Device Planning and Costing Tool
Directions: Follow the step-by-step instructions below to calculate the devices gap and determine the preferred specification. Read through each step as you input data in respective fields.
HEALTH FACILITY BASELINE DATA
Enter the quantities of AVAILABLE & FUNCTIONAL neonatal devices
Enter the baseline number of the functional ward furniture and neonatal devices available? (default suggestion is the baseline number is similar for all the health facilities)
| Medical devices for neonatal care (functional) |  |  | Baseline number
Thermometer
Stethoscope,neonatal
Weighing scales for newborns 10 kg<5g>
Ventilation bag and mask size 0 and 1
Infant radiant warmer
Glucometer
Pulse oximeter, bedside, neonatal
Phototheraphy unit
Pump suction (electrical)
Infusion pump
Syringe pump
Continous positive airway pressure (CPAP)
Bilirubinometer, blood based
Oxygen concentrator with accessories
Oxygen flow splitter
Hemoglobinometer
Add additional items available
item 1
item 2
item 3
item 4
item 5
item 6
item 7
item 8
item 9
item 10
item 11
item 12
item 13
item 14
item 15
item 16
item 17
item 18
item 19
item 20
NEONATAL DEVICES QUANTIFICATION
The device numbers are based on a 10-bed Level-2 care unit. To override the default numbers and customise do so in the "Option 2 (customise)" column. If you want to add more neonatal medical devices (2-a), include them at the bottom of the table and estimate the required quantity
STEP 2-a
| Medical devices for neonatal care | Additional devices based on baseline numbers and option selected | Option 1 (default) | Option 2 (customise)
| Thermometer | 5 | 5
| Stethoscope,neonatal | 5 | 5
| Scale, baby, electronic, 10 kg<5g> | 5 | 5
| Ventilation bag and mask size 0 and 1 | 2 | 2
| Infant radiant warmer | 2 | 2
| Glucometer | 5 | 5
| Pulse oximeter, bedside, neonatal | 6 | 6
| Phototheraphy unit | 2 | 2
| Pump suction (electrical) | 2 | 2
| Infusion pump | 5 | 5
| Syringe pump | 2 | 2
| Continous positive airway pressure (CPAP) | 5 | 5
| Bilirubinometer, blood based | 1 | 1
| Oxygen concentrator with accessories | 5 | 5
| Oxygen flow splitter | 5 | 5
| Hemoglobinometer | 1 | 1
List additional items as rows here and estimate required quantity
| item 1 | 0
| item 2 | 0
| item 3 | 0
| item 4 | 0
| item 5 | 0
| item 6 | 0
| item 7 | 0
| item 8 | 0
| item 9 | 0
| item 10 | 0
| item 11 | 0
| item 12 | 0
| item 13 | 0
| item 14 | 0
| item 15 | 0
| item 16 | 0
| item 17 | 0
| item 18 | 0
| item 19 | 0
| item 20 | 0
DEVICE COST ESTIMATION
Calculates the cost of purchasing the required devices. The prepopulated default cost estimates were obtained from median of the government procurement agencies ( Kenya, Nigeria and Tanzania). The prices are inclusive of freight, applicable taxes, and distribution costs. You can customise the unit costs in the "customise unit cost " column based on your context
STEP 2-b | Medical devices for neonatal care | Total cost facility (USD) | Default unit cost (USD) | Customise unit cost (USD)
| Thermometer | 41.6667 | 8.3333
| Stethoscope,neonatal | 144.45 | 28.89
| Scale, baby, electronic, 10 kg<5g> | 444.45 | 88.89
| Ventilation bag and mask size 0 and 1 | 44.44 | 22.22
| Infant radiant warmer | 6888.88 | 3444.44
| Glucometer | 187.5 | 37.5
| Pulse oximeter, bedside, neonatal | 306.66 | 51.11
| Phototheraphy unit | 3010 | 1505
| Pump suction (electrical) | 733.3333 | 366.6667
| Infusion pump | 3541.6667 | 708.3333
| Syringe pump | 1616.6667 | 808.3333
| Continous positive airway pressure (CPAP) | 6666.65 | 1333.33
| Bilirubinometer, blood based | 1943.8445 | 1943.8445
| Oxygen concentrator with accessories | 5000 | 1000
| Oxygen flow splitter | 2591.7927 | 518.3585
| Hemoglobinometer | 150 | 150
List other additional items as rows here and estimate required quantity
| item 1 | 0
| item 2 | 0
| item 3 | 0
| item 4 | 0
| item 5 | 0
| item 6 | 0
| item 7 | 0
| item 8 | 0
| item 9 | 0
| item 10 | 0
| item 11 | 0
| item 12 | 0
| item 13 | 0
| item 14 | 0
| item 15 | 0
| item 16 | 0
| item 17 | 0
| item 18 | 0
| item 19 | 0
| item 20 | 0
| Total cost per health facility ( USD) | 33312.0005
| Total scale-up cost for health facilities you are planning for (USD) | 3331200.0482
Once you have reviewed and customised the data inputs above, proceed to Component 3 Device installation training.

## 3. Installation training
ABC_Neonatal Device Planning and Costing Tool
Directions: Follow the step-by-step instructions below to plan for device installation training. Read through as you follow STEP3- a to STEP3-c, then proceed to procurement report and cost dashboard for the results.
DEVICE USER TRAINING PLANNING
The tool allows planning of an onsite, face to face training during device installation. The training is meant for all cadres attached to the newborn unit.
STEP 3-a
| Enter the number of trainees per cadre | Option 1 (default) | Option 1 (default) | Option 2 (customise)
| Nurses (50%-75% of attendees) | 13 | 13
| Clinical officers (resident clinical officer) | 4 | 4
| Medical doctors (resident doctor/paediatrician, interns) | 4 | 4
| Biomedical technicians/engineers | 2 | 2
| Sepcialist- neonatologist (if available) | 1 | 1
| Neonatal nurse/ ped nurse (if available) | 1 | 1
Add other cadres
| Total number of trainees per facility | 25 | 25 | 0
| Required number of facilitators (2 per facility) for nurse and biomedical technician (there is pool of facilitators trained at national level) | 2 | 2
| Total number of training participants per facility | 27 | 27 | 0
PLANNING ADDITIONAL POSSIBLE TRAINING
The tool allows planning of health professionals additional Face to face training.
STEP 3-b | Select whether you would like to conduct onsite mentorship (4 participants per faclity trained for 2 days) | No
| Select whether you would like to intergrate newborn care national guideline/protocol training with use of device (all participants trained for 5 days and the ratio of facilitator to trainees is 1:6) | No
| Select whether you would like to conduct offsite trainers training ( a 3 days training of senior professionals housed in one of leading universities focused in training peditrician/neonatal nurse) | No
If YES, enter the number of senior professionals to be trained
TRAINING COST DATA
The tool assumes the training is conducted onsite, thus no per diem nor travel allowance, you only need to plan for snacks and refreshment. If you like to adjust the default settings do so in the "customise unit costs" column.
STEP 3-c |  | Total cost (USD) | Default unit cost (USD) | Customise unit cost (USD)
| Device installation training cost | 1782
| Refreshment and snacks/lunch | 54 | 2
| Training materials- stationery (modules, job aids, protocols, booklets, marker pens, flip charts) | 135 | 5
| Facilitation fee | 1350 | 50
| Facilitator's travel reimbursement | 189 | 7
| Airtime for training cordination (training cordination done by facilitators) | 54 | 2
| Mentorship cost | 0
| Refreshment and snacks/lunch | 0 | 2
| Training materials- stationery (modules, job aids, protocols, booklets, marker pens, flip charts) | 0 | 5
| Facilitation fee | 0 | 50
| Facilitator's travel reimbursement | 0 | 7
| Airtime for training cordination | 0 | 2
| Newborn guideline training cost | 0
| Refreshment and snacks/lunch | 0 | 2
| Training materials- stationery (modules, job aids, protocols, booklets, marker pens, flip charts) | 0 | 5
| Facilitation fee | 0 | 50
| Facilitator's travel reimbursement | 0 | 7
| Airtime for training cordination | 0 | 2
| Trainers training cost | 0
| Facilitator's fees | 0 | 50
| Participants allowance | 0 | 50
| Off-site conference package | 0 | 40
| Training cost per facility | 1782
| Total scale-up cost for health facilities you are planning for | 178200

## Procurement Report
ABC_Neonatal Device Planning and Costing Tool
Directions: This tab shows the specifications of qualified devices, examples of models and quantities based to input data fields to guide procurement
FEATURES OF QUALIFIED DEVICES
11 of the 16 devices are qualified by UNICEF-NEST360 as suitable for newborn care in low-resource settings. Below are minimum technical and operational characteristics per device and examples of device models that meet the specification to guide your decision.
| Medical devices for neonatal care (with specifications) | Characteristics | Minimum specification
| Pump suction (electrical) | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Pressure | 60-120 mm Hg with continuous adjustment
|  | Bottle Capacity | 1 L
|  | Noise Level | As low as possible
|  | Cleaning | Collection vessel easy to clean reusable.
|  | Maintenance | No maintenance or lubrication.
|  | Operation Mode | Adjustable to neonatal setting (60-100 mm Hg)
|  | Power Source | Mains Power
|  | Voltage | Model must match the voltage and frequency of the purchasing country’s local power grid (e.g., 110-120 VAC at 60 Hz or 220-240 VAC at 50 Hz)
| Infant radiant warmer | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Benchtop Measurement Accuracy | ±0.1°C
|  | Clinical Measurement Accuracy | ±0.3°C
|  | Stability | < 0.5°C
|  | Includes Timer | Yes
|  | Mobility | Has wheels; can be moved by one person
|  | Uniformity | < 1°C
|  | Alarm Characteristics | Visual and Auditory
|  | Patient Accessibility and Visibility | Patient is visible and accessible to healthcare worker
|  | Temperature Control | Based on infant’s temperature and includes fail-safe mode
|  | Power Source | Mains Power
|  | Voltage | Model must match the voltage and frequency of the purchasing country’s local power grid (e.g., 110-120 VAC at 60 Hz or 220-240 VAC at 50 Hz)
| Pulse oximeter, bedside, neonatal | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Pulse rate | 30-240 bpm
|  | Sp02 Accuracy | +-3%
|  | Alarms | Auditory
|  | Alarm Limits - PR | 80-180 bpm OR 100-180 bpm 2
|  | Alarm Limits - Sp02 | Adjustable
|  | Continuous Measurement | Yes
|  | Patient Interface | Neonate specific, biocompatible and reusable
|  | Weight | <500 grams, portable
|  | Power Source | Mains with rechargeable battery
|  | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
| Phototheraphy unit | Irradiance | Standard Phototherapy: 8-10 uW/cm2/nm AND Intensive Phototherapy: >30 uW/cm2/nm
|  | Light source | LED
|  | Peak Wavelength | 430-490 nm
|  | Effective Treatment Area | >1300 cm2
|  | Bulb Lifetime | 44,000 hours
|  | Irradiance Meter | Available
|  | Power source | Mains with battery backup
|  | Voltage | Model must match the voltage and frequency of the purchasing country’s local power grid (e.g., 110-120 VAC at 60 Hz or 220-240 VAC at 50 Hz)
| Oxygen flow splitter | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Air Flow per Patient | 0-2 L/min
|  | Flow control | Each patient has individually controlled flow rate
|  | Number of Output | At least 2
| Oxygen concentrator | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Time to Reach 95% of Specified Performance | < 5 Min
|  | Oxygen Purity | 93% ± 3%
|  | Alarms | visual and auditory alarms
|  | Mobility | Whole unit moveable with wheels on at least two feet
|  | Oxygen Outlet | Recessed, replaceable metal barbs
|  | Noise Level | ≤50 decibels; low as possible
|  | Weight | <30 kg
|  | Usage Meter | Non-resettable digital or analog meter displaying cumulative hours of operation
|  | Flow Meter | At least 1 [flow meter] with min incremental 0.5 LPM
|  | Flow Rate | 8-10 LPM
|  | Minimal Flow Rate | 2 LPM
|  | Oxygen Monitor | Visual and audible status
| Continous positive airway pressure (CPAP) | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Flow Driver | Integrated (on-board air compressor)
|  | oxygen Flow Capacity | 0-10 L/min
|  | Pressure | 5-8 cm H20
|  | Total (blended) Flow | 0-10 L/min
|  | Alarms | Audio Power
|  | Accessories | Proprietary
|  | Consumables | Available
|  | Power source | main with battery backup
|  | Voltage | Model must match the voltage and frequency of the purchasing country's local power grid (e.g., 110-120 VAC at 60 Hz or 220-240 VAC at 50 Hz)
| Glucometer | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Result format | quantitative across whole linear range (should be able to switch between mg and mmol
|  | Result units | mg/dL OR mmol/L
|  | Precision | ±2% or 2.5 mg/dL, whichever is greater
|  | Linear range | 0-20 mmol/L (0-360 mg/dL)
|  | Accuracy | ± 8% 2 ± 0.2 mmol/L at 3 mmol/L (± 3.6 mg/dL at 54 mg/dL)
|  | Sample | Whole blood heel-stick sample <50 µL
| Syringe pump | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Size | small footprint; portable
|  | Decontamination | Easy to clean with common disinfecting agents
|  | Alarm characteristics | visual and auditory
|  | syringe requirements | syringe 5-60 mL, works with multiple syringe type
|  | Flow rate requirements | 0.1 -60 mL/hr
|  | Benchtop measurement accuracy (for flow rate) | ±3.0%
|  | Occlusion Detection | Adjustable based on pre-set (5, 10, 25 psi)
|  | Weight | < 5 kg (without batteries)
|  | Voltage | Model must match the voltage and frequency of the purchasing country's local power grid (e.g., 110-120 VAC at 60 Hz or 220-240 VC at 50 Hz)
| Bilirubinometer, blood based | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Result format | Quantitative across whole linear range
|  | Result units | Must display mg/dL or µmol/L
|  | Sample | Whole blood heel=stick sample <50 µL; doesn't require user to separate serum using a centrifuge
|  | Linear range | 5-30 mg/dL (85.5 - 513 µmol/L)
|  | Accuracy | ± 20% from 5-30mg/dL (85.5 - 513 µmol/L) 2
| Hemoglobinometer | Regulation | At least one of: CE marking, approved by US FDA or another stringent regulatory body of a founding member of IMDRF (e.g., Japan or Australia or Canada)
|  | Result units | g/dL OR g/L
|  | Sample | Whole blood heel-stick sample <25 µL; doesn't require user to separate serum using a centrifuge
|  | Linear range | 4.5-25 g/dL.
|  | Accuracy | ± 1.75 g/dL
|  | Result format | Quantitative; semi quantitative below 5 or above 25 g/dL
|  | Power source | Mains with rechargeable battery
EXAMPLES OF DEVICES MODELS THAT MEET MINIMUM SPECIFICATION & QUANTITIES
| Medical devices for neonatal care (with device model options) | Device model | Total quantities per facility | Total quantities to procure (based on the total number of health facilities you are planning for)
| Thermometer |  | 5 | 500
| Stethoscope,neonatal |  | 5 | 500
| Scale, baby, electronic, 10 kg<5g> |  | 5 | 500
| Ventilation bag and mask size 0 and 1 |  | 2 | 200
| Pump suction (electrical) | 3A Aspeed Professional | 2 | 200
| Infant radiant warmer | MTTS Wallaby ¦ Phoenix NWS-101 | 5 | 500
| Pulse oximeter, bedside, neonatal | Acare Lifebox¦ Bistos BT-710 | 6 | 600
| Phototheraphy unit | MTTS Colibri ¦ MMTS Firefly ¦ Phoennix Brilliance Pro | 2 | 200
| Oxygen flow splitter | CAIRE Chart SureFlow Oxygen Flow Station ¦ Canta Flow Splitter ¦ Longfian Oxygen 5-way Flow Splitter | 2 | 200
| Oxygen concentrator with accessories | Canta V8-WN-NS ¦ CAIRE Airsep NewLife Intensity 10 ¦ Longfian Jay-10 Dual Flow | 5 | 500
| Continous positive airway pressure (CPAP) | Diamedica UK Baby CPAP 10 ¦ Pumani bubbleCPAP | 2 | 200
| Glucometer | Nova StatStrip Glucose Hospital Meter System ¦ Nova StatStrip Xpress2 | 5 | 500
| Syringe pump | Mindray BeneFusion SP3 | 1 | 100
| Bilirubinometer, blood based | BiliDx Bilirubinometer ¦ Calmark AB Neo-Bilirubin | 5 | 500
| Infusion pump |  | 5 | 500
| Hemoglobinometer | EKF Diaspect¦ HemoCue 201+ | 1 | 100
List other additional items as rows here and enter the device model)
| item 1 |  | 0 | 0
| item 2 |  | 0 | 0
| item 3 |  | 0 | 0
| item 4 |  | 0 | 0
| item 5 |  | 0 | 0
| item 6 |  | 0 | 0
| item 7 |  | 0 | 0
| item 8 |  | 0 | 0
| item 9 |  | 0 | 0
| item 10 |  | 0 | 0
| item 11 |  | 0 | 0
| item 12 |  | 0 | 0
| item 13 |  | 0 | 0
| item 14 |  | 0 | 0
| item 15 |  | 0 | 0
| item 16 |  | 0 | 0
| item 17 |  | 0 | 0
| item 18 |  | 0 | 0
| item 19 |  | 0 | 0
| item 20 |  | 0 | 0
FURNITURE QUANTITIES
| Ward furniture & fixtures for neonatal unit | Total quantities per facility | Total quantities to procure (based on the total number of health facilities you are planning for)
| Baby cots | 25 | 2500
| Beds for rooming-in | 5 | 500
| Special mother beds-KMC | 10 | 1000
| Chairs-KMC | 5 | 500
| Room thermometer | 5 | 500
| Room heater | 5 | 500
| Wall clock with seconds' hand | 5 | 500
| Bedside lamp for procedures | 6 | 600
| Emergency trolley | 6 | 600
| Medicine trolley | 6 | 600
| Ordinary trolley | 6 | 600
| Refrigerator with freezer compartment | 2.5 | 250
| Medicine cabinets | 1 | 100
| Water distiller 5L/Hr | 1 | 100
| Oxygen cylinder (back up with humidifier and flow splitter) | 2.5 | 250
| Oxygen cylinder (small for transport) | 2.5 | 250
| Measuring tape | 6 | 600
| Voltage stabilizer and UPS | 3 | 300
Additional ward furniture and fixtures
| item 1 | 0 | 0
| item 2 | 0 | 0
| item 3 | 0 | 0
| item 4 | 0 | 0
| item 5 | 0 | 0
| item 6 | 0 | 0
| item 7 | 0 | 0
| item 8 | 0 | 0
| item 9 | 0 | 0
| item 10 | 0 | 0
| item 11 | 0 | 0
| item 12 | 0 | 0
| item 13 | 0 | 0
| item 14 | 0 | 0
| item 15 | 0 | 0
| item 16 | 0 | 0
| item 17 | 0 | 0
| item 18 | 0 | 0
| item 19 | 0 | 0
| item 20 | 0 | 0

## Cost Dashboard
ABC_Neonatal Device Planning and Costing Tool
Cost estimates overview
Country | Kenya
Level of newborn care | Level-2 care (Special newborn care)
Number of beds & cots | 40-bed neonatal unit with 10-bed level-2 care unit(high dependency unit)
Number of health facilities | 100
Total set-up cost per health facility
Total costs | 67858.2618 | 67.8583
Ward furniture and fixtures | 32764.2613 | 32.7643
Neonatal devices | 33312.0005 | 33.312
User installation training | 1782 | 1.782
Total scale up costs estimates
| USD | KES
Total scale up cost | 6785826.1792 | 916086534.1899
Ward furniture and fixtures | 3276426.1309 | 442317527.678
Neonatal devices | 3331200.0482 | 449712006.5119
User installation training | 178200 | 24057000
Budgetary implications
Set up cost per capita | 0.12803
Set up cost per birth | 3.3929

## Inputs_validation (hidden)
Country | Currency code |  | No. of beds estimation | Type of facility | level of neonatal care
Algeria | DZD | National | Option 1 (default) | New | Level-2 care (Special newborn care) | Yes
Angola | AOA | Sub-national | Option 2 (customise) | Upgrade existing | Both level-2 & level-3 (partial) | No
Benin | XOF
Botswana | BWP
Burkina Faso | XOF
Burundi | BIF
Cameroon | XAF
Cape Verde | CVE
Central African Republic | XAF
Chad | XAF
Comoros | KMF
Congo | XAF
Ivory Coast | XOF
Djibouti | DJF
Egypt | EGP
Equatorial Guinea | XAF
Eritrea | ERN
Ethiopia | ETB
Gabon | XAF
Gambia | GMD
Ghana | GHS
Guinea | GNF
Guinea-Bissau | XOF
Kenya | KES
Lesotho | LSL
Liberia | LRD
Libya | LYD
Madagascar | MGA
Malawi | MWK
Mauritania | MRU
Mauritius | MUR
Morocco | MAD
Mozambique | MZN
Namibia | NAD
Niger | XOF
Nigeria | NGN
Rwanda | RWF
Sao Tome and Principle | STN
Senegal | XOF
Seychelles | SCR
Sierra Leone | SLL
Somalia | SOS
South Africa | ZAR
South Sudan | SSP
Sudan | SDG
Eswatini | SZL
Tanzania | TZS
Togo | XOF
Tunisia | TND
Uganda | UGX
Zambia | ZMW
Zimbabwe | USD

## Default unit cost_Furniture (hidden)
Ward furniture & fixtures for neonatal unit | Unit cost_Kenya (USD) | Unit cost_Nigeria (USD) | Unit cost_Tanzania (USD) | Unit cost_Median Government agencies (USD) | Unit cost_median private distrbutors (USD)
Baby cots | 218.7079 | 186.5324 | 194.3844 | 194.3844 | 350
Beds for rooming-in | 546.7699 | 279.7985 | 777.5378 | 546.7699 | 350
Special mother beds-KMC | 600 | 279.7985 | 777.5378 | 600 | 350
Chairs-KMC | 336.4738 | 81.6079 | 64.7948 | 81.6079 | 70
Room thermometer | 800 | 900 | 1200 | 900 | 500
Room heater | 60.91 | 66.67 | 64.11 | 64.11 | 90.74
Wall clock with seconds' hand | 12.6178 | 11.6583 | 25.9179 | 12.6178 | 30
Bedside lamp for procedures | 330.6474 | 0 | 110.8359 | 110.8359 | 200
Emergency trolley | 757.0659 | 816.0791 | 1597.9266 | 816.0791 | 1100
Medicine trolley | 168.2369 | 116.5827 | 561.5551 | 168.2369 | 1100
Ordinary trolley | 126.1777 | 69.9496 | 138.2289 | 126.1777 | 180
Refrigerator with freezer compartment | 420.5922 | 228.5021 | 2159.8272 | 420.5922 | 600
Medicine cabinets | 210.2961 | 209.8489 | 604.7516 | 210.2961 | 375
Water distiller 5L/Hr | 420.5922 | 233.1655 | 820.7343 | 420.5922 | 400
Oxygen cylinder (back up with humidifier and flow splitter) | 319.6501 | 174.8741 | 691.1447 | 319.6501 | 608
Oxygen cylinder (small for transport) | 243.9435 | 65.2863 | 338.2289 | 243.9435 | 408
Measuring tape | 4.2059 | 1.6322 | 0.55292 | 1.6322 | 20
Voltage stabilizer and UPS | 2338.4926 | 582.9136 | 1150 | 1150 | 50

## Default uni cost_Devices (hidden)
Medical devices for neonatal care | Tanzania price (USD) | Kenya price (USD) | Nigeria (USD) | Unit cost calculation_Government procurement agencies Median (USD) | Unit cost_median private distrbutors (USD)
Thermometer | 4.3197 | 8.3333 | 22.22 | 8.3333 | 90
Stethoscope,neonatal | 21.3737 | 66.6667 | 28.89 | 28.89 | 100
Scale, baby, electronic, 10 kg<5g> | 164.1469 | 83.3333 | 88.89 | 88.89 | 65
Ventilation bag and mask size 0 and 1 | 21.5983 | 29.1667 | 22.22 | 22.22 | 70
Infant radiant warmer | 3580 | 3333.3333 | 3444.44 | 3444.44 | 3766
Glucometer | 1342.1166 | 37.5 | 33.33 | 37.5 | 1110
Pulse oximeter, bedside, neonatal | 142.1786 | 33.3333 | 51.11 | 51.11 | 71
Phototheraphy unit and irradience meter | 1505 | 2166.6667 | 933.33 | 1505 | 2363
Pump suction,electical, portable, 220V | 397 | 366.6667 | 177.78 | 366.6667 | 389
Infusion pump | 302.3758 | 708.3333 | 777.78 | 708.3333 | 2200
Syringe pump | 1375 | 808.3333 | 777.78 | 808.3333 | 2114
Continous positive airway pressure (CPAP) | 1079.9136 | 1833.3333 | 1333.33 | 1333.33 | 2207
Bilirubinometer, blood based | 1943.8445 | 1900 | 2000 | 1943.8445 | 2239
Oxygen concentrator | 1053.3305 | 1000 | 933.33 | 1000 | 1443
Oxygen flow splitter | 518.3585 | 250 | 624 | 518.3585 | 158
Hemoglobinometer | 410.3672 | 150 | 77.78 | 150 | 945