
Supplemental TABLE 1. Catheter specifics of n = 112 CVADs
	Catheter (incl. SKU)
	N
	Lumen/caliber
	Material
	Cuff

	Bard Broviac®️
#0600060CE*
	2
	1 / 4.2 Fr (1.4mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Broviac®️
#0600520CE
	1
	1 / 4.2 Fr (1.4mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Broviac®️
#0600100CE
	4
	1 / 6.6 Fr (2.2mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	1x Broviac®️ (not further specified)
	1
	1 / n.a.
	n.a.
	n.a.

	Bard Hickman®️
#0600310CE*
	7
	2 / 7 Fr (2.33mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Hickman®️
#0600570CE
	1
	2 / 7 Fr (2.33mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Hickman®️
#0606460CE*
	5
	3 / 10 Fr (3.33mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Hickman®️
#0606560CE
	1
	3 / 10 Fr (3.33mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Bard Hickman®️
#0600360CE
	1
	3 / 12.5 Fr (4.17mm)
	Silicone
	SureCuff™️ Tissue Ingrowth Cuff

	Braun Celsite®️ Babyport #04433742
	7
	1 / 4.5 Fr (1.5mm)
	Polyurethane
	No cuff

	Bard Titan Low-Profile Port #0605490CE
	45
	1 / 6 Fr (2.0mm)
	Polyurethane
	No cuff

	Bard Titan Low-Profile Port #0605300CE
	29
	1 / 8 Fr (2.7mm)
	Polyurethane
	No cuff

	Port (not further specified)
	8
	n.a.
	n.a.
	No cuff


Fr = French catheter scale (1 Fr = 1/3 mm outer diameter); n.a. = not available; SKU = stock keeping unit; TC-CVC = tunneled cuffed central venous catheter; TIVAD = totally implanted venous access device. Broviac®️ and Hickman®️ catheters are classified as TC-CVCs, whereas ports are classified as TIVADs. *This catheter is supplied without a percutaneous insertion kit.

