
SUPPLEMENTAL TABLE 2. Complications and premature removals of n = 112 CVADs
	Complication
	n (%)
	Catheter type (TC-CVC/TIVAD)
	Incidence rate per 1.000 catheter days*
	Catheter type specifics (incl. SKU)

	Total complications leading to dysfunction
	26 (23.2)
	(9/17)
	0.86 (0.56 - 1.25)
	

	Catheter infections leading to dysfunction
	13 (11.6)
	(5/8)
	0.43 (0.23 - 0.73)
	1x Bard Broviac®️ (6.6 Fr), 1 lumen #0600100CE

1x Broviac®️, 2 lumen (not further specified)

1x Bard Hickman®️ (7 Fr), 2 lumen #0600310CE

2x Hickman®️ (10 Fr), 3 lumen #0606460CE

1x Braun Celsite®️ Babyport (4.5 Fr) #04433742

5x Bard Titan Low-Profile Port (6 Fr) #0605490CE

1x Bard Titan Low-Profile Port (8 Fr) #0605300CE

1x Port (not further specified)

	Wound healing disorders
	4 (3.6)
	(0/4)
	0.13 (0.04 - 0.34)
	2x Bard Titan Low-Profile Port (6 Fr) #0605490CE

2x Bard Titan Low-Profile Port (8 Fr) #0605300CE

	Thrombosis
	3 (2.7)
	(0/3)
	0.09 (0.02 - 0.29)
	1x Bard Titan Low-Profile Port (6 Fr) #0605490CE

2x Bard Titan Low-Profile Port (8 Fr) #0605300CE

	Dislocation
	3 (2.7)
	(2/1)
	0.09 (0.02 - 0.29)
	1x Bard Broviac®️ (4.2 Fr), 1 lumen #0600060CE

1x Bard Hickman®️ (7 Fr), 2 lumen #0600310CE

1x Bard Titan Low-Profile Port (6 Fr) #0605490CE

	Infection and thrombosis combined
	1 (0.9)
	(0/1)
	0.03 (0.00 - 0.18)
	1x Bard Titan Low-Profile Port (6 Fr) #0605490CE

	Accidental removal
	1 (0.9)
	(1/0)
	0.03 (0.00 - 0.18)
	1x Bard Broviac®️ (6.6 Fr), 1 lumen #0600100CE

	Occlusion
	1 (0.9)
	(1/0)
	0.03 (0.00 - 0.18)
	1x Hickman®️ (10 Fr), 3 lumen #0606460CE

	
	
	
	
	

	Catheter infections
	15 (13.4)
	(6/9)
	0.49 (0.28 - 0.81)
	

	At least one positive blood culture during follow-up
	44 (39.3)
	(12/32)
	1.45 (1.05 - 1.94)
	

	
	
	
	
	

	Planned removal after completion of therapy
	75 (67)
	(12/63)
	2.47 (1.94 - 3.09)
	

	Total premature removals
	21 (18.8)
	(9/12)
	0.69 (0.43 - 1.06)
	

	Premature removals due to infection
	13 (11.6)
	(5/8)
	0.43 (0.23 - 0.73)
	

	Wound healing disorder
	3 (2.7)
	(0/3)
	0.09 (0.02 - 0.29)
	

	Dislocation
	3 (2.8)
	(2/1)
	0.09 (0.02 - 0.29)
	

	Accidental removal
	1 (0.9)
	(1/0)
	0.03 (0.00 - 0.18)
	

	Occlusion
	1 (0.9)
	(1/0)
	0.03 (0.00 - 0.18)
	

	
	
	
	
	

	Death
	4 (3.6)
	(2/2)
	0.13 (0.04 - 0.34)
	

	Infection after ending of therapy
	1 (0.9)
	(0/1)
	0.03 (0.00 - 0.18)
	

	Planned change of catheter system
	2 (1.8)
	(0/2)
	0.07 (0.01 - 0.24)
	

	Explantation not documented
	8 (7.1)
	(0/8)
	0.26 (0.11 - 0.52)
	

	Therapy at another clinic
	1 (0.9)
	(0/1)
	0.03 (0.00 - 0.18)
	


*Incidence rate (lower 95% confidence interval - upper 95% confidence interval). CVAD = central venous access device; Fr = French catheter scale (1 Fr = 1/3 mm outer diameter); SKU = stock keeping unit; TC-CVC = tunneled cuffed central venous catheter; TIVAD = totally implanted venous access device. Broviac®️ and Hickman®️ catheters are classified as TC-CVCs, whereas ports are classified as TIVADs.

