HIV-1/2 antibody finger test checklist
Methods: whole blood test
1. Read the instructions of the test kit carefully 

   True □ False □

2. Tear open a test kit, and put the reagent on a test-bed horizontal. 
   True □ False □

3. Press the end of the left ring finger and clean the finger using alcohol prep pad
   True □ False □

4. Place the Lancet at the finger and press the trigger to prick the finger
   True □ False □

5. Collect 1-2 drops of the blood sample (25-35 ml) using the micro pippette and place the sample into the Sample Well (S), DO NOT drop the finger blood into the Sample Well (S) directly. 
   True □ False □

6. Bandage the wound using BAND-AID.
   True □ False □

7. Read the results within 15-30 minutes
   True □ False □

Interpretation of result:
1. Positive result: two line appear. If both a test and control line appear , i.e. two lines appear on the test strip, in the Test Zone and Control Zone, respectively, the result is considered positive.  One of these lines maybe darker than the other. Do NOT panic and please confirm the result from the local CDC. 

2. Negative result: only control line appears on the test strip in the control zone. 
3. Invalid: there is no control line in the Control Zone. It means the device may be faulty, please test again using a new kit. 
