Additional file 1: Specification of diagnostics used during screening

| S No. | Parameter measured | Equipment | Equipment Model |
| --- | --- | --- | --- |
| 1 | Random Blood Sugar | Digital Glucometer | Freestyle Optium H Glucometer |
| 2 | Random Blood Sugar | Glucometer strips | Freestyle Optium H Strips |
| 3 | Random Blood Sugar | Lancets | Peerless on call- Acon Lancets |
| 4 | Blood Pressure | Digital BP Apparatus | Omron HEM 7120 BP Apparatus |
| 5 | Body Weight | Digital Weighing Machine | Omron HN 286 Digital Weighing scale |
| 6 | Height | Standard Measuring tape | Deca 201 |