Table 1S The results of quality control in maize, the associated soil and the irrigation water.

|  |  | Correlation coefficients(R2) | Recovery (%) | RSD (%) | Certified reference (mg/kg) | Certified value (mg/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| Miaze | Cd | 0.9999 | 110 | 3.9 | 0.033 | 0.035±0.006 |
|  | Pb | 0.9991 | 101 | 4.5 | 0.16 | 0.19 ± 0.03 |
|  | Cr | 0.9999 | 98 | 1.9 | 2.0 | 1.8 ± 0.3 |
|  | Zn | 0.9992 | 97 | 2.9 | 24 | 26 ± 2 |
|  | Cu | 0.9999 | 91 | 1.7 | 2.4 | 2.7 ± 0.2 |
|  | As | 0.9992 | 85 | 4.2 | 0.059 | 0.062 ±0.014 |
| Soil | Cd | 0.9999 | 98 | 4.5 | 0.21 | 0.22 |
|  | Pb | 0.9991 | 95 | 3.7 | 18 | 21 ± 5 |
|  | Cr | 0.9999 | 105 | 3.8 | 61 | 61 ± 5 |
|  | Zn | 0.9992 | 93 | 4.5 | 55 | 51 ± 6 |
|  | Cu | 0.9999 | 92 | 2.9 | 18 | 17 ± 1 |
|  | As | 0.9992 | 87 | 4.8 | 10.2 | 9.8 ± 0.9 |
| Irrigation | Cd | 0.9999 | 91 | 1.2 | 100 μg/L | 100 μg/L |
| water | Pb | 0.9991 | 94 | 1.5 | 99 μg/L |  |
|  | Cr | 0.9999 | 99 | 1.6 | 101 μg/L |  |
|  | Zn | 0.9992 | 95 | 1.2 | 100 μg/L |  |
|  | Cu | 0.9999 | 102 | 1.9 | 100 μg/L |  |
|  | As | 0.9992 | 98 | 2.4 | 99 μg/L |  |

Table 2S Correlations between BF and levels of PTEs in soil and maize.

|  | BF-Cd | BF-Pb | BF-Cu | BF-Zn | BF-Cr | BF-As |
| --- | --- | --- | --- | --- | --- | --- |
| Cd-soil | .402** | -.267 | -.087 | .065 | .100 | .131 |
| Pb-soil | .157 | -.509** | .018 | .201 | .241 | .046 |
| Cu-soil | .306* | .034 | .103 | .124 | .065 | -.030 |
| Zn-soil | -.150 | .137 | -.028 | -.724** | -.425** | .152 |
| Cr-soil | -.129 | .202 | -.037 | -.576** | -.537** | .104 |
| As-soil | -.024 | -.053 | -.373* | -.364* | -.220 | -.079 |
| Cd-maize | .492** | .301* | .097 | .272 | .159 | .063 |
| Pb-maize | .079 | .623** | .030 | .159 | .091 | -.144 |
| Cu-maize | -.021 | -.014 | .983** | .082 | .076 | .098 |
| Zn-maize | .238 | .021 | .258 | .740** | .467** | .102 |
| Cr-maize | .260 | .153 | .501** | .455** | .437** | -.106 |
| As-maize | .201 | -.160 | -.023 | -.202 | -.225 | .966** |

**P < 0.01.

* P < 0.05.

Fig.1S Probability exceeding 10-5 of R (a: all inhabitant, b: male c: female), the black area represents the exceeding probabilities, and about 64.26%, 58.28% and 68.30% for a, b, c, and d, respectively.

Fig.2S Probability exceeding 10-5 of R (a: below 20 years, b: 20~40 years, c: 40~60 years, d: more than 60 years), the black area represents the exceeding probabilities, and about 73.24%, 63.26%, 63.47% and 45.74% for a, b, c, and d, respectively.