Supplementary file S4

Contaminations in bottled water from 1999 to 2021 in the United Arab Emirates

| Parameter categories | Parameters | Sample size (N) | Sample amount | Determination technique | Results | Compared to limit | Reference | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Biological parameters | Acinetobacter lwoffii | 80 (from 4 companies) | 100 mL | Surface pour plate technique, API 20E, API 20NE kits (BioMerieux) | Detected in 16 bottles: 3 bottles = <100 CFU/mL 6 bottles = 100-1000 CFU/mL 7 bottles = >1000 CFU/mL | Above threshold | Nsanze et al., 1999 | All four types of bottled mineral water investigated in the UAE contained some bacterial contamination. There were more than 10 different species of contaminating bacterial agents. The normal storage temperature was a contributing factor in the multiplication of contaminants. Acinetobacter Iwoffii was the most frequent isolate. Public heath significance of the bacterial isolates is questionable. |
|  | Acinetobacter species |  |  |  | Detected in 8 bottles: 4 bottles = <100 CFU/mL 2 bottles = 100-1000 CFU/mL 1 bottle = >1000 CFU/mL | Above threshold |  |  |
|  | Unidentified gram-positive bacilli |  |  |  | Detected in 4 bottles: 1 bottle = <100 CFU/mL 2 bottles = 100-1000 CFU/mL 1 bottle = >1000 CFU/mL | Above threshold |  |  |
|  | Bacillus species |  |  |  | Detected in 1 bottle: 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Micrococcus species |  |  |  | Detected in 1 bottle: 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Steno maltophilia |  |  |  | Detected in 4 bottles: 2 bottles = <100 CFU/mL 1 bottle = 100-1000 CFU/mL 1bottle = >1000 CFU/mL | Above threshold |  |  |
|  | Pseudomonas species |  |  |  | Detected in 6 bottles: 4 bottles = <100 CFU/mL 1 bottle = 100-1000 CFU/mL 1 bottle = >1000 CFU/mL | Above threshold |  |  |
|  | Meningosepticum species |  |  |  | Detected in 1 bottle: 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Erwinia spp |  |  |  | Detected in 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Turritella pteos |  |  |  | Detected in 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Edwardsiella ictalurid |  |  |  | Detected in 1 bottle = <100 CFU/mL | Above threshold |  |  |
|  | Staph epidermidis |  |  |  | Detected in 1 bottle = <100 CFU/mL | Above threshold |  |  |
| Physical parameters | Solids | 17 | - | A portable pH meter (HI-8314) | Average: 134 mg/L | Within normal range | Rizk, 2009 |  |
|  | Electrical conductivity |  |  | Myron-L EP-meter | Average: 204 uS/cm | Within normal range |  |  |
| Chemical parameters | pH |  |  | A portable pH meter (HI-8314) | Average: 7.5 | Within normal range |  | Some of the concentrations of inorganic ions in bottled water are far below the WHO recommended limits for drinking water. |
|  | Fluoride |  |  | Titration Ion chromatography Atomic absorption spectrophotometry (AAS) Inductively coupled plasma-atomic emission spectrometry (ICP-AES) | Average: 0.18 mg/L (WHO Min: 1.49 mg/L) | Below lower limit |  |  |
|  | Iron |  |  |  | Average: 0.008 mg/L (WHO Min: 0.3 mg/L) | Below lower limit |  |  |
|  | Magnesium |  |  |  | Average:7 mg/L (WHO Min: 59 mg/L) | Below lower limit |  |  |
|  | Sulfate |  |  |  | Average: 12 mg/L (WHO Min: 299 mg/L) | Below lower limit |  |  |
|  | Barium |  |  |  | Not detected | Within normal range |  |  |
|  | Bicarbonate |  |  |  | Average: 36 mg/L | Within normal range |  |  |
|  | Boron |  |  |  | Average:0.1867 mg/L | Within normal range |  |  |
|  | Calcium |  |  |  | Average:13 mg/L | Within normal range |  |  |
|  | Chloride |  |  |  | Average: 39 | Within normal range |  |  |
|  | Chromium |  |  |  | Not detected | Within normal range |  |  |
|  | Copper |  |  |  | Not detected | Within normal range |  |  |
|  | Lead |  |  |  | Not detected | Within normal range |  |  |
|  | Manganese |  |  |  | Not detected | Within normal range |  |  |
|  | Nickel |  |  |  | Not detected | Within normal range |  |  |
|  | Nitrate |  |  |  | Average:2 mg/L | Within normal range |  |  |
|  | Potassium |  |  |  | Average: 2 | Within normal range |  |  |
|  | Sodium |  |  |  | Average: 19 | Within normal range |  |  |
|  | Zinc |  |  |  | Not detected | Within normal range |  |  |
|  | Strontium |  |  |  | Average: 0.01 mg/L | Within normal range |  |  |
|  | Selenium |  |  |  | Not detected | Within normal range |  |  |
| Chemical parameters | Bromide | 20 | Not stated | Metrohm 861 Advanced Compact Ion Chromatography (IC) system | Some bottles: Not detected Highest value detected = 1.45 mg/L | - | Abouleish, 2012 | Bromide and phosphate have no set limits provided from any considered organization. Nitrite levels were not detected except for one sample (No. 20) which exceeded the permissible level set by the EC/DWD (0.50), but was below the standard limits of WHO (3.00). |
|  | Chloride |  |  |  | Detected between 2.47-147.9 mg/L | Within normal range |  |  |
|  | Fluoride |  |  |  | Some bottles: Not detected Highest value detected = 1.07 mg/L | Within normal range |  |  |
|  | Nitrate |  |  |  | Some bottles: not detected Highest value detected = 5.67 mg/L. | Within normal range |  |  |
|  | Nitrite |  |  |  | Some bottles: not detected Highest value detected = 1.29 mg/L | Above threshold and Within normal range |  |  |
|  | Phosphate |  |  |  | Some bottles: not detected Highest value detected = 4.58 mg/L | - |  |  |
|  | Sulfate |  |  |  | Some bottles: not detected Highest value detected = 50.4mg/L | Within normal range |  |  |
|  | Nitrate-Nitrogen |  |  |  | Some bottles: not detected Highest value detected = 1.29 mg/L | Within normal range |  |  |
|  | Nitrite-Nitrogen |  |  |  | Some bottles: not detected Highest value detected = 0.39 mg/L | Within normal range |  |  |
| Chemical parameters | Fluoride | 92 | 330-600 mL | A Waters Ion Chromatograph (IC) system (Milford, MA, USA) in conjunction with the Millennium 32 | Sample 1, 8, & 15: below all standard limits (below lower limit) Sample 4, 10, & 16: below lower limit if no fluoride is added and not packaged in the U.S., but above threshold if imported bottled water with added fluoride Sample 17: above threshold of all international organization & GCC Individual measurements ranged from 0 to 4.5 mg/L. 19 samples had mean levels below the lowest recommended level (below lower limit) (0.6 mg/L), ranging from 0 to 0.1 mg/L. 1 sample had mean level above the highest recommended level Above Threshold (4 mg/L), at 4.14 mg/L. | Above threshold, Below lower limit and Within normal range | Abouleish, 2016 | 1 out of 23 samples exceeded the highest standard limit (U.S. FDA/CFR standards for imported bottled water). 19 samples were below the lowest recommended limit (below the lower limit) (GCC). No consistency in reporting of fluoride levels on the labels of bottled water exists. |
| Chemical parameters | Fluoride | 66 (3 from each 22 brands) | 50 mL | Orion 4-Star pH/ISE Benchtop Meter and Orion ionplus® fluoride electrode (Orion Cat No. 1010103, Thermo Electron Corporation, Beverly, MA, USA) | 0.02-0.50 mg F/L | Below lower limit | Walia et al., 2017 | Less than recommended fluoride levels in bottled drinking water were reported in the UAE. |
| Biological parameters | Total coliforms | 40 | 250 mL | Membrane filtration (CFU) | Not detected | Within normal range | Semerjian et al., 2020a | Public dispensers had slightly (non-significantly) higher HPC levels and showed higher presence of fungal growth compared with private residential water dispensers. All investigated bottled water dispensers were free from fecal and total coliforms. |
|  | E. coli or thermotolerant fecal coliform bacteria |  |  |  | Not detected | Within normal range |  |  |
|  | Heterotrophic bacteria (HPC) |  |  |  | 31 (0-100) CFU/100 ml. No statistically significant difference public and private | Above threshold |  |  |
|  | Fungi |  |  |  | 30% of samples tested positive for fungal growth, 55% of public, none of private | Above threshold |  |  |
| Chemical parameters | Radioactive substance: Tritium (3H) | 16x6=96 | Unclear | Liquid Scintillation Counter (PerkinElmer Quantulus LSC (GCT 6220LSC)) | ~66 (54-96) Bq/L | Within normal range | Semerjian et al., 2020b | Activity levels for both radionuclides were below the allowable maximum guideline values specified by local and international standards. |
|  | Radioactive substance: Potassium-40 (40K) |  |  | Inductively coupled plasma-optical emission spectrometry (ICP-OES) | ~0.05 (0.007-0.184) Bq/L | Within normal range |  |  |
| Physical parameters | Solids | 36 | 500 mL | TBC APHA 9215 D standard TDS APHA 2540 C standard turbidity and TOC APHA 2130 B and APHA 5310 B standard | Detected: 40-309 mg/L | Within normal range | Mortula et al., 2021 | Bicarbonate content of some samples was above WHO guidelines. |
| Chemical parameters | pH |  |  | pH APHA 4500-H+B standard | 7.1-7.8 | Within normal range |  |  |
|  | Bicarbonate |  |  | TBC APHA 9215 D standard TDS APHA 2540 C standard turbidity and TOC APHA 2130 B and APHA 5310 B standard pH APHA 4500-H+B standard | 27-360 mg/L | Above threshold |  |  |
|  | Chloride |  |  |  | 1.1-47 mg/L | Within normal range |  |  |
|  | Sodium |  |  |  | 1.6-10 mg/L | Within normal range |  |  |
|  | Potassium |  |  |  | 0-0.3 mg/L | Within normal range |  |  |
|  | Calcium |  |  |  | 3.4-80 mg/L | Within normal range |  |  |
|  | Magnesium |  |  |  | 1.7-26 mg/L | Within normal range |  |  |
|  | Sulfate |  |  |  | 3.82-19 mg/L | Within normal range |  |  |
|  | Nitrate |  |  |  | 0.4-3.7 mg/L | Within normal range |  |  |
|  | Bromate |  |  | Bromate USEPA 300.1 standard Bromide APHA 4110B standard | 0.99-2.4 ug/L | Within normal range |  |  |

*Bold and italicized data are added information.

~Approximate result from the figure.