Supplementary data 1.  Comparison of the features of CheckPD with those of other selected global PD digital platforms.

| Platform | Country | Setting | Primary purpose | Key features | Strengths | Limitations |
| --- | --- | --- | --- | --- | --- | --- |
| Screening or diagnosis |  |  |  |  |  |  |
| CheckPD [54] | Thailand | Real world | National PD screening and risk stratification | Multimodal AI (tapping, tremor, balance, voice), questionnaire, offline-first, VHV integration, cloud dashboards | Only national-scale PD screening system; strong usability; policy integration; PDPA compliance; real-world deployment | Requires device capability; follow-up clinical pathways still developing |
| mPower [58, 59] | USA | Research | Research data collection and digital biomarker discovery | Tapping, gait, voice tasks; ResearchKit; large open dataset | Massive user base; open science; high-frequency longitudinal data | Not designed for clinical screening; variable data quality; no health-system integration |
| PREDICT-PD [60, 61] | UK | Research | Early detection research in high-risk PD | Online questionnaires, smell tests, risk modeling | Strong epidemiological base; long-term longitudinal follow-up | No motor-sensor tasks; not mobile-first; limited scalability |
| KeySense [62] | USA | Real world | Early detection and self-screening for Parkinson’s disease | Typing-based motor assessment (KeySense®), AI analysis of keystroke dynamics, web-based access, no wearable devices required | Simple and non-invasive screening; accessible via standard computer keyboard; free public access; focuses on early detection | Not a clinical diagnostic tool; limited multimodal assessment (no voice, gait, or tremor sensors); requires desktop or laptop keyboard; limited integration with healthcare systems |
| Smartphone motor testing app [63] | UK | Research | Differentiate PD, iRBD, and controls using smartphone motor tasks | Voice, gait, balance, tapping, tremor tasks; smartphone sensors; ML classification | High accuracy; low-cost; captures real-world motor data | Research-only; data quality depends on user compliance; not a deployed screening system |
| Roche PD Mobile Application v2 [64] | Switzerland | Research | Remote monitoring of motor symptoms in early PD | Smartphone & smartwatch tests (tapping, tremor, gait, balance, speech); passive monitoring | High reliability and validity; frequent at-home assessment | Research-only; focused on early-stage PD; not deployed for population screening |
| APDM Mobility Lab [65] | USA | Research | Objective gait and balance assessment in PD | Wearable IMU sensors; gait, balance, turning measures | Validated, reliable; sensitive to PD severity and progression | Research-focused; requires sensors; not population screening |
| Motor symptom monitoring |  |  |  |  |  |  |
| Hopkins PDKit [66] | USA | Research | Open-source digital biomarker toolkit | Python-based pipeline for gait, tapping, voice; harmonization of mobile sensor data | Enables reproducible analysis; strongly used in academic research | Not a patient-facing screening app; requires programming expertise |
| SmartMOVE [67] | Singapore | Research | Objective gait assessment and gait variability analysis in PD | Smartphone accelerometer and gyroscope; step time and step length variability; validation against footswitches and the gait mat system | Clinically validated accuracy; low-cost and portable; suitable for clinic and home use | Small sample size; focused on gait only; not designed for large-scale screening or health-system integration |
| STOP App – Smartphone-based tremor monitoring [68] | Finland / UK | Research | Remote monitoring of hand tremor severity and medication effects in PD | Smartphone accelerometer; gamified ball-balancing task; tremor intensity parameter (TIP); before/after medication analysis | Objective tremor quantification; correlates with UPDRS; feasible real-world monitoring | Small sample size; focuses mainly on hand tremor; device variability; not designed for population screening |
| Smartphone-based FOG Monitoring System [69] | Italy | Research | Home assessment and real-time detection of freezing of gait (FOG) in Parkinson’s disease | Smartphone inertial sensors; fuzzy logic algorithm; spatio-temporal gait parameters (step cadence, step length); frequency-domain features; real-time FoG detection; home and laboratory validation | High detection accuracy (AUC up to 0.94); interpretable knowledge-based model; real-time processing; strong agreement with clinician assessment; high usability for home monitoring | Focused on FOG only (not full PD screening); requires calibration by clinicians; limited sample size; not designed as population-scale screening or integrated health system platform |
| Smartphone-based Turning Assessment [70] | Italy | Research | Remote assessment of motor impairment in PD | Smartphone inertial sensors; turning task analysis; QoM index; ML classification | Objective digital biomarker; correlates with clinical scales; low-cost home monitoring | Limited to turning tasks; small sample size; not suitable for population-scale screening |
| Smartphone-based Gait Assessment App [71] | China / USA | Research | Objective assessment of gait impairment and disease severity in PD | Smartphone IMU (accelerometer, gyroscope); single- and dual-task walking; stride time and variability; cloud data upload | High validity vs. gold-standard sensors; correlates with UPDRS, cognition, and mood; low-cost and portable | Clinic-based validation only; small sample size; focuses on gait only; not designed for large-scale screening |
| Smartphone-based FOG Detection System [72] | South Korea | Research | Objective detection of freezing of gait (FOG) in PD | Smartphone accelerometer & gyroscope; unconstrained body placement (waist, pocket, ankle); machine learning (AdaBoost); real-world gait data | High sensitivity (up to 86%); no external sensors required; practical daily-life deployment | Focused only on FOG; small sample size; requires labeled data; not a comprehensive PD screening system |
| Smartphone-based RPM [73] | Italy | Research | Remote monitoring of PD patients during lockdown | Smartphone app for gait, tapping, tremor, balance, cognition; questionnaires; telemonitoring | Feasible home monitoring; good patient compliance; correlates with clinical scales (UPDRS, H&Y) | Small sample size; short study duration; no control group; requires digital literacy |
| Symptom fluctuation, behavior, and intervention support |  |  |  |  |  |  |
| EMA eDiary for PD [74] | Netherlands | Research | Daily-life monitoring of motor and non-motor symptom fluctuations in PD | Smartphone-based ecological momentary assessment (EMA); repeated questionnaires on affect, motor function, context; free-living monitoring | Captures intraday symptom fluctuations; good internal validity; patient-centered monitoring | Small sample size; subjective self-report; not designed for screening or population-scale deployment |
| 9zest Exercise App [75] | USA | Research | Home-based exercise support for people with PD | Smartphone app; personalized video-guided exercise; in-app assessments (STS, TUG, PDQ-8); adaptive algorithm | Safe and feasible; improves mobility, strength, and quality of life; accessible home use | Small sample size; high dropout; not designed for screening or diagnosis |
| mHealth-supported exercise program [76] | USA | Research | Promote physical activity in people with PD | Mobile app–supported home exercise, step tracking, remote monitoring, behavioral feedback | Improves physical activity and mobility, especially in less active patients; safe and acceptable | Small sample size; not a screening or diagnostic tool; limited generalizability |
| ImageVis3D Mobile for DBS [77] | USA | Real world | Clinical decision support for DBS parameter selection in PD | Mobile interactive visualization; patient-specific DBS models; visualization of electrode location and volume of tissue activated (VTA) | Faster DBS parameter selection; comparable to standard care; intuitive mobile interface | Requires precomputed models; limited patient sample; focused on DBS programming, not PD screening |

AI, artificial intelligence; ML, machine learning PD, Parkinson’s disease; PDPA, Personal Data Protection Act; VHV, Village Health Volunteers; STOP, Sentient Tracking of Parkinson’s; FOG, freezing of gait; EMA, ecological momentary assessment; QoM, Quality of Motion; STS, Sit-to-stand test; TUG, Timed Up and Go; PDQ-8, Parkinson's Disease Questionnaire-8; DBS, Deep Brain Stimulation; iRBD, Idiopathic Rapid Eye Movement Sleep Behavior Disorder; IMU, Inertial measurement unit; AUC, Area Under the Curve; UPDRS, Unified Parkinson's Disease Rating Scale; H&Y, Hoehn & Yahr Scale.