Supplemental Figure 1. Proposed FCT protocol.
For Coronary calcium score scan
Position:	          Supine                      	
Scanning mode:	Axial with prospective ECG gating
Scan range:             From below the aortic arch to base of heart
Scan parameters:   120 kV fixed, mAs BMI dependent. 
 BMI < 30 = 120 kVp @ 40 mAs
 BMI 31-34 = 120 kVp @ 50 mAs
 BMI > 120Kvp @ 60 mAs
Slice thickness        2.5 mm with interval of 1 mm
Reconstructions/ post processing:     
Axial soft tissue widow – Slice thickness – 2.5 mm 
Axial lung window- Slice thickness – 2.5 mm 
Calcium scoring performed using Philips Intellispace Portal   software, Version 10.1,as per Agatson method
Approximate study time: 10 – 15 minutes

For FCT
Position:	          Supine                      	
Scanning mode:	Axial with prospective ECG gating
Scan range:            From base of neck through entire lung fields to base of heart
Scan parameters:   120 kV fixed, mAs BMI dependent. 
 BMI < 30 = 120 kVp @ 40 mAs
 BMI 31-34 = 120 kVp @ 50 mAs
 BMI > 120Kvp @ 60 mAs
Slice thickness        2.5 mm with interval of 1 mm
Reconstructions/ post processing:     
Axial soft tissue widow – Slice thickness – 2.5 mm 
Axial lung window- Slice thickness – 2.5 mm 
Calcium scoring performed using Philips Intellispace Portal   software, Version 10.1,as per Agatson method
Sagittal and coronal reconstruction
Approximate study time: 10 – 15 minutes
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