Supplement: Flow cytometry
(1) Label flow cytometry tubes 1, 2 and 3, add 100 μL of blood sample to each tube, then add 20ul of antibody (Tube 1 was added to CD45-PerCP-Cy5.5,CD3-FITC,CD4-APC,CD8-PE.Tube 2 was added to CD16+56-PE,CD45-PerCP-Cy5.5,CD3-FITC,CD19-AP.Tube 3 was added to CD45-PerCP-Cy5.5,CD4-FITC,CD25-APC,CD127-PE) according to the antibody instructions(Table S1), add 100ul of anticoagulated peripheral blood to each tube and incubate for 20-30 minutes at room temperature;
(2) [bookmark: _GoBack]After staining, add 1 mL of erythrocyte lysate to each tube. Vibrate and leave at room temperature for 10 minutes in the dark, and centrifuge at 300g for 5 minutes;
(3) The supernatant was discarded, 1 ml of PBS was added to each tube, washed once, and 50 ul of PBS was added to each tube, and the cell subsets proportion was detected by flow cytometry;
(4) Data analysis with MULTISET software.
Table S1
	Anti-	bodies                          Companies                       Product No.

	CD4+ T cells,CD8+ T cells
 CD45-PerCP-Cy5-5        Beijing Tongsheng Shidai Biotechnology Co.         Z6410002
 CD3-FITC                Beijing Tongsheng Shidai Biotechnology Co.         Z6410002
 CD4-APC                Beijing Tongsheng Shidai Biotechnology Co.         Z6410002
 CD8-PE                 Beijing Tongsheng Shidai Biotechnology Co.         Z6410002
NK cells,B cells
 CD16+56-PE             Beijing Tongsheng Shidai Biotechnology Co.         Z6410010
 CD45-PerCP-Cy5.5        Beijing Tongsheng Shidai Biotechnology Co.         Z6410010
 CD3-FITC                Beijing Tongsheng Shidai Biotechnology Co.         Z6410010
 CD19-APC               Beijing Tongsheng Shidai Biotechnology Co.         Z6410010
Tregs
 CD45-PerCP-Cy5.5        Beijing Tongsheng Shidai Biotechnology Co.         Z6410010
 CD4-FITC                Beijing Tongsheng Shidai Biotechnology Co.         Z6410005
 CD25-APC              Beijing Tongsheng Shidai Biotechnology Co.        Z6410045-100T
 CD127-PE               Beijing Tongsheng Shidai Biotechnology Co.        Z6410046-100T




