[bookmark: _GoBack]Figure S1. Airway pressure, flow, and volume waveforms during pressure controlled ventilation (PCV), illustrating the characteristics of pressure-controlled breathing. With a period of exponential decay flow, the end-inspiration airway pressure is maintained as the plateau (EIP). Tidal volume (VT) is determined by the difference between EIP and PEEP and respiratory system compliance.
