Supplementary Table 1. Acceptability and repeatability criteria for maneuvers

Criterion

A maneuver is considered acceptable if

It is free from artefacts:

Cough during the first second of exhalation

Glottis closure that influences the measurement

Early termination or cut-off

Effort that is not maximal throughout

Leak

Obstructed mouthpiece

It has good starts:

Extrapolated volume < 5% of FVC or 0.15 L, whichever is greater

It shows satisfactory exhalation:

Duration of ≥ 6s (3s for children) or plateau in the volume-time curve or If the subject cannot or should not continue to exhale

Maneuvers are considered repeatable if

The two largest values of FVC are within 0.150 L of each other

The two largest values of FEV1 are within 0.150 L of each other

FVC: forced vital capacity; FEV1: forced expiratory volume in one second. Adapted from Miller et al (1).

References:

1.	Miller MR, Hankinson J, Brusasco V, Burgos F, Casaburi R, Coates A, et al. Standardisation of spirometry. Eur Respir J. 2005;26(2):319-38.