Supplementary Table 1. Acceptability and repeatability criteria for maneuvers
	Criterion

	A maneuver is considered acceptable if

	  It is free from artefacts:

	    Cough during the first second of exhalation

	    Glottis closure that influences the measurement

	    Early termination or cut-off

	    Effort that is not maximal throughout

	    Leak

	    Obstructed mouthpiece

	  It has good starts:

	    Extrapolated volume < 5% of FVC or 0.15 L, whichever is greater

	  It shows satisfactory exhalation:

	Duration of ≥ 6s (3s for children) or plateau in the volume-time curve or
  If the subject cannot or should not continue to exhale

	Maneuvers are considered repeatable if

	  The two largest values of FVC are within 0.150 L of each other

	  The two largest values of FEV1 are within 0.150 L of each other


FVC: forced vital capacity; FEV1: forced expiratory volume in one second. Adapted from Miller et al (1).
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