Correcting horizontal distortions of cups on lateral EOS films

Suppose the semi-minor axis of a horizontally scaled ellipse, COE2, is m, semimajor axis being n and the inclination of semimajor axis being β. Its corresponding ellipse before horizontal scaling, COE, has a semi-minor axis, a, a semimajor axis, b, and inclination of semi-major axis, α. (Supplementary figure 1)

m, n and β determine COE2 and can be measured on lateral EOS images by using a validated software, Surgimap (Nemaris Inc., New York, NY, US). To obtain COE is to scale the COE2 by a reverse scaling factor,k-1. k can be derived from the horizontal axis, m0 and the vertical axis, n0 of the ellipse where the whole cup image lies. m0 and n0 can be measured on lateral EOS images. We get

k=m0n0#(1-1)

And the reverse scaling matrix is written as

1k001#(1-2)

Plug the reverse scaling matrix into COE2 and then we get the equation of COE

xkcosβ+ysinβm2+-xksinβ+ycosβn2=1#(1-3)

which can be written in the general form. Thus, the quadratic term coefficients a11', a12' and a22' can be derived. Plug the quadratic term coefficients into the following rotation formula of quadratic curves,

2a22'-a11'sinαcosα+2a12'cos2α-sin2α=0#(1-4)

Solve the equation, again with MATLAB, and we get α. α is the operative anteversion before correction of pelvic obliquity and pelvic rotation, which is denoted by OAi.

OAi=α#1-5

Let A be the matrix of quadratic terms of equation (1-4).

A=a11'a12'a12'a22'#1-6

Calculate the two eigenvalues of A, λ1 and λ2 in which λ1<λ2. The ratio of the semi-minor axis to the semi-major axis of COE is thus λ1λ2. Adapting Lewinnek’s method[1] to lateral EOS images, we have the operative inclination OIi.

OIi=sin-1λ1λ2#1-7

Converting to radiographic definitions

Radiographic anteversion (RA) and radiographic inclination (RI) can be easily derived with trigonometry equations proposed by Murray[2],

sinRA=sinOAcosOI#1-8

tanRI=tanOIcosOA#1-9

The above calculations are carried out in MATLAB (MathWorks Inc., Natick, Massachusetts), US.

Reference

1.	Lewinnek G, Lewis J, Tarr R, Compere C, Zimmerman J: Dislocations after total hip-replacement arthroplasties. J Bone Joint Surg Am 1978:217-220.

2.	Murray DW: The definition and measurement of acetabular orientation. J Bone Joint Surg Br 1993, 75(2):228-232.

Figure

Supplementary figure 1. Schematic diagrams and authentic lateral EOS images showing horizontal scaling of cup images and the correction strategies. (a) Lateral EOS images of the cup and its opening surface are either contracted or stretched horizontally, but almost remain the same in the vertical direction. This results in increased or decreased OA and OI, respectively. The correction strategy is to obtain the scaling factor and measure the horizontally scaled cups, and then construct an unscaled ellipse which depicts the images of the cup and its opening surface before horizontal scaling. (b) A lateral EOS image with a horizontally contracted cup. (c) A lateral EOS image with a horizontally stretched cup.