Supplementary

Appendix A. MRI Protocol Parameters and Preprocession

Since sagittal intermediate-weighted three-dimensional dual-echo in steady-state (3D DESS) with fat-suppressed can more clearly display the structures around the knee joint, especially cartilage, this sequence was selected for segmentation and further analysis of the regions of interest in this study. Futher sequence parameters are as follows: acquisition time, 10.6 minutes; repetition time (TR), 16.3msec; echo time (TE), 4.7msec; bandwidth (BW), 183Hz; field of view (FOV), 140mm; matrix, 307×384; layer thickness, 0.7mm; layer number, 160; turning Angle (FA), 25°;   excitation times, 1; echo chain length, 1. In order to reduce the difference of image signal intensity, using Radiomics Intelligent Analysis Software (RIAS, https://github.com/lisherlock/RMIT) to standardize MRI image.

Appendix B. Hyperparameter Selection and Rationale

The hyperparameters for our nnUNet model were determined through nnUNet's automated configuration system, which systematically adapts parameters based on dataset characteristics and established medical segmentation best practices.

Key Parameters: Patch size (80×160×160): Automatically determined based on our dataset's median image dimensions and GPU memory constraints to ensure optimal anatomical coverage. Batch size (2): Set according to memory limitations while maintaining training stability. Learning rate (0.01) with SGD optimizer (momentum=0.99, weight decay=3×10⁻⁵): Selected based on nnUNet's empirically validated defaults for medical image segmentation. Data augmentation: Conservative rotation (±30°), scaling (0.7-1.4), and gamma correction (0.7-1.5) to preserve anatomical plausibility while increasing data diversity.

Appendix C. VOIs segmentation details and workflows

Cartilage: Three three-dimensional volumes of interest (VOIs) from the cartilage regions of femur, tibia and patella, based on 3D DESS MRI images, were semi-automatically segmented. Firstly, about 1/3 of the data (150 cases) were randomly selected and manually sketched along the outline of the cartilage layer by layer using ITK-SNAP (version 3.8.0,www.itksnap.org) by two junior radiologists with 5 and 7 years of musculoskeletal diagnostic experience respectively, blinded to subject clinical information and image evaluation. Senior radiologists (10 and 15 years' musculoskeletal diagnostic experience) independently reviewed annotations to establish gold-standard labels. Then, the remaining data were processed using an nnU-Net framework trained on gold-standard data. Finally, the senior radiologists reviewed and confirmed the segmentation results again.

Subchondral bone: Subchondral bone was defined as cortical bone within 1 cm beneath the cartilage interface. First, the area of the cartilage at each level in the sagittal plane is calculated and ranked to determine the maximum (Xmax) and minimum (Xmin) values. Then, a linear transformation is applied to the cartilage area to obtain the corresponding subchondral bone width. Subchondral bone width of the layer between maximum and minimum area was calculated using L=10* (X /(Xmax-Xmin)), ensuring that the width in this region is between 1 mm and 10 mm. Finally, based on the X values, binary image corrosion expansion and multi-label constraint algorithm were applied to expand only the medial part of the cartilage to the corresponding width and intersect it with the joint bone to obtain the subchondral bone label. The subchondral bone labels corresponding to the three cartilage regions are obtained using the above method, and then re-checked and confirmed by senior radiologists.

Appendix D. Details of Extracted Radiomics Features

A total of 1427 radiomic features were extracted from each VOI by pyradiomics (V3.0.1), including first-order statistics (n = 19), high-order statistics (n = 75), shape-based features (n = 17), and filter-based features (n =1316).

1. First-order statistics (N=19)

- Interquartile Range

- Skewness

- Uniformity

- Median

- Energy

- Robust Mean Absolute Deviation

- Mean Absolute Deviation

- Total Energy

- Maximum

- Root Mean Squared

- 90Percentile

- Minimum

- Entropy

- Range

- Variance

- 10Percentile

- Kurtosis

- Mean

- StandardDeviation

2. High-order features

(1) Gray Level Cooccurrence Matrix (GLCM) (N=24)

- Joint Average

- Joint Entropy

- Cluster Shade

- Maximum Probability

- Idmn

- Joint Energy

- Contrast

- Difference Entropy

- Inverse Variance

- Difference Variance

- Idn

- Idm

- MCC

- Correlation

- Autocorrelation

- Sum Entropy

- Sum Squares

- SumAverage

- Cluster Prominence

- Imc2

- Imc1

- Difference Average

- Id

- Cluster Tendency

(2) Gray Level Size Zone Matrix (GLSZM) (N=16)

- GrayLevelVariance

- ZoneVariance

- GrayLevelNonUniformityNormalized

- SizeZoneNonUniformityNormalized

- SizeZoneNonUniformity

- GrayLevelNonUniformity

- LargeAreaEmphasis

- SmallAreaHighGrayLevelEmphasis

- ZonePercentage

- LargeAreaLowGrayLevelEmphasis

- LargeAreaHighGrayLevelEmphasis

- HighGrayLevelZoneEmphasis

- SmallAreaEmphasis

- LowGrayLevelZoneEmphasis

- ZoneEntropy

- SmallAreaLowGrayLevelEmphasis

(3) Gray Level Run Length Matrix (GLRLM) (N=16)

- ShortRunLowGrayLevelEmphasis

- GrayLevelVariance

- LowGrayLevelRunEmphasis

- GrayLevelNonUniformityNormalized

- RunVariance

- GrayLevelNonUniformity

- LongRunEmphasis

- ShortRunHighGrayLevelEmphasis

- RunLengthNonUniformity

- ShortRunEmphasis

- LongRunHighGrayLevelEmphasis

- RunPercentage

- LongRunLowGrayLevelEmphasis

- RunEntropy

- HighGrayLevelRunEmphasis

- RunLengthNonUniformityNormalized

(4) Neighboring Gray Tone Difference Matrix (NGTDM) (N=5)

- Coarseness

- Complexity

- Strength

- Contrast

- Busyness

(5) Gray Level Dependence Matrix (GLDM) (N=14)

- Gray Level Variance

- High Gray Level Emphasis

- Dependence Entropy

- Dependence Non-Uniformity

- Gray Level Non-Uniformity

- Small Dependence Emphasis

- Small Dependence High Gray Level Emphasis

- Dependence Non-Uniformity Normalized

- Large Dependence Emphasis

- Large Dependence Low Gray Level Emphasis

- Dependence Variance

- Large Dependence High Gray Level Emphasis

- Small Dependence Low Gray Level Emphasis

- Low Gray Level Emphasis

3. Shape-based features (N=17)

- Spherical Disproportion

- Compactness2

- Maximum 2D Diameter Slice

- Sphericity

- Minor Axis Length

- Compactness1

- Elongation

- Surface Volume Ratio

- Mesh Volume

- VoxelVolume

- Maximum 3D Diameter

- Major Axis Length

- Surface Area

- Flatness

- Least Axis Length

- Maximum 2D Diameter Column

- Maximum 2D Diameter Row

3. Filter-based features (N=1316)

(1) Laplacian of Gaussian (LoG) (94*2)

- Log-sigma-1.0-mm-3D

- Log-sigma-3.0-mm-3D

(2) Wavelet (94*8)

- Wavelet -HLL

- Wavelet -LHL

- Wavelet -LHH

- Wavelet -LLH

- Wavelet -HLH

- Wavelet -HHL

- Wavelet -LLL

- Wavelet -HHH

(3) Square (94*1)

(4) Square Root (94*1)

(5) Logarithm (94*1)

(6) Exponential (94*1)

Appendix E. Stability evaluation of radiomics features

Inter-observer and Intra-observer correlation coefficient (ICCs) were calculated to evaluate the stability of the radiomics features. Eighty subjects were randomly selected to evaluate reliability. Two radiologists (A: 7 years of diagnosis experience of the musculoskeletal system; B: 15 years of diagnosis experience of the musculoskeletal system) segment ROI of 80 randomly selected images under blind method to calculate the interclass correlation coefficient between observers. Radiologist A divided the same data again after one month and calculated the intraclass correlation coefficient. ICC ≥ 0.75 is considered to have good consistency of the radiomics features, with good reproducibility and repeatability. For model predicting KOA onset, 3925 and 3795 features were retained from 4281 features of cartilage and subchondral bone after ICC, respectively. Similarly, after ICC, for models predicting KOA progression, 3958 and 3688 were retained from cartilage and subchondral bone, respectively.

Appendix F. Radiomics features selection

In this study, Students T test, Least Absolute Shrinkage and Selection Operator (LASSO)  and Principal Component Analysis (PCA) were used for feature selection and contraction.

LASSO focuses on reducing the variable set. By introducing L1 regularization (i.e. LASSO penalty function), the variable coefficients are compressed to make the regression coefficients of some unimportant variables become 0, so as to achieve feature selection and model sparsity. We select the optimal α value by 10-fold cross-validation of the penalty coefficient (α value). For the model predicting the onset of KOA, 167 and 72 radiomic features from cartilage and subchondral bone VOIs were further screened by using the students t-test and LASSO algorithm after ICC, respectively. For the model predicting the progression of KOA, after pre-dimensionality reduction by student t-test, 66 and 145 radiomic features from cartilage and subchondral bone VOIs were obtained respectively. After further screening by LASSO, 28 and 26 radiomic features were retained, respectively.

However, the core of PCA is to transform a set of possibly linearly correlated variables into a new set of linearly uncorrelated variables by orthogonal transformation, so that the data has the maximum variance in the new coordinate system. The key features of data are retained by retaining the most important variance to achieve data dimensionality reduction. In order to preserve the most relevant features and prevent overfitting, 74 and 38 radiological features were retained by PCA cartilage and subchondral bone VOIs in the model predicting KOA onset, respectively.

Appendix G. Clinical selection

Propensity score matching (PSM) was used in the first-stage model to minimize the influence of clinical factors, so no meaningful clinical features for disease occurrence were screened after PSM. However, in the second-stage model, only contralateral knee status was significant for KOA progression after screening. Meanwhile, we also established LR clinical model, and results showed that the AUC of the clinical model was  0.575 (95%CI : 0.390-0.760) in the testing cohort (Figure S3), with sensitivity of 0.417 (95%CI:0.165-0.714) and specificity of 0.676 (95%CI:0.494-0.820). Moreover, we also found that the combined clinical and radiomics features of the model (AUC:0.718, 95%CI:0.537-0.900) did not perform well as the radiomics features of the model only (AUC:0.738, 95%CI:0.565-0.911). This suggests that imaging features may provide more potential information about disease progression than clinical variables.

| Table SⅠ Summary of characteristic in training and testing cohorts for predicting KOA onset |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Characteristic | Training cohort |  |  | Testing cohort |  |  | p’ value |
|  | KOA （n=106） | Control （n=212） | P value | KOA （n=46） | Control （n=92） | P value |  |
| Female, no.(%) | 75（70.8%） | 157（74.1%） | 0.532 | 26（56.5%） | 66（71.7%） | 0.433 | 0.459 |
| Age（years,mean±SD） | 62.08±8.25 | 62.51±9.45 | 0.630 | 58.46±7.63 | 62.36±9.92 | 0.027* | 0.176 |
| BMI（kg/m²,mean±SD） | 28.48±4.38 | 28.35±4.89 | 0.699 | 29.20±5.43 | 28.51±4.86 | 0.487 | 0.466 |
| Race, no.(%) |  |  | 0.184 |  |  | 0.118 | 0.332 |
| Other Non-white | 1 （0.9%） | 5 （2.4%） |  | 1 （0.7%） | 5 （1.6%） |  |  |
| White or Caucasian | 84（79.2%） | 166（78.3%） |  | 41（89.1%） | 70（76.1%） |  |  |
| Black or African American | 19（17.9%） | 41（19.3%） |  | 4 （8.7%） | 21（22.8%） |  |  |
| Asian | 2 （1.9%） | 0 （0%） |  | 1 （2.2%） | 1 （1.1%） |  |  |
| L-KL, no.(%) |  |  | 0.085 |  |  | 0.786 | 0.243 |
| 0 | 33（31.1%） | 85（40.1%） |  | 14（30.4%） | 35（38.0%） |  |  |
| 1 | 16（15.1%） | 39（18.4%） |  | 11（23.9%） | 21（22.8%） |  |  |
| 2 | 40（37.7%） | 48（22.6%） |  | 14（30.4%） | 28（30.4%） |  |  |
| 3 | 13（12.3%） | 32（15.1%） |  | 6 （13.0%） | 7 （7.6%） |  |  |
| 4 | 4 （3.8%） | 8 （3.8%） |  | 1 （2.2%） | 1 （1.1%） |  |  |
| Knee injury, no.(%) | 34（32.1%） | 74（34.9%） | 0.615 | 16（34.8%） | 29（31.5%） | 0.700 | 0.779 |
| Knee alignment, no.(%) |  |  | 0.568 |  |  | 0.149 | 0.656 |
| Normal | 30（28.3%） | 60（28.3%） |  | 10（21.7%） | 33（35.9%） |  |  |
| Varus | 25（23.6%） | 61（28.8%） |  | 10（21.7%） | 22（23.9%） |  |  |
| Valgus | 51（48.1%） | 91（42.9%） |  | 26（56.5%） | 37（40.2%） |  |  |
| WOMAC-total, mean±SD | 10.60±12.85 | 11.01±13.62 | 0.930 | 14.93±15.76 | 11.85±14.36 | 0.262 | 0.271 |
| WOMAC-pain, mean±SD | 1.96±2.68 | 2.24±2.97 | 0.730 | 3.39±3.64 | 2.33±3.13 | 0.114 | 0.122 |

| Table SⅠ (Continued) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Characteristic | Training cohort |  |  | Testing cohort |  |  | p’ value |
|  | KOA （n=106） | Control （n=212） | P value | KOA （n=46） | Control （n=92） | P value |  |
| WOMAC-stiffness, mean±SD | 1.75±1.41 | 1.56±1.56 | 0.150 | 1.85±1.58 | 1.43±1.30 | 0.180 | 0.911 |
| WOMAC-disability, mean±SD | 6.95±9.59 | 7.26±9.94 | 0.810 | 9.69±11.13 | 8.20±10.67 | 0.474 | 0.335 |

Note.Quantitative data satisfy the normal distribution were expressed as mean ± standard deviation. Qualitative data is expressed as a composition ratio (%); p’ means the difference analysis between the training and testing cohorts, * statistically significant(p<0.05).

| Table SⅡ Summary of characteristic in training cohort and testing cohorts for predicting KOA progression |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Characteristic |  |  | Training cohort |  |  |  |  |  |  |  | Testing cohort |  |  |  |  |  |  |  | p’ value |  |  |  |
|  |  |  | early progression（n=62） |  |  | late progression（n=44） |  | P value |  |  | early progression（n=34） |  |  | late progression（n=12） |  |  | P value |  |  |  |  |  |
| Female, no.(%) |  |  | 41（66.1%） |  |  | 30（68.2%） |  | 0.825 |  |  | 25（73.5%） |  |  | 9 （75.0%） |  |  | 0.921 |  | 0.909 |  |  |  |
| Age（years,mean±SD） |  |  | 60.32±7.67 |  |  | 59.55±8.88 |  | 0.517 |  |  | 63.12±8.29 |  |  | 63.58±7.28 |  |  | 0.802 |  | 0.176 |  |  |  |
| BMI（kg/m²,mean±SD） |  | 29.76±4.67 |  | 27.91±4.96 |  |  | 0.030* |  |  |  |  | 28.81±4.63 | 25.84±2.76 |  |  | 0.072 |  | 0.008* |  |  |
| Race, no.(%) |  |  |  |  |  |  |  | 0.314 |  |  |  |  |  |  |  |  | 0.233 |  | 0.159 |  |  |  |
| Other Non-white |  |  | 1 （1.6%） |  |  | 0 （0%） |  |  |  |  | 0 （0%） |  |  | 0 （0%） |  |  |  |  |  |  |  |  |
| White or Caucasian |  |  | 47（75.8%） |  |  | 39（88.6%） |  |  |  |  | 27（79.4%） |  |  | 12（100%） |  |  |  |  |  |  |  |  |
| Black or African American |  |  | 13（21.0%） |  |  | 4 （9.1%） |  |  |  |  | 6（17.6%） |  |  | 0 （0%） |  |  |  |  |  |  |  |  |
| Asian |  |  | 1 （1.6%） |  |  | 1 （2.3%） |  |  |  |  | 1 （2.9%） |  |  | 0 （0%） |  |  |  |  |  |  |  |  |
| L-KL, no.(%) |  |  |  |  |  |  |  | 0.069 |  |  |  |  |  |  |  |  | 0.407 |  | 0.070 |  |  |  |
| 0 |  |  | 16（25.8%） |  |  | 21（47.7%） |  |  |  |  | 7（20.6%） |  |  | 3 （25.0%） |  |  |  |  |  |  |  |  |
| 1 |  |  | 12（19.4%） |  |  | 11（25.0%） |  |  |  |  | 4（11.8%） |  |  | 0 （0%） |  |  |  |  |  |  |  |  |
| 2 |  |  | 23（37.1%） |  |  | 7（15.9%） |  |  |  |  | 18（52.9%） |  |  | 6 （50.0%） |  |  |  |  |  |  |  |  |
| 3 |  |  | 9 （14.5%） |  |  | 4 （9.1%） |  |  |  |  | 3 （8.8%） |  |  | 3 （25.0%） |  |  |  |  |  |  |  |  |
| 4 |  |  | 2 （3.2%） |  |  | 1 （2.3%） |  |  |  |  | 2 （5.9%） |  |  | 0 （0%） |  |  |  |  |  |  |  |  |
| Knee injury, no.(%) |  |  | 20（32.3%） |  |  | 16（36.4%） |  | 0.660 |  |  | 10（29.4%） |  |  | 4 （33.3%） |  |  | 0.800 |  | 0.572 |  |  |  |
| Knee alignment, no.(%) |  |  |  |  |  |  |  | 0.707 |  |  |  |  |  |  |  |  | 0.365 |  | 0.871 |  |  |  |
| Normal |  |  | 19（30.6%） |  |  | 12（27.3%） |  |  |  |  | 5（14.7%） |  |  | 4 （33.3%） |  |  |  |  |  |  |  |  |
| Varus |  |  | 17（27.4%） |  |  | 10（22.7%） |  |  |  |  | 6（17.6%） |  |  | 2 （16.7%） |  |  |  |  |  |  |  |  |
| Valgus |  |  | 26（41.9%） |  |  | 22（50.0%） |  |  |  |  | 23（67.6%） |  |  | 6 （50.0%） |  |  |  |  |  |  |  |  |
| WOMAC-total, mean±SD | 13.11±13.05 |  |  |  | 10.72±14.50 |  |  |  | 0.100 | 12.19±14.65 |  |  |  |  | 9.28±14.65 |  | 0.364 |  |  | 0.078 |  |
| WOMAC-pain, mean±SD |  |  | 2.48±2.83 |  |  | 2.32±3.15 |  | 0.377 |  |  | 2.50±3.52 |  |  | 1.92±2.84 |  |  | 0.774 |  | 0.390 |  |  |  |

| Table SⅡ (Continued) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Characteristic | Training cohort |  |  | Testing cohort |  |  | p’ value |
|  | early progression（n=62） | late progression（n=44） | P value | early progression（n=34） | late progression（n=12） | P value |  |
| WOMAC-stiffness, mean±SD | 1.87±1.42 | 1.73±1.42 | 0.586 | 1.94±1.65 | 1.00±1.04 | 0.084 | 0.201 |
| WOMAC-disability, mean±SD | 8.77±9.71 | 6.81±10.58 | 0.042* | 7.74±10.16 | 6.36±11.15 | 0.366 | 0.041* |

Note.Quantitative data satisfy the normal distribution were expressed as mean ± standard deviation. Qualitative data is expressed as a composition ratio (%); p’ means the difference analysis between the training and testing cohorts, *statistically significant(p<0.05).

B

A

B

A

B

B

A

A

Figure S1 LASSO logistic regression correlation graphs based on combined cartilage and subchondral bone radiomics feature selection for predicting KOA onset(A) and progression(B).

The right plot is 10-fold cross-validation curve for Lasso regression. The horizontal coordinate is the logarithm of the penalty coefficient α, which is -log(α), and the vertical coordinate is the mean square error. The colored thin line represents the curve of each fold cross-validation, and the black solid line represents the mean curve of Lasso10 fold cross-validation. The vertical dashed line represents the optimal α value corresponding to the minimum mean square error, which is α=0.0033(A), 0.0170(B), respectively. The left plot is regression coefficient path map. The horizontal coordinate is -log(α) and the vertical coordinate is the value of the coefficient. Each curve represents the change trajectory of each independent variable coefficient. The vertical dashed lines represent the features whose coefficients are non-zero at the optimal α value.

A

B

A

B

B

B

Figure S2  The SHAP figures of the cartilage(right) and subchondral bone(left) in testing cohorts for predicting KOA onset(A) and progression(B), respectively.

A

B

A

B

A

A

B

B

Figure S3  The ROC curves of clinical model (A) and combined clinical and radiomics(B) in the cross-validation(right)  and testing cohort(left).

| Table SⅢ Features and coefficients of cartilage extracted of LR model |  |
| --- | --- |
| Feature name | Coefficent |
| PCA_feature0 | 0.7080 |
| PCA_feature1 | 0.6233 |
| PCA_feature2 | 0.1426 |
| PCA_feature3 | -0.1731 |
| PCA_feature4 | -0.4026 |
| PCA_feature5 | -0.4314 |
| PCA_feature6 | -0.7141 |
| PCA_feature7 | -1.2231 |
| PCA_feature8 | 0.6258 |
| PCA_feature9 | -0.2797 |
| PCA_feature10 | -0.2762 |
| PCA_feature11 | 0.2203 |
| PCA_feature12 | -0.0220 |
| PCA_feature13 | 1.0522 |
| PCA_feature14 | 0.9291 |
| PCA_feature15 | -0.2517 |
| PCA_feature16 | 0.0756 |
| PCA_feature17 | -0.2420 |
| PCA_feature18 | -0.2111 |
| PCA_feature19 | 0.3702 |
| PCA_feature20 | -0.3588 |
| PCA_feature21 | -0.2708 |
| PCA_feature22 | -0.3018 |
| PCA_feature23 | -0.2488 |
| PCA_feature24 | 0.1605 |
| PCA_feature25 | -0.1137 |
| PCA_feature26 | 0.0114 |
| PCA_feature27 | -0.2969 |
| PCA_feature28 | -0.3389 |
| PCA_feature29 | 0.9718 |
| PCA_feature30 | -0.2044 |
| PCA_feature31 | -0.1834 |
| PCA_feature32 | 0.1986 |
| PCA_feature33 | -0.4035 |
| PCA_feature34 | 0.4437 |
| PCA_feature35 | 0.0434 |
| PCA_feature36 | -0.0382 |
| PCA_feature37 | -0.0037 |
| PCA_feature38 | 0.1611 |
| PCA_feature39 | -0.0608 |
| PCA_feature40 | 0.5485 |
| PCA_feature41 | -0.4468 |
| PCA_feature42 | -0.6464 |
| PCA_feature43 | -0.2220 |
| PCA_feature44 | -0.3683 |
| PCA_feature45 | 0.2916 |

| Table SⅢ (Continued) |  |  |
| --- | --- | --- |
| Feature name | Coefficent |  |
| PCA_feature46 | 0.0328 |  |
| PCA_feature47 | 0.4827 |  |
| PCA_feature48 | -0.0382 |  |
| PCA_feature49 | 0.2221 |  |
| PCA_feature50 | 0.0631 |  |
| PCA_feature51 | -0.4267 |  |
| PCA_feature52 | -0.2046 |  |
| PCA_feature53 | 0.0489 |  |
| PCA_feature54 | 0.3886 |  |
| PCA_feature55 | 0.0883 |  |
| PCA_feature56 | -0.0486 |  |
| PCA_feature57 | 0.2342 |  |
| PCA_feature58 | -0.0010 |  |
| PCA_feature59 | 0.1218 |  |
| PCA_feature60 | -0.0241 |  |
| PCA_feature61 | -0.1060 |  |
| PCA_feature62 | -0.4694 |  |
| PCA_feature63 | 0.2646 |  |
| PCA_feature64 | -0.1520 |  |
| PCA_feature65 | -0.1818 |  |
| PCA_feature66 | -0.4236 |  |
| PCA_feature67 | 0.2004 |  |
| PCA_feature68 | 0.3683 |  |
| PCA_feature69 | 0.3408 |  |
| PCA_feature70 | -0.5264 |  |
| PCA_feature71 | -0.0821 |  |
| PCA_feature72 | -0.6508 |  |
| PCA_feature73 | 0.1660 |  |

| Table SⅣ Principal Component loadings |  |  |  |
| --- | --- | --- | --- |
| Original Feature | Loading Value |  |  |
|  | PCA_feature0 | PCA_feature1 | PCA_feature7 |
| wavelet-LLL_firstorder_Minimum_BR | -0.1479 | -0.0716 | -0.0161 |
| original_glszm_GrayLevelNonUniformity_JR | 0.1478 | -0.0333 | -0.0110 |
| squareroot_glszm_GrayLevelNonUniformity_JR | 0.1476 | -0.0333 | -0.0109 |
| original_firstorder_Median_BR | -0.1459 | 0.0226 | -0.1530 |
| wavelet-LLL_firstorder_Median_BR | -0.1448 | 0.0196 | -0.1581 |
| wavelet-LLL_glrlm_GrayLevelVariance_BR | 0.1448 | 0.0785 | 0.0671 |
| squareroot_glcm_Imc1_BR | -0.1429 | -0.0692 | 0.0223 |
| original_glcm_Imc1_BR | -0.1428 | -0.0693 | 0.0222 |
| wavelet-LLL_firstorder_Minimum_JR | -0.1363 | -0.0620 | 0.1382 |
| wavelet-LHL_glrlm_RunVariance_GR | -0.1360 | -0.0040 | -0.0727 |

Note. This table shows the loadings of the top 10 original features in the PCA for the first three principal components, reflecting the contribution of each feature to different principal components. GR, BR and JR: the abbreviations for features extracted from the cartilage of the femur, patella, and tibia, respectively.

Table SⅤ Features and coefficients of subchondral bone extracted of LR model

| Feature name | Coefficent |
| --- | --- |
| PCA_feature0 | 1.2627 |
| PCA_feature1 | 1.1396 |
| PCA_feature2 | -0.0595 |
| PCA_feature3 | 0.4285 |
| PCA_feature4 | 0.0397 |
| PCA_feature5 | 1.3093 |
| PCA_feature6 | 0.2281 |
| PCA_feature7 | 0.7973 |
| PCA_feature8 | 0.1242 |
| PCA_feature9 | -1.4299 |
| PCA_feature10 | -0.6578 |
| PCA_feature11 | -0.3994 |
| PCA_feature12 | -0.0326 |
| PCA_feature13 | 0.4864 |
| PCA_feature14 | -0.1812 |
| PCA_feature15 | -0.2579 |
| PCA_feature16 | 0.4235 |
| PCA_feature17 | 0.4284 |
| PCA_feature18 | 0.3834 |
| PCA_feature19 | 0.3776 |
| PCA_feature20 | -0.0994 |
| PCA_feature21 | -0.1884 |
| PCA_feature22 | 0.0091 |
| PCA_feature23 | -0.8806 |
| PCA_feature24 | -0.3275 |
| PCA_feature25 | 0.0134 |
| PCA_feature26 | 0.5337 |
| PCA_feature27 | 0.4008 |
| PCA_feature28 | 0.1730 |
| PCA_feature29 | -0.3966 |
| PCA_feature30 | 0.5654 |
| PCA_feature31 | 0.2867 |
| PCA_feature32 | -0.5896 |
| PCA_feature33 | -0.2149 |
| PCA_feature34 | -0.1052 |
| PCA_feature35 | -0.2469 |
| PCA_feature36 | 0.7459 |
| PCA_feature37 | 0.7188 |

| Table SⅥ Principal Component loadings |  |  |  |
| --- | --- | --- | --- |
| Original Feature | Loading Value |  |  |
|  | PCA0 | PCA1 | PCA6 |
| exponential_glrlm_ShortRunHighGrayLevelEmphasis_GRX | 0.2468 | 0.0652 | -0.0309 |
| square_glrlm_ShortRunLowGrayLevelEmphasis_JRX | 0.2428 | 0.0225 | -0.0047 |
| wavelet-LHH_glszm_ZonePercentage_GRX | 0.1733 | 0.0212 | 0.0318 |
| wavelet-HHL_glszm_ZonePercentage_JRX | 0.1705 | -0.0019 | 0.1599 |
| Wavelet-HLL_glszm_GrayLevelNonUniformityNormalized_JRX | -0.1506 | -0.0447 | -0.0431 |
| wavelet-HLL_glszm_GrayLevelVariance_JRX | 0.1505 | 0.0447 | 0.0430 |
| wavelet-HHL_glrlm_RunVariance_JRX | -0.1387 | 0.1588 | 0.0077 |
| wavelet-HLL_gldm_DependenceNonUniformityNormalized_JRX | -0.1276 | 0.0578 | -0.1279 |
| wavelet-LLH_glszm_LargeAreaHighGrayLevelEmphasis_GRX | -0.1225 | 0.2117 | 0.0191 |
| wavelet-LHL_glszm_SizeZoneNonUniformity_GRX | -0.1069 | -0.0279 | 0.1295 |

Note. This table shows the loadings of the top 10 original features in the PCA for the first three principal components, reflecting the contribution of each feature to different principal components. GRX, BRX and JRX: the abbreviations for features extracted from the subchondral bone of the femur, patella, and tibia, respectively.

| Table SⅦ Features and coefficients of combined cartilage and subchondral bone extracted of LR model |  |
| --- | --- |
| Feature name | Coefficent |
| PCA_feature0 | 1.0218 |
| PCA_feature1 | 0.0969 |
| PCA_feature2 | 0.6766 |
| PCA_feature3 | 0.1700 |
| PCA_feature4 | 0.0220 |
| PCA_feature5 | 0.1872 |
| PCA_feature6 | 0.3096 |
| PCA_feature7 | -0.0945 |
| PCA_feature8 | -0.5046 |
| PCA_feature9 | -0.1277 |
| PCA_feature10 | -0.4030 |
| PCA_feature11 | -0.3812 |
| PCA_feature12 | 0.3930 |
| PCA_feature13 | -0.4239 |
| PCA_feature14 | -0.4253 |
| PCA_feature15 | -0.1785 |
| PCA_feature16 | 0.4761 |
| PCA_feature17 | -0.5521 |
| PCA_feature18 | -0.3016 |
| PCA_feature19 | 0.4208 |
| PCA_feature20 | -0.1839 |
| PCA_feature21 | 0.0508 |
| PCA_feature22 | -0.2546 |
| PCA_feature23 | 0.3084 |
| PCA_feature24 | -0.1698 |
| PCA_feature25 | -0.0698 |
| PCA_feature26 | -0.2540 |
| PCA_feature27 | 0.7497 |
| PCA_feature28 | -0.1318 |
| PCA_feature29 | -0.0060 |
| PCA_feature30 | 0.4066 |
| PCA_feature31 | 0.3823 |
| PCA_feature32 | 0.1744 |
| PCA_feature33 | 0.1628 |
| PCA_feature34 | 0.0417 |
| PCA_feature35 | 0.0409 |
| PCA_feature36 | 0.0897 |
| PCA_feature37 | -0.1122 |
| PCA_feature38 | 0.2140 |
| PCA_feature39 | 0.2807 |
| PCA_feature40 | -0.2454 |
| PCA_feature41 | -0.2182 |
| PCA_feature42 | -0.1353 |
| PCA_feature43 | -0.1426 |
| PCA_feature44 | -0.1824 |
| PCA_feature45 | 0.0855 |
| PCA_feature46 | 0.2374 |

| Table SⅦ (Continued) |  |  |
| --- | --- | --- |
| Feature name | Coefficent |  |
| PCA_feature47 | -0.0436 |  |
| PCA_feature48 | 0.1103 |  |
| PCA_feature49 | 0.4757 |  |
| PCA_feature50 | 0.0080 |  |
| PCA_feature51 | -0.0955 |  |
| PCA_feature52 | 0.3900 |  |
| PCA_feature53 | 0.1863 |  |
| PCA_feature54 | 0.2206 |  |
| PCA_feature55 | -0.1588 |  |
| PCA_feature56 | 0.1153 |  |
| PCA_feature57 | 0.0265 |  |
| PCA_feature58 | -0.1996 |  |
| PCA_feature59 | 0.1199 |  |
| PCA_feature60 | -0.0376 |  |
| PCA_feature61 | 0.2510 |  |
| PCA_feature62 | -0.0905 |  |
| PCA_feature63 | -0.0717 |  |
| PCA_feature64 | -0.0559 |  |
| PCA_feature65 | -0.0413 |  |
| PCA_feature66 | -0.0233 |  |
| PCA_feature67 | -0.3685 |  |
| PCA_feature68 | -0.0093 |  |
| PCA_feature69 | -0.0131 |  |
| PCA_feature70 | -0.1382 |  |
| PCA_feature71 | 0.1695 |  |
| PCA_feature72 | 0.0069 |  |
| PCA_feature73 | -0.0689 |  |
| PCA_feature74 | 0.1527 |  |
| PCA_feature75 | 0.2806 |  |
| PCA_feature76 | 0.0441 |  |
| PCA_feature77 | -0.0142 |  |
| PCA_feature78 | 0.1607 |  |
| PCA_feature79 | 0.0453 |  |
| PCA_feature80 | 0.2704 |  |
| PCA_feature81 | 0.0628 |  |
| PCA_feature82 | -0.0739 |  |
| PCA_feature83 | -0.0320 |  |
| PCA_feature84 | -0.1912 |  |
| PCA_feature85 | 0.2597 |  |
| PCA_feature86 | 0.1078 |  |
| PCA_feature87 | -0.2400 |  |
| PCA_feature88 | 0.0284 |  |
| PCA_feature89 | 0.0994 |  |
| PCA_feature90 | -0.0125 |  |
| PCA_feature91 | 0.0849 |  |
| PCA_feature92 | -0.0967 |  |
| Table SⅦ (Continued) |  |  |  |
| Feature name |  | Coefficent |  |
| PCA_feature93 |  | 0.0777 |  |
| PCA_feature94 |  | -0.2189 |  |
| PCA_feature95 |  | 0.1221 |  |
| PCA_feature96 |  | -0.0645 |  |
| PCA_feature97 |  | 0.0575 |  |
| PCA_feature98 |  | -0.0532 |  |
| PCA_feature99 |  | 0.0910 |  |
| PCA_feature100 |  | -0.1212 |  |
| PCA_feature101 |  | -0.0424 |  |

| Table SⅧ Principal Component loadings |  |  |  |
| --- | --- | --- | --- |
| Original Feature | Loading Value |  |  |
|  | PCA0 | PCA2 | PCA13 |
| square_glrlm_ShortRunLowGrayLevelEmphasis_GRX | 0.1505 | 0.0447 | 0.0285 |
| square_glrlm_ShortRunLowGrayLevelEmphasis_JRX | 0.1495 | 0.0512 | 0.0324 |
| squareroot_glcm_Imc1_BR | -0.1412 | -0.0648 | 0.0417 |
| original_glcm_Imc1_BR | -0.1411 | -0.0647 | 0.0416 |
| wavelet-LLL_glrlm_GrayLevelVariance_BR | 0.1403 | 0.0483 | 0.0055 |
| Wavelet-LLL_glrlm_GrayLevelNonUniformityNormalized_BR | -0.1402 | -0.0483 | -0.0055 |
| wavelet-LLL_firstorder_Minimum_BR | -0.1322 | -0.0522 | 0.0049 |
| wavelet-LLL_glcm_ClusterProminence_BR | 0.1312 | 0.0513 | 0.0073 |
| wavelet-LLL_glrlm_ShortRunEmphasis_BR | 0.1304 | 0.0889 | 0.0191 |
| wavelet-HLL_glszm_SizeZoneNonUniformity_GRX | -0.1082 | -0.0057 | 0.0725 |

Note. This table shows the loadings of each original feature on the different principal components, reflecting how much each feature contributes to each principal component. GR, BR and JR: the abbreviations for features extracted from the cartilage of the femur, patella, and tibia, respectively. GRX, BRX and JRX: the abbreviations for features extracted from the subchondral bone of the femur, patella, and tibia, respectively.

| Table SⅨ Features and coefficients of cartilage extracted of LR model |  |  |
| --- | --- | --- |
| Feature name | Coefficent |  |  |
| wavelet-LHH_glrlm_RunVariance_GR |  | 0.2880 |  |
| log-sigma-3-0-mm-3D_glcm_Correlation_JR |  | -0.3173 |  |
| wavelet-LLL_glszm_LowGrayLevelZoneEmphasis_JR |  | -0.3473 |  |
| wavelet-LHL_glszm_GrayLevelNonUniformityNormalized_JR |  | -0.0329 |  |
| wavelet-LHL_ngtdm_Complexity_JR |  | 0.3809 |  |
| wavelet-HLH_glcm_Imc2_JR |  | -0.4896 |  |
| log-sigma-1-0-mm-3D_firstorder_Maximum_JR |  | 0.3869 |  |
| wavelet-LLL_glszm_HighGrayLevelZoneEmphasis_JR |  | 0.3473 |  |
| wavelet-LHL_ngtdm_Contrast_JR |  | 0.0694 |  |
| log-sigma-3-0-mm-3D_firstorder_Skewness_JR |  | -0.0648 |  |
| wavelet-LHL_glszm_SmallAreaHighGrayLevelEmphasis_JR |  | -0.3291 |  |
| log-sigma-1-0-mm-3D_glrlm_ShortRunHighGrayLevelEmphasis_JR |  | 0.5318 |  |
| wavelet-LHL_gldm_SmallDependenceHighGrayLevelEmphasis_JR |  | -0.3815 |  |
| log-sigma-3-0-mm-3D_glcm_MCC_JR |  | -0.3197 |  |
| wavelet-LLH_firstorder_Minimum_JR |  | -0.2720 |  |
| log-sigma-3-0-mm-3D_glszm_GrayLevelNonUniformityNormalized_BR |  | 0.0520 |  |
| wavelet-HLL_firstorder_Minimum_BR |  | -0.2472 |  |
| log-sigma-3-0-mm-3D_glcm_MCC_BR |  | 0.0691 |  |
| wavelet-HHL_glcm_MCC_BR |  | -0.0608 |  |
| wavelet-HHH_glszm_LowGrayLevelZoneEmphasis_BR |  | -0.2864 |  |
| wavelet-HLH_glrlm_LowGrayLevelRunEmphasis_BR |  | -0.0270 |  |
| log-sigma-3-0-mm-3D_ngtdm_Coarseness_BR |  | 0.2291 |  |
| log-sigma-1-0-mm-3D_firstorder_Skewness_BR |  | 0.8151 |  |
| log-sigma-3-0-mm-3D_glcm_Correlation_BR |  | 0.0881 |  |
| wavelet-HHH_firstorder_Mean_BR |  | -0.2946 |  |
| wavelet-HHL_firstorder_Kurtosis_BR |  | 0.4205 |  |
| wavelet-HHH_glszm_HighGrayLevelZoneEmphasis_BR |  | 0.2864 |  |
| wavelet-HLH_glrlm_HighGrayLevelRunEmphasis_BR |  | 0.0270 |  |
| wavelet-LHH_glrlm_RunVariance_GR |  | 0.2880 |  |
| log-sigma-3-0-mm-3D_glcm_Correlation_JR |  | -0.3173 |  |
| wavelet-LLL_glszm_LowGrayLevelZoneEmphasis_JR |  | -0.3473 |  |
| wavelet-LHL_glszm_GrayLevelNonUniformityNormalized_JR |  | -0.0329 |  |
| wavelet-LHL_ngtdm_Complexity_JR |  | 0.3809 |  |
| wavelet-HLH_glcm_Imc2_JR |  | -0.4896 |  |
| log-sigma-1-0-mm-3D_firstorder_Maximum_JR |  | 0.3869 |  |
| wavelet-LLL_glszm_HighGrayLevelZoneEmphasis_JR |  | 0.3473 |  |
| wavelet-LHL_ngtdm_Contrast_JR |  | 0.0694 |  |
| log-sigma-3-0-mm-3D_firstorder_Skewness_JR |  | -0.0648 |  |
| wavelet-LHL_glszm_SmallAreaHighGrayLevelEmphasis_JR |  | -0.3291 |  |
| log-sigma-1-0-mm-3D_glrlm_ShortRunHighGrayLevelEmphasis_JR |  | 0.5318 |  |
| wavelet-LHL_gldm_SmallDependenceHighGrayLevelEmphasis_JR |  | -0.3815 |  |
| log-sigma-3-0-mm-3D_glcm_MCC_JR |  | -0.3197 |  |
| wavelet-LLH_firstorder_Minimum_JR |  | -0.2720 |  |
| log-sigma-3-0-mm-3D_glszm_GrayLevelNonUniformityNormalized_BR |  | 0.0520 |  |
| wavelet-HLL_firstorder_Minimum_BR |  | -0.2472 |  |

| Table SⅨ (Continued) |  |  |
| --- | --- | --- |
| Feature name | Coefficent |  |
| log-sigma-3-0-mm-3D_glcm_MCC_BR |  | 0.0691 |
| wavelet-HHL_glcm_MCC_BR |  | -0.0608 |
| wavelet-HHH_glszm_LowGrayLevelZoneEmphasis_BR |  | -0.2864 |
| wavelet-HLH_glrlm_LowGrayLevelRunEmphasis_BR |  | -0.0270 |
| log-sigma-3-0-mm-3D_ngtdm_Coarseness_BR |  | 0.2291 |
| log-sigma-1-0-mm-3D_firstorder_Skewness_BR |  | 0.8151 |
| log-sigma-3-0-mm-3D_glcm_Correlation_BR |  | 0.0881 |
| wavelet-HHH_firstorder_Mean_BR |  | -0.2946 |
| wavelet-HHL_firstorder_Kurtosis_BR |  | 0.4205 |
| wavelet-HHH_glszm_HighGrayLevelZoneEmphasis_BR |  | 0.2864 |
| wavelet-HLH_glrlm_HighGrayLevelRunEmphasis_BR |  | 0.0270 |

Note. wavelet: wavelet transform; LHH, LLL, LHL, HLH, LLH, HLL, HHL, HHH: particular subband after wavelet transform; log: laplacian of gaussian; sigma-3-0-mm, sigma-1-0-mm: standard deviation (σ) and size of the gaussian filter; 3D: three-dimensional; glrlm: gray levelrun length matrix; glcm: gray level cooccurence matrix; glszm: gray levelsize zone matrix; ngtdm: neigbouring gray tonedifference matrix; gldm: gray leveldependence matrix; Imc2: informational measure of correlation2; MCC: maximal correlation coefficient; GR, BR and JR: the abbreviations for features extracted from the cartilage of the femur, patella, and tibia, respectively.

| Table SⅩ Features and coefficients of subchondral bone extracted of LR model |  |  |
| --- | --- | --- |
| Feature name | Coefficent |  |
| exponential_firstorder_90Percentile_GRX |  | 0.5296 |
| wavelet-LHH_firstorder_Range_GRX |  | 0.3877 |
| squareroot_glcm_ClusterShade_GRX |  | 0.1575 |
| wavelet-LLL_firstorder_Minimum_GRX |  | 0.2738 |
| wavelet-HLH_firstorder_Mean_GRX |  | -0.5744 |
| original_glcm_ClusterShade_GRX |  | 0.1575 |
| wavelet-LLH_firstorder_Maximum_GRX |  | 0.0813 |
| original_gldm_SmallDependenceEmphasis_GRX |  | 0.1473 |
| wavelet-HLH_firstorder_Skewness_GRX |  | -0.1888 |
| squareroot_gldm_SmallDependenceEmphasis_GRX |  | 0.1473 |
| wavelet-LHH_ngtdm_Complexity_BRX |  | 0.7774 |
| wavelet-HLL_glszm_SmallAreaHighGrayLevelEmphasis_BRX |  | 0.8567 |
| wavelet-HLH_glszm_SmallAreaEmphasis_BRX |  | 0.2264 |
| wavelet-HLH_glcm_Imc1_BRX |  | 0.2529 |
| wavelet-HLH_glszm_ZoneEntropy_BRX |  | 0.5991 |
| wavelet-LHL_glcm_MaximumProbability_BRX |  | 0.6019 |
| wavelet-HHL_firstorder_Minimum_BRX |  | -0.5785 |
| wavelet-LHL_glcm_MCC_BRX |  | 0.1738 |
| wavelet-HHL_firstorder_Skewness_BRX |  | -0.4105 |
| wavelet-HLH_firstorder_Skewness_BRX |  | -0.3470 |
| wavelet-LHH_firstorder_Kurtosis_BRX |  | -1.1035 |
| log-sigma-3-0-mm-3D_glszm_SizeZoneNonUniformityNormalized_JRX |  | -0.7462 |
| wavelet-HLL_firstorder_Kurtosis_JRX |  | 0.0641 |
| wavelet-LLH_glszm_SizeZoneNonUniformity_JRX |  | 0.3735 |
| wavelet-LLL_firstorder_10Percentile_JRX |  | 0.0897 |
| wavelet-HLH_firstorder_Kurtosis_JRX |  | 0.4496 |

Note. exponential: exponential transform; wavelet: wavelet transform; LHH, LLL, LHL, HLH, LLH, HLL, HHL, HHH: particular subband after wavelet transform; squareroot: square root transform; original:features are calculated directly on the original image without preprocessing or transformation; log: laplacian of gaussian; glcm: gray level cooccurence matrix; gldm: gray leveldependence matrix; ngtdm: neigbouring gray tonedifference matrix; glszm: gray levelsize zone matrix; Imc1: informational measure of correlation1; MCC: maximal correlation coefficient; G GRX, BRX and JRX: the abbreviations for features extracted from the subchondral bone of the femur, patella, and tibia, respectively.

Table SⅪ Features and coefficients of combined cartilage and subchondral bone extracted of LR model

| Feature name | Coefficent |
| --- | --- |
| exponential_firstorder_90Percentile_GRX | 0.3308 |
| squareroot_glszm_SmallAreaEmphasis_GRX | -0.1947 |
| wavelet-HLH_firstorder_Mean_GRX | -0.8234 |
| original_gldm_SmallDependenceLowGrayLevelEmphasis_GRX | 0.1527 |
| original_glszm_LargeAreaHighGrayLevelEmphasis_GRX | -0.0241 |
| wavelet-LLL_glcm_ClusterShade_GRX | 0.1686 |
| original_glszm_SmallAreaEmphasis_GRX | -0.1947 |
| squareroot_gldm_SmallDependenceLowGrayLevelEmphasis_GRX | 0.1527 |
| wavelet-LLL_glcm_MCC_GRX | 0.1852 |
| wavelet-HLH_firstorder_Skewness_GRX | -0.2781 |
| wavelet-LHH_firstorder_Minimum_GRX | -0.5696 |
| squareroot_glszm_LargeAreaHighGrayLevelEmphasis_GRX | -0.0241 |
| wavelet-LHH_ngtdm_Complexity_BRX | 0.3219 |
| wavelet-HLL_glszm_SmallAreaHighGrayLevelEmphasis_BRX | 0.4057 |
| wavelet-HLH_glszm_SmallAreaEmphasis_BRX | 0.3580 |
| wavelet-HLH_glszm_ZoneEntropy_BRX | 0.3645 |
| wavelet-LHL_glcm_MaximumProbability_BRX | 0.6709 |
| wavelet-HHL_firstorder_Minimum_BRX | -0.8666 |
| wavelet-LHL_glcm_MCC_BRX | 0.3436 |
| wavelet-LHH_ngtdm_Contrast_BRX | 0.3663 |
| wavelet-HHL_firstorder_Skewness_BRX | -0.3169 |
| wavelet-HLH_firstorder_Skewness_BRX | -0.4384 |
| wavelet-LHH_firstorder_Kurtosis_BRX | -1.1486 |
| log-sigma-3-0-mm-3D_glszm_SizeZoneNonUniformityNormalized_JRX | -0.9390 |
| wavelet-LLH_glszm_SizeZoneNonUniformity_JRX | 0.7183 |
| wavelet-HLH_firstorder_Kurtosis_JRX | 0.6234 |
| wavelet-LHH_glrlm_RunVariance_GR | 0.4995 |
| wavelet-LLL_glszm_LowGrayLevelZoneEmphasis_JR | -0.1989 |
| wavelet-LHL_firstorder_Median_JR | 0.6054 |
| wavelet-LHL_ngtdm_Complexity_JR | 0.6405 |
| wavelet-HLH_glcm_Imc2_JR | -0.6850 |
| wavelet-LLH_firstorder_Kurtosis_JR | -0.0480 |
| log-sigma-1-0-mm-3D_firstorder_Maximum_JR | 0.0529 |
| wavelet-LLL_glszm_HighGrayLevelZoneEmphasis_JR | 0.1989 |
| log-sigma-1-0-mm-3D_glrlm_ShortRunHighGrayLevelEmphasis_JR | 0.3043 |
| wavelet-LHL_glszm_SizeZoneNonUniformity_JR | -0.1934 |
| log-sigma-3-0-mm-3D_glcm_MCC_JR | -0.1905 |
| wavelet-LLH_firstorder_Minimum_JR | -0.2921 |
| wavelet-HHH_glszm_LowGrayLevelZoneEmphasis_BR | -0.3811 |
| wavelet-HLH_glrlm_LowGrayLevelRunEmphasis_BR | 0.0060 |
| log-sigma-3-0-mm-3D_ngtdm_Coarseness_BR | 0.0679 |
| log-sigma-1-0-mm-3D_firstorder_Skewness_BR | 0.6591 |
| log-sigma-3-0-mm-3D_glcm_Correlation_BR | 0.7451 |
| wavelet-HHH_firstorder_Mean_BR | -0.5803 |
| wavelet-HHH_glszm_HighGrayLevelZoneEmphasis_BR | 0.3811 |
| wavelet-HLH_glrlm_HighGrayLevelRunEmphasis_BR | -0.0060 |

Note. exponential: exponential transform; wavelet: wavelet transform; LHH, LLL, LHL, HLH, LLH, HLL, HHL, HHH: particular subband after wavelet transform; squareroot: square root transform; original:features are calculated directly on the original image without preprocessing or transformation; log: Laplacian of Gaussian; glszm: gray levelsize zone matrix; gldm: gray leveldependence matrix; glcm: gray level cooccurence matrix; ngtdm: neigbouring gray tonedifference matrix; glrlm: gray levelrun length matrix; Imc2: informational measure of correlation 2;  MCC: maximal correlation coefficient;  GR, BR and JR: the abbreviations for features extracted from the cartilage of the femur, patella, and tibia, respectively. GRX, BRX and JRX: the abbreviations for features extracted from the subchondral bone of the femur, patella, and tibia, respectively.

| Table SⅫ Performance evaluation of models predicting the onset of KOA in testing cohort |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| LR model | AUC | Accuracy | Specificity | Sensitivity | F1 score | Precision |
| Cartilage | 0.974 | 0.942 | 0.946 | 0.935 | 0.915 | 0.896 |
| Subchondral bone | 0.941 | 0.877 | 0.902 | 0.826 | 0.817 | 0.809 |
| Combine cartilage and subchondral bone | 0.985 | 0.949 | 0.935 | 0.978 | 0.928 | 0.882 |

| Table SXIII Performance evaluation of models predicting the progression of KOA in testing cohort |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| LR model | AUC | Accuracy | Specificity | Sensitivity | F1 score | Precision |
| Cartilage | 0.676 | 0.565 | 0.529 | 0.667 | 0.444 | 0.333 |
| Subchondral bone | 0.721 | 0.652 | 0.588 | 0.833 | 0.555 | 0.417 |
| Combine cartilage and subchondral bone | 0.738 | 0.522 | 0.412 | 0.833 | 0.476 | 0.333 |

| Table SXIV Performance evaluation of models predicting the progression of KOA in testing cohort |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category | AUC | F1 score | Recall | Precision |
| Class 0 | 0.974 | 0.956 | 0.946 | 0.967 |
| Class 1 | 0.835 | 0.324 | 0.500 | 0.240 |
| Class 2 | 0.926 | 0.597 | 0.500 | 0.739 |

Note.Class 0=without KOA; Class 1=late KOA progression; Class 2=early KOA progression