|  | Pancreatic cancer | Liver cancer | Prostate cancer | Renal Cell Carcinoma | Tumor (unclassified) |
| --- | --- | --- | --- | --- | --- |
| Total Cases of "No Consequences Or Impact To Patient" | 5 | 3 | 2 | 1 | 26 |
| Failure to Deliver Energy; Energy Output Problem | 1 | 0 | 0 | 0 | 1 |
| Computer Software Problem | 1 | 0 | 0 | 0 | 0 |
| Communication or Transmission Problem | 1 | 1 | 0 | 0 | 4 |
| Temperature Problem | 1 | 0 | 0 | 0 | 1 |
| Device Stops Intermittently | 1 | 0 | 0 | 1 | 2 |
| Arcing of Electrodes | 0 | 1 | 0 | 0 | 2 |
| Saturation Signal and the Cable Has Been Replaced Multiple Times | 0 | 1 | 0 | 0 | 0 |
| Failure of Device to Self-Test | 0 | 0 | 1 | 0 | 3 |
| Detachment of Device or Device Component | 0 | 0 | 1 | 0 | 0 |
| Power Problem | 0 | 0 | 0 | 0 | 2 |
| Low Sensing Threshold; Device Sensing Problem | 0 | 0 | 0 | 0 | 1 |
| Pacing Problem | 0 | 0 | 0 | 0 | 1 |
| Device Remains Activated; Unexpected Shutdown | 0 | 0 | 0 | 0 | 3 |
| Firing Problem | 0 | 0 | 0 | 0 | 2 |
| Charging Problem | 0 | 0 | 0 | 0 | 2 |
| Material Discolored; Melted | 0 | 0 | 0 | 0 | 1 |
| Device Displays Incorrect Message | 0 | 0 | 0 | 0 | 1 |

Table S1 The specific causes of device failure associated with "No Consequences or Impact to Patient" events.

| Specific Adverse Event | Number of Cases (n=87) | Percentage (%) | Severity (CTCAE v5.0) | Notes |
| --- | --- | --- | --- | --- |
| Anemia | 6 | 6.90% | Grade 3 | Most common hematologic AE |
| Thrombocytopenia | 1 | 1.10% | Grade 3 | - |
| Atrial fibrillation | 1 | 1.10% | Grade 3 | - |
| Cardiac arrest | 1 | 1.10% | Grade 4 | Full recovery |
| Cardiopulmonary arrest | 1 | 1.10% | Grade 3 | - |
| Ventricular arrhythmia | 1 | 1.10% | Grade 3 | - |
| Abdominal pain | 3 | 3.40% | Grade 3 | - |
| Gastrointestinal hemorrhage | 3 | 3.40% | Grade 3 | - |
| Pancreatitis | 2 | 2.30% | Grade 3 | - |
| Duodenal obstruction | 1 | 1.10% | Grade 3 | - |
| Sepsis | 5 | 5.70% | Grade 3-5 | 1 fatal case |
| Septic shock | 3 | 3.40% | Grade 4 | - |
| Abdominal abscess | 2 | 2.30% | Grade 3 | - |
| Biliary tract infection | 1 | 1.10% | Grade 3 | - |
| Arterial hemorrhage | 1 | 1.10% | Grade 4 | Fatal |
| Vascular pseudoaneurysm | 1 | 1.10% | Grade 4 | Fatal |
| Post-procedural bile leak | 1 | 1.10% | Grade 3 | - |
| Ureteric injury | 1 | 1.10% | Grade 3 | - |
| Hypoalbuminemia | 1 | 1.10% | Grade 3 | - |
| Postoperative pancreatic fistula | 3 | 3.40% | Grade 1-2 | All resolved |

Table S2 Occurrence of adverse events with Nanoknife treatment in the DIRECT cohort.

| Specific Adverse Event | Number of Cases | Percentage (%) | Severity (CTCAE v5.0) | Relation to IRE Procedure | Timeframe (Most Common Onset) | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Hematuria | 46 | 38.00% | Grade 1-2 | 31.4% related | 0-30 days | Most common AE |
| Dysuria | 16 | 13.20% | Grade 1-2 | 9.9% related | 0-30 days | Resolved spontaneously |
| Urinary Retention | 14 | 11.60% | Grade 1-3 | 10.7% related | 0-30 days | 2 Grade 3 cases |
| Micturition Urgency | 14 | 11.60% | Grade 1-2 | 11.6% related | 0-30 days | - |
| Pollakiuria | 12 | 9.90% | Grade 1-2 | 9.1% related | 0-30 days | - |
| Erectile Dysfunction | 12 | 9.90% | Grade 1-2 | 9.9% related | 30-90 days | Transient in most cases |
| Hematospermia | 12 | 9.90% | Grade 1-2 | 9.9% related | 30-90 days | Resolved without intervention |
| Urinary Retention | 2 | 1.70% | Grade 3 | Definite | 0-30 days | Required catheterization |
| Bladder Spasm | 1 | 0.80% | Grade 3 | Definite | 0-30 days | - |
| Abdominal Pain | 1 | 0.80% | Grade 3 | Definite | 0-1 day | Self-resolved |
| Rectourethral Fistula | 1 | 0.80% | Grade 3 | Definite | 90 days | Resolved with SPC |
| Testicular Pain | 1 | 0.80% | Grade 3 | Unrelated | 90 days | Non-procedure-related |
| Pulmonary Embolism | 1 | 0.80% | Grade 3 | Unrelated | 90 days | - |
| Deep Vein Thrombosis | 1 | 0.80% | Grade 3 | Unrelated | 90 days | - |

Table S3 Occurrence of adverse events with Nanoknife treatment in the PRESERVE cohort.