Supplementary Table 1 TAT Determining the concentration of Biotin-labeled antibody with TAT HRP-labeled antibody

| TAT Biotin-labeled antibody (μg/mL) | 0.5 |  |  | 1 |  |  | 1.5 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TAT HRP-labeled antibody (μg/mL) | 1 | 1.5 | 2 | 1 | 1.5 | 2 | 1 | 1.5 | 2 |
| S1 | 3045 | 4967 | 44457 | 2987 | 5823 | 6745 | 4981 | 5019 | 7851 |
| S2 | 39671 | 45781 | 56871 | 49086 | 82997 | 78751 | 89761 | 69812 | 80127 |
| S3 | 233879 | 346781 | 398721 | 400763 | 404211 | 569021 | 427638 | 600927 | 676528 |
| S4 | 908745 | 1009756 | 1276545 | 1198782 | 1693406 | 1789657 | 1839007 | 2009813 | 2319707 |
| S5 | 3987876 | 4657825 | 5086372 | 5902638 | 6529542 | 6908263 | 5278297 | 6093821 | 6273849 |
| S2/S3 | 17% | 13% | 14% | 12% | 21% | 14% | 21% | 12% | 12% |
| S3/S4 | 26% | 34% | 31% | 33% | 24% | 32% | 23% | 30% | 29% |
| S4/S5 | 23% | 22% | 25% | 20% | 26% | 26% | 35% | 33% | 37% |

Supplementary Table 2 TAT kit 37 °C reaction time determination experiment

| Reaction time | 5 min | 10 min | 20 min | 30 min |
| --- | --- | --- | --- | --- |
| standards 1 | 4903 | 5832 | 4981 | 3301 |
| standards 2 | 70993 | 82997 | 72897 | 63782 |
| standards 3 | 337208 | 414211 | 362036 | 298730 |
| standards 4 | 1128936 | 1893406 | 1409729 | 1029837 |
| standards 5 | 5039483 | 6529542 | 5698345 | 4128398 |

Supplementary Table 3 TAT accuracy measurement results

| Concentrations (ng/mL) | Test1 | Test2 | Test3 | Average (ng/mL) | Bias (%) |
| --- | --- | --- | --- | --- | --- |
| 1.3 | 1.365 | 1.333 | 1.391 | 1.363 | 4.62% |
| 26.0 | 27.213 | 26.585 | 27.684 | 27.161 | 4.46% |

Supplementary Table 4 Comparison of TAT precision measurement results

| The name of the project | TAT assay results |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Lot 1 |  | Lot 2 |  | Lot 3 |  |
| Concentration level | 10 ng/ml | 40 ng/ml | 10 ng/ml | 40 ng/ml | 10 ng/ml | 40 ng/ml |
| 1 | 11.52 | 46.12 | 11.07 | 47.03 | 11.22 | 47.24 |
| 2 | 11.84 | 46.44 | 11.38 | 46.44 | 11.55 | 47.12 |
| 3 | 11.53 | 47.38 | 11.47 | 47.38 | 11.75 | 47.38 |
| 4 | 11.72 | 47.02 | 11.55 | 46.02 | 11.63 | 47.02 |
| 5 | 11.27 | 48.52 | 11.35 | 47.52 | 11.88 | 47.52 |
| 6 | 11.41 | 48.65 | 11.22 | 48.65 | 11.51 | 48.65 |
| 7 | 12.11 | 49.32 | 11.41 | 49.32 | 11.99 | 49.32 |
| 8 | 11.55 | 49.82 | 11.27 | 48.50 | 12.05 | 50.81 |
| 9 | 12.07 | 48.95 | 11.15 | 49.23 | 11.97 | 49.31 |
| 10 | 11.83 | 48.77 | 11.95 | 49.88 | 12.03 | 50.71 |
| Average | 11.685 | 48.099 | 11.382 | 47.997 | 11.758 | 48.508 |
| SD | 0.28 | 1.27 | 0.25 | 1.31 | 0.28 | 1.47 |
| CV% | 2.37% | 2.64% | 2.17% | 2.72% | 2.34% | 3.03% |

Supplementary Table 5 General information of cervical cancer patients

| Characteristics |  | All (n=177) |
| --- | --- | --- |
|  |  | Mean ± SD or no (%) |
| Age (year) |  | 54.83±10.437 |
| Menopausal status | Pre-menopausal | 82 (46.328%) |
|  | Post-menopausal | 95 (53.672%) |
| Pathologic stage | Ⅰ | 42 (23.729%) |
|  | Ⅱ | 45 (25.424%) |
|  | Ⅲ | 62 (35.028%) |
|  | Ⅳ | 28 (15.819%) |
| Blood clots occur | Yes | 27 (15.254%) |
|  | No | 150 (84.746%) |
| Traditional thrombosis testing | D-Dimer | 1.472±2.531 |
|  | PT | 11.131±0.886 |
|  | APTT | 26.737±3.285 |
|  | FDP | 4.997±7.267 |
| Four tests for thrombosis | TAT | 12.414±9.173 |
|  | t-PAIC | 6.222±3.689 |
|  | PIC | 0.822±1.146 |
|  | TM | 6.783±4.572 |

Supplementary Table 6 Clinical characteristics of thrombus in patients with cervical cancer

| Clinical characteristics | Number of cases |
| --- | --- |
| Type |  |
| PE | 4 |
| DVT | 24 |
| PE and DVT | 1 |
| Location |  |
| Left leg | 10 |
| Right leg | 11 |
| Both legs | 6 |
| Near-end | 2 |
| Far-end | 16 |

Supplementary Table 7 Receiver operating curve (ROC) analysis for each test marker

| Markers | Cut-off values | AUC (95%CI) | Sensitivity (%) | Specificity (%) | Youden Index |
| --- | --- | --- | --- | --- | --- |
| t-PAIC | 10.580 ng/mL | 0.670 (0.529-0.812) | 59.3 | 92.0 | 0.513 |
| TM | 11.624 TU/mL | 0.689 (0.570-0.808) | 63.0 | 83.3 | 0.463 |
| TAT | 15.627 ng/mL | 0.791 (0.663-0.919) | 74.1 | 91.3 | 0.654 |
| PIC | 0.822 ng/mL | 0.710 (0.594-0.825) | 77.8 | 69.3 | 0.471 |
| D-Dimer | 0.515 mg/L | 0.700 (0.590-0.810) | 77.8 | 78.7 | 0.565 |
| FDP | 5.000 mg/L | 0.718 (0.599-0.837) | 70.4 | 86.0 | 0.564 |

Abbreviation: VTE: Stomach cancer; t-PAIC: Tissue plasminogen activator inhibitor complex; TAT: Thrombin-antithrombin complex; TM: Thrombomodulin; PIC:α2-plamininhibitor-plasmin complex; D-D: D-Dimer; FDP: Fibrinogen degradation product

*P < 0.05 considered statistically significant.

Supplementary Table 8 Receiver operating characteristic curve (ROC) analysis of 6 markers combined with 6 markers for the diagnosis of VTE

| Markers | AUC (95%CI) | Sensitivity (%) | Specificity (%) | Youden Index |
| --- | --- | --- | --- | --- |
| t-PAIC+TM+TAT+PIC | 0.894 (0.815-0.972) | 81.5 | 91.3 | 0.728 |
| t-PAIC+TM+TAT+PIC+D-D+FDP | 0.912 (0.845-0.980) | 85.2 | 90.7 | 0.759 |
| D-D+FDP | 0.688 (0.566-0.810) | 51.9 | 88.7 | 0.406 |