## Fig. 6
Fig. 6. Results of quantitative analysis of laser light sheet test (100%=307200 pixels). The area occupied by droplets on the screen was in the order of air turbine (AT), contra-angle electric micromotor (EM), and 1:5 speed-up contra-angle electric micromotor (×5EM). With AT and EM, the area occupied by droplets on the screen was greater in the EOV only condition than in the no HVE condition. HVE, high-volume evacuator; IOV, intraoral vacuum; EOV, extraoral vacuum
|  | 1 | 2 | 3 | 4 | 5 | average
AT | no HVE | 10330 | 10034 | 8275 | 10359 | 9848 | 9769.2
|  | 3.363% | 3.266% | 2.694% | 3.372% | 3.206% | 3.18%
| EOV | 30109 | 32163 | 25587 | 34262 | 39121 | 32248.4
|  | 9.801% | 10.47% | 8.329% | 11.15% | 12.73% | 10.5%
| IOV | 128 | 131 | 191 | 217 | 181 | 169.6
|  | 0.04167% | 0.04264% | 0.06217% | 0.07064% | 0.05892% | 0.05521%
| EOV+IOV | 17 | 50 | 41 | 28 | 6 | 28.4
|  | 0.005534% | 0.01628% | 0.01335% | 0.009115% | 0.001953% | 0.009245%
EM | no HVE | 862 | 663 | 366 | 674 | 346 | 582.2
|  | 0.2806% | 0.2158% | 0.1191% | 0.2194% | 0.1126% | 0.1895%
| EOV | 16525 | 18446 | 20536 | 20364 | 20443 | 19262.8
|  | 5.379% | 6.005% | 6.685% | 6.629% | 6.655% | 6.27%
| IOV | 616 | 412 | 210 | 114 | 138 | 298
|  | 0.2005% | 0.1341% | 0.06836% | 0.03711% | 0.04492% | 0.09701%
| EOV+IOV | 42 | 85 | 71 | 67 | 47 | 62.4
|  | 0.01367% | 0.02767% | 0.02311% | 0.02181% | 0.0153% | 0.02031%
×5EM | no HVE | 129 | 521 | 661 | 449 | 270 | 406
|  | 0.04199% | 0.1696% | 0.2152% | 0.1462% | 0.08789% | 0.1322%
| EOV | 65 | 116 | 202 | 154 | 69 | 121.2
|  | 0.02116% | 0.03776% | 0.06576% | 0.05013% | 0.02246% | 0.03945%
| IOV | 16 | 6 | 6 | 5 | 8 | 8.2
|  | 0.005208% | 0.001953% | 0.001953% | 0.001628% | 0.002604% | 0.002669%
| EOV+IOV | 22 | 24 | 41 | 19 | 28 | 26.8
|  | 0.007161% | 0.007812% | 0.01335% | 0.006185% | 0.009115% | 0.008724%

## Fig. 7
Fig. 7. Results of water-sensitive paper tests (100%=2204260 pixels). (A) air turbine, (B) contra-angle electric micromotor, and (C) 1:5 speed-up contra-angle electric micromotor. At distances greater than 20 cm from the handpieces, spray contamination was less than 10% of the water-sensitive area in all examinations. Although high-volume evacuators were effective, contamination tended to increase in the direction of the extraoral vacuum when it was used alone.
AT |  |  | area |  |  | % | [6 empty] | area |  |  | % | [6 empty] | area |  |  | % | [6 empty] | area |  |  | %
|  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average
no HVE | 12 o'clock | 10cm | 1099013 | 701089 | 970709 | 49.86% | 31.81% | 44.04% | 41.9% | EOV | 12 o'clock | 10cm | 341771 | 82454 | 39599 | 15.51% | 3.741% | 1.796% | 7.01% | IOV | 12 o'clock | 10cm | 98452 | 49229 | 51778 | 4.466% | 2.233% | 2.349% | 3.02% | EOV+IOV | 12 o'clock | 10cm | 40246 | 5948 | 9610 | 1.826% | 0.2698% | 0.436% | 0.84%
|  | 20cm | 4996 | 5745 | 16488 | 0.2267% | 0.2606% | 0.748% | 0.41% |  |  | 20cm | 2392 | 7613 | 1926 | 0.1085% | 0.3454% | 0.08738% | 0.18% |  |  | 20cm | 1184 | 1138 | 618 | 0.05371% | 0.05163% | 0.02804% | 0.04% |  |  | 20cm | 96 | 376 | 64 | 0.004355% | 0.01706% | 0.002903% | 0.01%
|  | 30cm | 20552 | 5995 | 56638 | 0.9324% | 0.272% | 2.569% | 1.26% |  |  | 30cm | 3765 | 1708 | 7072 | 0.1708% | 0.07749% | 0.3208% | 0.19% |  |  | 30cm | 392 | 499 | 333 | 0.01778% | 0.02264% | 0.01511% | 0.02% |  |  | 30cm | 68 | 154 | 1 | 0.003085% | 0.006986% | 4.537e-05% | 0%
| 3 o'clock | 10cm | 3602 | 8520 | 12358 | 0.1634% | 0.3865% | 0.5606% | 0.37% |  | 3 o'clock | 10cm | 7525 | 4500 | 4591 | 0.3414% | 0.2042% | 0.2083% | 0.4% |  | 3 o'clock | 10cm | 3988 | 4393 | 4875 | 0.1809% | 0.1993% | 0.2212% | 0% |  | 3 o'clock | 10cm | 4106 | 3676 | 4239 | 0.1863% | 0.1668% | 0.1923% | 0.03%
|  | 20cm | 6 | 3 | 2 | 0.0002722% | 0.0001361% | 9.073e-05% | 0% |  |  | 20cm | 1 | 1 | 12 | 4.537e-05% | 4.537e-05% | 0.0005444% | 0% |  |  | 20cm | 1 | 2 | 1 | 4.537e-05% | 9.073e-05% | 4.537e-05% | 0% |  |  | 20cm | 90 | 8 | 1 | 0.004083% | 0.0003629% | 4.537e-05% | 0%
|  | 30cm | 1 | 1 | 1 | 4.537e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 18 | 1 | 190 | 0.0008166% | 4.537e-05% | 0.00862% | 0% |  |  | 30cm | 1 | 23 | 1 | 4.537e-05% | 0.001043% | 4.537e-05% | 0% |  |  | 30cm | 14 | 2 | 4 | 0.0006351% | 9.073e-05% | 0.0001815% | 0%
| 6 o'clock | 10cm | 1 | 20 | 1 | 4.537e-05% | 0.0009073% | 4.537e-05% | 0% |  | 6 o'clock | 10cm | 447 | 434 | 408 | 0.02028% | 0.01969% | 0.01851% | 0.02% |  | 6 o'clock | 10cm | 476 | 632 | 37 | 0.02159% | 0.02867% | 0.001679% | 0.02% |  | 6 o'clock | 10cm | 7 | 1 | 15 | 0.0003176% | 4.537e-05% | 0.0006805% | 0%
|  | 20cm | 1 | 3 | 3 | 4.537e-05% | 0.0001361% | 0.0001361% | 0% |  |  | 20cm | 1 | 1 | 2 | 4.537e-05% | 4.537e-05% | 9.073e-05% | 0% |  |  | 20cm | 2 | 1 | 1 | 9.073e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 20cm | 2 | 8 | 1 | 9.073e-05% | 0.0003629% | 4.537e-05% | 0%
|  | 30cm | 17 | 1 | 1 | 0.0007712% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 3 | 2 | 3 | 0.0001361% | 9.073e-05% | 0.0001361% | 0% |  |  | 30cm | 2 | 2 | 184 | 9.073e-05% | 9.073e-05% | 0.008347% | 0% |  |  | 30cm | 2 | 3 | 1 | 9.073e-05% | 0.0001361% | 4.537e-05% | 0%
| 9 o'clock | 10cm | 890 | 155385 | 436180 | 0.04038% | 7.049% | 19.79% | 8.96% |  | 9 o'clock | 10cm | 22857 | 3300 | 249 | 1.037% | 0.1497% | 0.0113% | 0.25% |  | 9 o'clock | 10cm | 13 | 59 | 23 | 0.0005898% | 0.002677% | 0.001043% | 0.2% |  | 9 o'clock | 10cm | 859 | 106 | 1035 | 0.03897% | 0.004809% | 0.04695% | 0.18%
|  | 20cm | 3 | 111 | 175 | 0.0001361% | 0.005036% | 0.007939% | 0% |  |  | 20cm | 1 | 1 | 1 | 4.537e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 20cm | 4 | 2 | 16 | 0.0001815% | 9.073e-05% | 0.0007259% | 0% |  |  | 20cm | 1 | 2 | 1 | 4.537e-05% | 9.073e-05% | 4.537e-05% | 0%
|  | 30cm | 1 | 6 | 1 | 4.537e-05% | 0.0002722% | 4.537e-05% | 0% |  |  | 30cm | 1 | 3 | 4 | 4.537e-05% | 0.0001361% | 0.0001815% | 0% |  |  | 30cm | 1 | 2 | 2 | 4.537e-05% | 9.073e-05% | 9.073e-05% | 0% |  |  | 30cm | 1 | 3 | 6 | 4.537e-05% | 0.0001361% | 0.0002722% | 0%
| vertical | 10cm | 18636 | 7361 | 9372 | 0.8455% | 0.3339% | 0.4252% | 0.53% |  | vertical | 10cm | 181630 | 21165 | 179556 | 8.24% | 0.9602% | 8.146% | 5.78% |  | vertical | 10cm | 1150 | 844 | 2196 | 0.05217% | 0.03829% | 0.09963% | 0.06% |  | vertical | 10cm | 4088 | 3227 | 8971 | 0.1855% | 0.1464% | 0.407% | 0.25%
|  | 20cm | 1 | 2 | 69 | 4.537e-05% | 9.073e-05% | 0.00313% | 0% |  |  | 20cm | 1 | 1 | 2 | 4.537e-05% | 4.537e-05% | 9.073e-05% | 0% |  |  | 20cm | 1 | 1 | 1 | 4.537e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 20cm | 1 | 3 | 2 | 4.537e-05% | 0.0001361% | 9.073e-05% | 0%
|  | 30cm | 2 | 1 | 102 | 9.073e-05% | 4.537e-05% | 0.004627% | 0% |  |  | 30cm | 3 | 1 | 1 | 0.0001361% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 25 | 381 | 22 | 0.001134% | 0.01728% | 0.0009981% | 0.01% |  |  | 30cm | 3 | 5 | 1 | 0.0001361% | 0.0002268% | 4.537e-05% | 0%
EM |  |  | area 1: area; % 1: % |  |  |  |  | area |  |  | % | [6 empty] | area |  |  | % | [6 empty] | area |  |  | %
|  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average
no HVE | 12 o'clock | 10cm | 418714 | 859990 | 264933 | 19% | 39.01% | 12.02% | 23.34% | EOV | 12 o'clock | 10cm | 37168 | 15534 | 56675 | 1.686% | 0.7047% | 2.571% | 1.65% | IOV | 12 o'clock | 10cm | 105052 | 207421 | 146753 | 4.766% | 9.41% | 6.658% | 6.94% | EOV+IOV | 12 o'clock | 10cm | 3087 | 35614 | 43036 | 0.14% | 1.616% | 1.952% | 1.24%
|  | 20cm | 1605 | 10827 | 17543 | 0.07281% | 0.4912% | 0.7959% | 0.45% |  |  | 20cm | 847 | 413 | 809 | 0.03843% | 0.01874% | 0.0367% | 0.03% |  |  | 20cm | 948 | 575 | 507 | 0.04301% | 0.02609% | 0.023% | 0.03% |  |  | 20cm | 277 | 2 | 123 | 0.01257% | 9.073e-05% | 0.00558% | 0.01%
|  | 30cm | 618 | 1936 | 2694 | 0.02804% | 0.08783% | 0.1222% | 0.08% |  |  | 30cm | 1 | 311 | 169 | 4.537e-05% | 0.01411% | 0.007667% | 0.01% |  |  | 30cm | 149 | 2 | 306 | 0.00676% | 9.073e-05% | 0.01388% | 0.01% |  |  | 30cm | 217 | 35 | 628 | 0.009845% | 0.001588% | 0.02849% | 0.01%
| 3 o'clock | 10cm | 119911 | 125056 | 117660 | 5.44% | 5.673% | 5.338% | 5.48% |  | 3 o'clock | 10cm | 66269 | 71760 | 80488 | 3.006% | 3.256% | 3.651% | 50.41% |  | 3 o'clock | 10cm | 73073 | 63237 | 3 | 3.315% | 2.869% | 0.0001361% | 5.53% |  | 3 o'clock | 10cm | 47900 | 47659 | 45241 | 2.173% | 2.162% | 2.052% | 11.03%
|  | 20cm | 152 | 9106 | 6477 | 0.006896% | 0.4131% | 0.2938% | 0.24% |  |  | 20cm | 1 | 1 | 116 | 4.537e-05% | 4.537e-05% | 0.005263% | 0.03% |  |  | 20cm | 33 | 1 | 1 | 0.001497% | 4.537e-05% | 4.537e-05% | 0% |  |  | 20cm | 16 | 159 | 1 | 0.0007259% | 0.007213% | 4.537e-05% | 0.01%
|  | 30cm | 6 | 261 | 1 | 0.0002722% | 0.01184% | 4.537e-05% | 0% |  |  | 30cm | 2 | 1 | 1 | 9.073e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 1 | 574 | 891 | 4.537e-05% | 0.02604% | 0.04042% | 0% |  |  | 30cm | 4 | 101 | 1 | 0.0001815% | 0.004582% | 4.537e-05% | 0%
| 6 o'clock | 10cm | 155 | 4 | 219 | 0.007032% | 0.0001815% | 0.009935% | 0.01% |  | 6 o'clock | 10cm | 1244 | 710 | 491 | 0.05644% | 0.03221% | 0.02228% | 0.04% |  | 6 o'clock | 10cm | 3 | 2 | 323 | 0.0001361% | 9.073e-05% | 0.01465% | 0% |  | 6 o'clock | 10cm | 182 | 232 | 233 | 0.008257% | 0.01053% | 0.01057% | 0.01%
|  | 20cm | 24 | 14 | 1 | 0.001089% | 0.0006351% | 4.537e-05% | 0% |  |  | 20cm | 3 | 3 | 1 | 0.0001361% | 0.0001361% | 4.537e-05% | 0% |  |  | 20cm | 1 | 16 | 1 | 4.537e-05% | 0.0007259% | 4.537e-05% | 0% |  |  | 20cm | 2 | 1 | 202 | 9.073e-05% | 4.537e-05% | 0.009164% | 0%
|  | 30cm | 2 | 1 | 1 | 9.073e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 251 | 122 | 1 | 0.01139% | 0.005535% | 4.537e-05% | 0.01% |  |  | 30cm | 2 | 11 | 2 | 9.073e-05% | 0.000499% | 9.073e-05% | 0% |  |  | 30cm | 1 | 8 | 2 | 4.537e-05% | 0.0003629% | 9.073e-05% | 0%
| 9 o'clock | 10cm | 1022056 | 1001293 | 850453 | 46.37% | 45.43% | 38.58% | 43.46% |  | 9 o'clock | 10cm | 1143608 | 1088390 | 1101435 | 51.88% | 49.38% | 49.97% | 3.3% |  | 9 o'clock | 10cm | 107972 | 116426 | 141126 | 4.898% | 5.282% | 6.402% | 2.06% |  | 9 o'clock | 10cm | 248692 | 216456 | 264363 | 11.28% | 9.82% | 11.99% | 2.13%
|  | 20cm | 3677 | 31058 | 1917 | 0.1668% | 1.409% | 0.08697% | 0.55% |  |  | 20cm | 586 | 695 | 775 | 0.02658% | 0.03153% | 0.03516% | 0% |  |  | 20cm | 1 | 1 | 322 | 4.537e-05% | 4.537e-05% | 0.01461% | 0% |  |  | 20cm | 18 | 56 | 270 | 0.0008166% | 0.002541% | 0.01225% | 0%
|  | 30cm | 1 | 3657 | 1 | 4.537e-05% | 0.1659% | 4.537e-05% | 0.06% |  |  | 30cm | 1 | 1 | 2 | 4.537e-05% | 4.537e-05% | 9.073e-05% | 0% |  |  | 30cm | 2 | 213 | 2 | 9.073e-05% | 0.009663% | 9.073e-05% | 0.02% |  |  | 30cm | 4 | 1 | 1 | 0.0001815% | 4.537e-05% | 4.537e-05% | 0%
| vertical | 10cm | 191772 | 132074 | 153108 | 8.7% | 5.992% | 6.946% | 7.21% |  | vertical | 10cm | 376469 | 416716 | 389476 | 17.08% | 18.91% | 17.67% | 17.88% |  | vertical | 10cm | 6253 | 5670 | 19297 | 0.2837% | 0.2572% | 0.8754% | 0.47% |  | vertical | 10cm | 3459 | 57 | 2361 | 0.1569% | 0.002586% | 0.1071% | 0.09%
|  | 20cm | 17182 | 31290 | 1397 | 0.7795% | 1.42% | 0.06338% | 0.75% |  |  | 20cm | 14 | 178 | 47 | 0.0006351% | 0.008075% | 0.002132% | 0% |  |  | 20cm | 1 | 215 | 1 | 4.537e-05% | 0.009754% | 4.537e-05% | 0% |  |  | 20cm | 1 | 2 | 40 | 4.537e-05% | 9.073e-05% | 0.001815% | 0%
|  | 30cm | 2 | 1 | 1 | 9.073e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 1 | 1 | 31 | 4.537e-05% | 4.537e-05% | 0.001406% | 0% |  |  | 30cm | 26 | 1 | 3 | 0.00118% | 4.537e-05% | 0.0001361% | 0% |  |  | 30cm | 3 | 34 | 3 | 0.0001361% | 0.001542% | 0.0001361% | 0%
x5EM |  |  | area 1: area; % 1: % |  |  |  |  | area |  |  | % | [6 empty] | area |  |  | % | [6 empty] | area |  |  | %
|  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average |  |  |  | 1 | 2 | 3 | 1 | 2 | 3 | average
no HVE | 12 o'clock | 10cm | 460210 | 695337 | 701126 | 20.88% | 31.55% | 31.81% | 28.08% | EOV | 12 o'clock | 10cm | 80229 | 154296 | 150808 | 3.64% | 7% | 6.842% | 5.83% | IOV | 12 o'clock | 10cm | 544994 | 744165 | 752181 | 24.72% | 33.76% | 34.12% | 30.87% | EOV+IOV | 12 o'clock | 10cm | 212579 | 578461 | 130133 | 9.644% | 26.24% | 5.904% | 13.93%
|  | 20cm | 134436 | 133552 | 80104 | 6.099% | 6.059% | 3.634% | 5.26% |  |  | 20cm | 16645 | 19492 | 24976 | 0.7551% | 0.8843% | 1.133% | 0.92% |  |  | 20cm | 47586 | 22458 | 38249 | 2.159% | 1.019% | 1.735% | 1.64% |  |  | 20cm | 10394 | 21912 | 7217 | 0.4715% | 0.9941% | 0.3274% | 0.6%
|  | 30cm | 8322 | 22057 | 25098 | 0.3775% | 1.001% | 1.139% | 0.84% |  |  | 30cm | 3628 | 4632 | 6772 | 0.1646% | 0.2101% | 0.3072% | 0.23% |  |  | 30cm | 6758 | 2691 | 3419 | 0.3066% | 0.1221% | 0.1551% | 0.19% |  |  | 30cm | 2443 | 1303 | 507 | 0.1108% | 0.05911% | 0.023% | 0.06%
| 3 o'clock | 10cm | 399060 | 856510 | 793712 | 18.1% | 38.86% | 36.01% | 30.99% |  | 3 o'clock | 10cm | 59411 | 50349 | 44273 | 2.695% | 2.284% | 2.009% | 2.82% |  | 3 o'clock | 10cm | 6075 | 6965 | 10814 | 0.2756% | 0.316% | 0.4906% | 1.71% |  | 3 o'clock | 10cm | 9116 | 8388 | 10585 | 0.4136% | 0.3805% | 0.4802% | 2.32%
|  | 20cm | 32242 | 276131 | 81607 | 1.463% | 12.53% | 3.702% | 5.9% |  |  | 20cm | 1517 | 2398 | 1392 | 0.06882% | 0.1088% | 0.06315% | 0.03% |  |  | 20cm | 3 | 1 | 1 | 0.0001361% | 4.537e-05% | 4.537e-05% | 0.02% |  |  | 20cm | 5 | 4 | 18 | 0.0002268% | 0.0001815% | 0.0008166% | 0.07%
|  | 30cm | 2470 | 2320 | 2794 | 0.1121% | 0.1053% | 0.1268% | 0.11% |  |  | 30cm | 105 | 158 | 1 | 0.004764% | 0.007168% | 4.537e-05% | 0.06% |  |  | 30cm | 1 | 5 | 1 | 4.537e-05% | 0.0002268% | 4.537e-05% | 0% |  |  | 30cm | 1 | 1 | 1 | 4.537e-05% | 4.537e-05% | 4.537e-05% | 0%
| 6 o'clock | 10cm | 334 | 228 | 221 | 0.01515% | 0.01034% | 0.01003% | 0.01% |  | 6 o'clock | 10cm | 239376 | 358818 | 299887 | 10.86% | 16.28% | 13.6% | 13.58% |  | 6 o'clock | 10cm | 46 | 4689 | 26128 | 0.002087% | 0.2127% | 1.185% | 0.47% |  | 6 o'clock | 10cm | 1209 | 174 | 329 | 0.05485% | 0.007894% | 0.01493% | 0.03%
|  | 20cm | 2 | 2 | 15 | 9.073e-05% | 9.073e-05% | 0.0006805% | 0% |  |  | 20cm | 392 | 34 | 308 | 0.01778% | 0.001542% | 0.01397% | 0.01% |  |  | 20cm | 1 | 3940 | 1 | 4.537e-05% | 0.1787% | 4.537e-05% | 0.06% |  |  | 20cm | 1 | 6 | 1 | 4.537e-05% | 0.0002722% | 4.537e-05% | 0%
|  | 30cm | 1 | 3 | 1 | 4.537e-05% | 0.0001361% | 4.537e-05% | 0% |  |  | 30cm | 149 | 3 | 4 | 0.00676% | 0.0001361% | 0.0001815% | 0% |  |  | 30cm | 1 | 1 | 1 | 4.537e-05% | 4.537e-05% | 4.537e-05% | 0% |  |  | 30cm | 1 | 1 | 193 | 4.537e-05% | 4.537e-05% | 0.008756% | 0%
| 9 o'clock | 10cm | 61113 | 74157 | 50605 | 2.772% | 3.364% | 2.296% | 2.81% |  | 9 o'clock | 10cm | 43870 | 81272 | 61344 | 1.99% | 3.687% | 2.783% | 2.33% |  | 9 o'clock | 10cm | 20788 | 50512 | 41472 | 0.9431% | 2.292% | 1.881% | 0.36% |  | 9 o'clock | 10cm | 51538 | 56293 | 45429 | 2.338% | 2.554% | 2.061% | 0.42%
|  | 20cm | 515 | 1424 | 843 | 0.02336% | 0.0646% | 0.03824% | 0.04% |  |  | 20cm | 382 | 769 | 1161 | 0.01733% | 0.03489% | 0.05267% | 0.08% |  |  | 20cm | 474 | 659 | 464 | 0.0215% | 0.0299% | 0.02105% | 0% |  |  | 20cm | 850 | 1774 | 1997 | 0.03856% | 0.08048% | 0.0906% | 0%
|  | 30cm | 1 | 326 | 3 | 4.537e-05% | 0.01479% | 0.0001361% | 0% |  |  | 30cm | 4 | 1 | 3721 | 0.0001815% | 4.537e-05% | 0.1688% | 0% |  |  | 30cm | 1 | 1 | 16 | 4.537e-05% | 4.537e-05% | 0.0007259% | 0% |  |  | 30cm | 3 | 1 | 1 | 0.0001361% | 4.537e-05% | 4.537e-05% | 0%
| vertical | 10cm | 1727406 | 1457272 | 1294185 | 78.37% | 66.11% | 58.71% | 67.73% |  | vertical | 10cm | 2094028 | 2180760 | 2178400 | 95% | 98.93% | 98.83% | 97.59% |  | vertical | 10cm | 881503 | 664972 | 744312 | 39.99% | 30.17% | 33.77% | 34.64% |  | vertical | 10cm | 1025183 | 917668 | 877453 | 46.51% | 41.63% | 39.81% | 42.65%
|  | 20cm | 7362 | 6791 | 6911 | 0.334% | 0.3081% | 0.3135% | 0.32% |  |  | 20cm | 47185 | 37396 | 43830 | 2.141% | 1.697% | 1.988% | 1.94% |  |  | 20cm | 6693 | 5082 | 8941 | 0.3036% | 0.2306% | 0.4056% | 0.31% |  |  | 20cm | 12235 | 11029 | 12601 | 0.5551% | 0.5003% | 0.5717% | 0.54%
|  | 30cm | 3 | 70 | 1 | 0.0001361% | 0.003176% | 4.537e-05% | 0% |  |  | 30cm | 1 | 28 | 27 | 4.537e-05% | 0.00127% | 0.001225% | 0% |  |  | 30cm | 3 | 1 | 4 | 0.0001361% | 4.537e-05% | 0.0001815% | 0% |  |  | 30cm | 19 | 3 | 1 | 0.000862% | 0.0001361% | 4.537e-05% | 0%