| Author | Year | Type of study | Protocol description |  | Number of implants |  | Buccal horizontal alteration |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Test | Control | Test | Control | Test |  |  |  |  |  |  |  | Contrôle |  |  |  |  |  |
|  |  |  |  |  |  |  | 0-1 month |  | 0-3 months |  | 0-4 months |  | 0-6 months |  | 0-1 month |  | 0-4 months |  | 0-6 months |  |
|  |  |  |  |  |  |  | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD | Mean | SD |
| Chokaree et al. | 2024 | RCT | IIP – BG - customized HA - | IIP – BG - Standard HA | 6 | 6 | -0.0754 | 0.509 | NA | NA | -0.5388 | 0.340 | -0.3507 | 0.439 | -0.442 | 0.537 | -0.490 | 0.587 | -0.453 | 0.578 |
| Lertwongpaisan et al. | 2023 | Case-series | IIP – BG - titanium customized HA - | N.A | 32 | 0 | -0.28 | 0.11 | -0.47 | 0.14 | NA | NA | -0.70 | 0.16 | NA | NA | NA | NA | NA | NA |
| Negative values indicate recession or dimensional reduction. IIP: Immediate Implant Placement; BG: Bone Graft; HA: Healing Abutment; IP: Immediate Provisional; NA: Not Applicable; RCT : Randomized Clinical Trial; BL : Bone Level ; IC : Internal Connection ; EC : External Connection ; PES : Pink Esthetic Score. |

Supplemental Table 7 : Buccal horizontal alteration