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TASH

	
	
	Measurer: 1
	
	
	
	Measurer: 2
	
	

	subject
	1st
	2nd
	Difference(d)
	d2
	1st
	2nd
	Difference(d)
	d2
	

	number
	measurement
	measurement
	
	
	measurement
	measurement
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	1
	76.5
	76.2
	
	0.3
	0.09
	75.9
	75.6
	0.3
	0.09
	

	2
	84.5
	84.2
	
	0.2
	0.04
	84.7
	84.4
	0.3
	0.09
	

	3
	66.4
	66.8
	
	-0.4
	0.16
	66.1
	65.8
	0.3
	0.09
	

	4
	60.3
	60.0
	
	0.3
	0.09
	60.6
	60.2
	0.4
	0.16
	

	5
	94.3
	94.0
	
	0.3
	0.09
	94.0
	94.3
	-0.3
	0.09
	

	6
	53.7
	53.4
	
	0.3
	0.09
	53.3
	53.2
	0.1
	0.01
	

	7
	62.5
	62.3
	
	0.2
	0.04
	63.1
	63.2
	-0.1
	0.01
	

	8
	59.2
	59.0
	
	0.2
	0.04
	59.3
	59.1
	0.2
	0.04
	

	9
	45.3
	45.6
	
	-0.3
	0.09
	45.0
	45.3
	-0.3
	0.09
	

	10
	63.7
	63.4
	
	0.3
	0.09
	63.9
	63.6
	0.3
	0.09
	

	Absolute Intra Observer TEM  √∑ di2/ 2N = 0.2 Kg
	Absolute Intra Observer TEM = √∑ d2/ 2N= 0.19 kg
	


Inter observer TEM = 0.2156
Standard deviation = 1.48
Coefficient of reliability = 97.5 %

Where:
∑d2 = summation of deviations raised to the second power
N = number of volunteers measured
i= the number of deviations





SPMMC

	
	
	Measurer: 1
	
	
	
	Measurer: 2
	
	

	subject
	1st
	2nd
	Difference(d)
	d2
	1st
	2nd
	Difference(d)
	d2
	

	number
	measurement
	measurement
	
	
	measurement
	measurement
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	1
	66.3
	66.5
	
	-0.2
	0.04
	65.1
	65.2
	-0.1
	0.01
	

	2
	57.8
	57.7
	
	0.1
	0.01
	57.6
	57.4
	0.2
	0.04
	

	3
	63.5
	63.7
	
	-0.2
	0.04
	63.2
	62.3
	-0.1
	0.01
	

	4
	80.6
	80.7
	
	0.1
	0.01
	80.5
	80.7
	-0.2
	0.04
	

	5
	55.8
	56.0
	
	0.2
	0.04
	55.2
	55.4
	-0.2
	0.04
	

	6
	48.6
	48.8
	
	-0.2
	0.04
	48.8
	48.9
	-0.1
	0.01
	

	7
	62.5
	62.1
	
	0.4
	0.16
	63.1
	63.0
	0.1
	0.01
	

	8
	59.6
	59.3
	
	0.3
	0.09
	59.9
	59.0
	-0.1
	0.01
	

	9
	62.2
	62.3
	
	-0.1
	0.01
	62.6
	62.5
	0.1
	0.01
	

	10
	58.7
	58.8
	
	-0.1
	0.01
	58.2
	58.2
	0
	0
	

	Absolute Intra Observer TEM  √∑ di2/ 2N = 0.16 kg
	Absolute Intra Observer TEM = √∑ d2/ 2N= 0.096kg
	



Inter observer TEM = 0.2241
Standard deviation = 1.35
Coefficient of reliability = 98.42 %

Where:
∑d2 = summation of deviations raised to the second power
N = number of volunteers measured
i= the number of deviation
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