(A)

(A)

Additional file 2: Table S1. Liquid chromatography-tandem mass spectrometry (LC-MS/MS) conditions for the determination of lancemaside A (LA) (A) and summary of MS & MS/MS chromatogram spectrum in negative ion mode of LA (B)

| Instrument | LC : Nexera X2 (Shimadzu, Kyoto, Japan) MS/MS : LCMS-8050 (Shimadzu, Kyoto, Japan) |  |  |
| --- | --- | --- | --- |
| HPLC Conditions |  |  |  |
| Column | ACQUITY BEH C18 (2.1 mm i.d. × 100 mm, 1.7 μm) |  |  |
| Solvent | A: DW (0.1 % Formic acid) B: ACN (0.1 % Formic acid) |  |  |
| Elution Condition | Time (min) | A (%) | B (%) |
|  | 0 | 80 | 20 |
|  | 5 | 0 | 100 |
|  | 7 | 0 | 100 |
|  | 7.1 | 80 | 20 |
|  | 10 | 80 | 20 |
| Flow Rate | 0.3 mL/min |  |  |
| Injection Volume | 2 μL |  |  |
| MS/MS Conditions |  |  |  |
| Detection Ion mode | ESI negative mode ([M-H]-) |  |  |
| Interface Voltage | 4.0 kV |  |  |
| Interface Temp. | 120◦C |  |  |
| Desolvation line Temp. | 250◦C |  |  |
| Neubulizing gas Flow | 3 L/min |  |  |
| Drying gas Flow | 10 L/min |  |  |

| Compound | Rta (min) | Molecular weight | Formula | Exact mass (m/z) [M-H]- |
| --- | --- | --- | --- | --- |
| Lancemaside A | 3.11 | 1190.6 | C57H90O26 | 1189.6 |
|  | Product mass (m/z) [M-H]- | Q1 Pre Bias (V) | CEb | Q3 Pre Bias (V) |
|  | 647.5* | 34 | 55 | 22 |
|  | 469.2 | 34 | 55 | 22 |
|  | 585.3 | 34 | 50 | 20 |
| aRetention time |  |  |  |  |
| bCollision energy (eV) |  |  |  |  |
| *Major fragmentation ion |  |  |  |  |

(B)

(B)