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image1.jpg
Operating out of focus omm 0
Target achievement excellent
Completed ohjects 19 100
Tissue treatment excellent
Injured (extramacular) retina area 0 0
Injured lens area 0 0
Injured macular area 0 0
Intraocular pressure too high or too low 4902.75 o
Macular spotted hemarrhages 0 0
Photatoxicity o o
Spotted hemarrhages 0 0
Total Score
Staining 0 0
Task score 401100
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Navigation Training - Level 1

Use user0g1
Real Name:
System: EVESIBOX025
Category
Efficiency

Time

Time (with instruments inserted)
Instrument handling
Distance instrument tip - ight cone
Instrument closing meter
Instrument slipped out of sphere
Lateral instrument movements
Nurnber of instrument closings
Odameter
Odometer (left hand)
Odometer (right hand)
Operating outside light cone
Operating without light probe
Rotometer
Microscope handling

BIOM loupe dipped into visco

Date:
Cours

App-Version:

2020-02-13 15:24

eyesinet
34

Value

0:08:30
0:08:29

114

46
216

0

1543 65 mm
0

1543 65

0

0

1595.04

Score
failing
-20

0
failing
0

0

20

excellent

0





