Supplementary appendix A

-Skill Assessment Questionnaire-

Question 1
You are managing a 40-year-old male patient with no significant medical history admitted to respiratory intensive care unit (RICU) for hypoxemic respiratory failure due to pneumonia. At admission to the unit, the patient is on a face mask at 15 L/min. His vital signs: respiratory rate (RR) 30/min, peripheral oxygen saturation (SpO2) 90%, heart rate (HR) 110/min, blood pressure (BP) 125/70, Temperature 38.5°C.

A. You switch him to High-Flow Nasal Oxygenation (HFNO)
B. You set the HFNO flow rate to 30 L/min for tolerance
C. You set the fraction of inspired oxygen (FiO2) to 40% and gradually increase it to achieve an SpO2> of 94%
D. You select nasal cannulas that are adapted to the patient's nostrils
E. You request Arterial Blood Gas (ABG) after 1 hour

 Question 2
You perform clinical examination and reassess the patient.

A. You calculate his HACOR score
B. You calculate his ROX index
C. You observe an RR of 30 and an SpO2 of 90% while the patient is on an FiO2 of 90% and a flow of 50 L/min; you start Non-Invasive Ventilation (NIV) for pre-oxygenation and prepare for intubation. You leave the HFNO at the bedside to maintain oxygenation during the apneic phase
D. You perform pre-oxygenation using HFNO and leave it in place during intubation to maintain oxygenation during the apneic phase
E. You verify the absence of difficult intubation or ventilation criteria

 Question 3
The patient ultimately avoided intubation, improved, and you decide to wean him off HFNO. He is on an FiO2 of 80% and a flow of 50 L/min with an SpO2 of 100%, an RR of 15/min, and a PaO2/FiO2 ratio of 285.

A. You start by reducing the FiO2
B. You start by reducing the flow rate
C. You base the weaning management on the SpO2
D. You reduce the size of the nasal cannulas
E. You switch to asymmetrical cannulas


Question 4
Regarding HFNO in acute hypercapnic respiratory failure:

A. HFNO can be used instead of NIV in non-acidotic patients
B. Alternating NIV/HFNO is a relevant strategy
C. High flow rates can reduce partial pressure of carbon dioxide (PaCO₂)
D. High FiO₂ causes increased PaCO₂ regardless of SpO₂ level
E. Asymmetric cannulas increase CO₂ rebreathing in the nasal cavities



Question 5
Regarding HFNO:

A. HFNO allows delivery of controlled FiO₂ even with high respiratory rates
B. HFNO reduces work of breathing by decreasing inspiratory resistance
C. HFNO generates a positive end-expiratory pressure (PEEP) of about 5 cmH₂O with closed mouth, inversely proportional to flow rate
D. HFNO reduces PaCO₂ by washing out nasopharyngeal dead space
E. HFNO reduces respiratory rate



Question 6
You are managing Mr. G., 65 years old, COPD GOLD E, on home NIV, presenting with acute acidotic-hypercapnic exacerbation without hypoxemia. His home NIV device was brought by his family.

A. You propose ventilatory management with alternating NIV/HFNC
B. You start NIV using a single-limb home ventilator with a leak-free mask
C. You start NIV using a critical care ventilator in NIV mode with a double-limb circuit and leak-free mask
D. You set the ventilator to Assisted Control Volume Ventilation mode
E. You set the ventilator to Pressure Support Ventilation mode


Question 7
You are observing the respiratory mechanics of a patient on NIV  and you note that the RR on the scope is 30/min while it is 15/min on the ventilator. Analysis of the ventilator curves shows the following (10):
 
What type of asynchrony do you identify?

A. Ineffective efforts
B. Late cycling
C. Short cycling

D. Auto-triggering
E. Double triggering

Question 8
What adjustment do you make?

A. Switch to Assisted Control Volume mode
B. Increase PEEP
C. Increase pressure support 
D. Increase expiratory trigger sensitivity

E. Decrease inspiratory trigger sensitivity

Question 9
After your adjustments, the patient–ventilator asynchrony has disappeared. Hours later, a ventilator alarm sounds. You enter the room and see these curves (10):

What type of asynchrony do you identify?

A. Ineffective efforts
B. Late cycling
C. Short cycling

D. Auto-triggering
E. Double triggering



Question 10
What adjustment do you make?

A. Switch to Assisted Control Volume mode
B. Increase PEEP
C. Reduce pressure support
D. Correct leaks
E. Lengthen inspiratory time

Question 11
After one hour of NIV with optimized settings, you perform ABG which shows no improvement in respiratory acidosis.
What do you do?

A. Intubate the patient
B. Increase pressure support level
C. Look at the end tidal volume (VTE) measured by the ventilator and make sure it is between 8 and 10 ml/kg
D. Measure the RR and set a safety RR
E. Switch the patient to assisted control pressure mode if you are unable to synchronize with the ventilator in pressure support mode.

Question 12
Here are the curves observed on the ventilator (10); what is your diagnosis?

A. Double triggering
B. Auto-triggering
C. The trigger sensitivity needs to be reduced
D. The inspiratory time needs to be lengthened
E. Leaks need to be corrected

Question 13
You have just intubated a patient who measures 170 cm and weighs 100 kg for bilateral hypoxemic pneumonia. How do you set the ventilator?

A. Set the ventilator to pressure support mode
B. Set the ventilator to Assisted Control Volume mode
C. Set tidal volume at 390 ml
D. Set tidal volume at 600 ml
E. Set FiO2 at 100%

Question 14
Which statements are true?

A. If you want to measure plateau pressure, you have to perform an end-inspiratory breathing pause
B. If plateau pressure is greater than 14 cmH2O, the patient has severe ARDS and is at risk of barotrauma
C. If the peak pressure is elevated, it means the patient has an airway obstruction or bronchospasm
D. If plateau pressure is elevated, it means pulmonary compliance is low
E. When you perform an end-expiratory pause, you can measure intrinsic PEEP and the trapped volume within each respiratory cycle

Question 15
Which statements are true?

A. When a patient is intubated and ventilated in Assisted Control Volume mode for bronchospasm, you must increase the expiratory time by decreasing the RR
B. When a patient is intubated and ventilated in Assisted Control Volume mode for bronchospasm, you must increase the expiratory time by decreasing the inspiratory flow
C. Neuromuscular blockers help patient-ventilator synchronism
D. When a patient is intubated and ventilated in Assisted Control Volume mode for bronchospasm, the PEEP set on the ventilator can increase intrinsic PEEP and trapped volume
E. When a patient is intubated and ventilated in Assisted Control Volume mode for bronchospasm, you should prefer aerosol administration with a vibrating mesh nebulizer