Additional Files
Additional file 1 - Description on available assistive technology and telecare devices among 154 people with dementia with accessible data, and information about devices offered by the municipalities (A-C).
	Sensor technology
	Technology device
	Description of assistive technology and telecare devices
	Municipalitiesa

	
	
	
	A
	B
	C

	
	Fall sensore
	A passive sensor that is triggered at heavy fall by accelerometer. The device is part of an integrated telecare system and is connected to a monitoring center.
	Xd,f
	Xd,f
	Xd,f

	
	Flood sensor
	A passive sensor that is designed to detect unwanted water on the floor. Provides an alert in time to allow the prevention of water leakage.
	
	
	

	
	Bed occupancy sensore
	A passive sensor placed under the bed sheets sending an alert immediately when the patient exists the bed. Alternatively, the alarm can be set to send an alert only when a person does not return to bed within a reasonable time. The sensor is part of an integrated telecare system. 
	Xd,f
	Xd,f
	Xd,f

	
	Door sensore
	A passive sensor that detects when someone leaves through the fromt door while an alert is sent to a connected monitoring service.
	Xd,f
	Xd,f
	Xd,f

	
	Stove guard
	A passive sensor that automatically turns off the stove if a situation becomes dangerous. The device is a legal requirement in all Norwegian homes built after 2010.
	xc
	xf
	xb

	
	Social alarm
	Active sensor device the person can carry with them as wristwatch or necklace. Requires connection to a monitoring service offered by the municipality. Triggers an alarm by active press on an integrated alarm button. Functions only nearby the monitoring router installed at home, and do not work when the person with the sensor is outside the home. 
	xc
	xd
	xb

	Tracking devices
	Tracking device 
	Passive electronic security device which monitors the location of a person device, connected to a unit e.g., GPS (Global Positioning System) to allocate a person wearing this device.
	
	xf
	

	
	Tracking device with social alarm
	A combination of active/passive device connected to a GPS unit together with an installed social alarm in connection to either a monitoring service or the caregiver’s mobile phone.
	
	
	

	Everyday technology
	Door Camera
	A camera installed outside the front door to show who is ringing the doorbell.
	
	
	

	
	Timer on electronic devices
	A control device that after a predetermined time interval, automatically starts or stops an electronic device. 
	
	
	

	
	Watch with memory function
	A watch that helps to remember preinstalled appointments through an audible voice alarm. 
	
	
	

	
	Electronic door lock
	Physical and electronic locking control that enables the patient or healthcare worker to enter the home when needed, without the need of a traditional key.
	x
	xf
	x

	
	Calendar support
	Display digital the time and date of the current day. 
	x
	x
	x

	
	Electronic pill box dispenser 
	Electronic pill box that triggers an alarm and releases medication at a preinstalled time.
	x
	xf
	


aMuncipality (%); A: 35.2%; B:36.5%; C:38.0%.
bOffered to all people with dementia >75 years who claim for this device, without a required mapping visit.
cOffered to all people with dementia >85 years who claim for this device, without a required mapping visit.
dOffered to all people with dementia without a required mapping visit.
dRequires an installed social alarm and is connected to a 24-hours monitoring service driven by the municipalities.
fPart of a safety package offered by the municipalities.
