## Price advantage (hidden)
Maximum extra price allowed compared to the cheapest option (%) | 100% | In this example, we see seven products with different prices. The cheapest product is the first from the left, and it will get 100% of the points according to the price criterion. Any product with a price higher than the cutoff point (red line) will get 0% of points according to the price criterion. The products with prices in between the cheapest and the cutoff point will get points based on a simple linear function.
(e.g. +100% means double price, +200% means triple price of the reference product)
|  |  | 100% | 50% | 0% | 0% | 0% | 0% | 0%
|  | Options | 10 | 15 | 20 | 25 | 30 | 40 | 50 | 20
|  | Cutoff point | 20 | 20 | 20 | 20 | 20 | 20 | 20

## Cover
Multi-criteria Decision Analysis (MCDA) tool
for purchasing implantable medical devices
Version 2.0
Developed 3 March 2022

## Scoring Functions
Criteria number and intended definition | Criteria name | Possible scoring elements | options | Score (%)
1. To assure fulfilling the technical specifications | Technical characteristics of the medical device | Fulfills <70% of the technical specefications required | Fulfills <70% of the technical specefications required | EXCLUSION
|  | Fulfills 70%-<80% of the technical specefications required | Fulfills 70%-<80% of the technical specefications required | 10%
|  | Fulfills 80%-<90% of the technical specefications required | Fulfills 80%-<90% of the technical specefications required | 60%
|  | Fulfills 90%-<100% of the technical specefications required | Fulfills 90%-<100% of the technical specefications required | 80%
|  | Fulfills 100% of the technical specefications required | Fulfills 100% of the technical specefications required | 100%
2. To assure manufacturing in a country with good standards of quality | Country of origin | Non reference countries for both | Non reference countries for both | 40%
|  | Reference country of the legal manufacturer or actual manufacturer | Reference country of the legal manufacturer or actual manufacturer | 80%
|  | Reference countries for both legal and actual manufacturer or local product | Reference countries for both legal and actual manufacturer or local product | 100%
3. To assure previous use in countries with good standards of quality | Use in reference countries | European CE certificate only (for local products only) | European CE certificate only (for local products only) | 50%
|  | European CE certificate + free sale certificate from a reference country | European CE certificate + free sale certificate from a reference country | 75%
|  | Canadian free sale certificate + ((medical device active license + MDSAP certificate) or medical device establishment license ) | Canadian free sale certificate + ((medical device active license + MDSAP certificate) or medical device establishment license ) | 80%
|  | CFG certificate from FDA | CFG certificate from FDA | 100%
5. To assure the relaiability of the supplier | Supply reliability | Supplier fulfilled < 50% of the committed requirements in the last 3 years | Supplier fulfilled < 50% of the committed requirements in the last 3 years | 10%
|  | Did not supply previously | Did not supply previously | 50%
|  | Supplier fulfilled 50% - 70% of the committed requirements in the last 3 years | Supplier fulfilled 50% - 70% of the committed requirements in the last 3 years | 60%
|  | Supplier fulfilled 70% - 90% of the committed requirements in the last 3 years | Supplier fulfilled 70% - 90% of the committed requirements in the last 3 years | 80%
|  | Supplier fulfilled more than 90% of the committed requirements in the last 3 years | Supplier fulfilled more than 90% of the committed requirements in the last 3 years | 100%
4. To assure previous use in tenders (must provide import approval in case of imported products) | Previous use in tenders | Did not supply previously | Did not supply previously | 45%
|  | Supplied to governmental or non-governmental organizations in the previous 2 years | Supplied to governmental or non-governmental organizations in the previous 2 years | 70%
|  | Listed in the UPA platform | Listed in the UPA platform | 100%
7. To assure supplier flexibility | Instant replacement within product variety (within surgery OR on shelf stock) | Supplier does not provide product replacement for different sizes/ types | Supplier does not provide product replacement for different sizes/ types | 15%
|  | Supplier provides instant replacement within product variety (During surgery on on shelf stock) | Supplier provides instant replacement within product variety (During surgery on on shelf stock) | 100%
6. To assure having a proper recall and pharmacovigilance system for sold products | Pharmacovigilance | No pharmacovigilance system | No pharmacovigilance system | EXCLUSION
|  | Supplier has a low quality pharmacovigilance system | Supplier has a low quality pharmacovigilance system | 20%
|  | Supplier has a moderate quality pharmacovigilance system | Supplier has a moderate quality pharmacovigilance system | 70%
|  | Supplier has an efficient pharmacovigilance system | Supplier has an efficient pharmacovigilance system | 100%
9. to assure replacement of unwanted or expired products | Refund/Replacement within product variety | The product was present in the stagnant report 4 times in the last year | The product was present in the stagnant report 4 times in the last year | 20%
|  | The product was present in the stagnant report 3 times subsequently in the last year | The product was present in the stagnant report 3 times subsequently in the last year | 50%
|  | The product was present in the stagnant report 2 times subsequently in the last year | The product was present in the stagnant report 2 times subsequently in the last year | 70%
|  | The product was present in the stagnant report 1 time or less in the last year | The product was present in the stagnant report 1 time or less in the last year | 100%

## SMART Ranking (hidden)
Now please enter the ranking of each criterion to the orange cell
Rank
Technical characteristics of the medical device | 1 | 1.04 | Technical characteristics of the medical device | 1
Country of origin | 2 | 2.08 | Country of origin | 2
Use in reference countries | 3 | 3.12 | Use in reference countries | 3
Previous use in tenders | 5 | 5.16 | Previous use in tenders | 4
Supply reliability | 4 | 4.2 | Supply reliability | 5
Pharmacovigilance | 7 | 7.24 | Pharmacovigilance | 6
Instant replacement within product variety (within surgery OR on shelf stock) | 6 | 6.28 | Instant replacement within product variety (within surgery OR on shelf stock) | 7
#REF! |  |  | #REF! | 8
Refund/Replacement within product variety | 8 | 8.36 | Refund/Replacement within product variety | 9

## Order of criteria
Rank | Criterion
1.04 | Technical characteristics of the medical device | 1
2.08 | Country of origin | 2
3.12 | Use in reference countries | 3
4.2 | Supply reliability | 4
5.16 | Previous use in tenders | 5
6.28 | Instant replacement within product variety (within surgery OR on shelf stock) | 6
7.24 | Pharmacovigilance | 7
8.36 | Refund/Replacement within product variety | 8
9
10
11
12

## Criteria weights (hidden)
| Maximum extra price they are willing to pay compared to the cheapest option (%) |  |  | 100%
| Distribution of non-price criteria based on the SMART method (overall) | Weight increase compared to previous | 248.6% | Final weight
Rank |  |  |  |  | weight | median
1.04 | Weight of the Technical characteristics of the medical device criterion | 51% | 73.16% | 29.43% | #REF! | #REF! | 1
2.08 | Weight of the Country of origin criterion | 31% | 48.45% | 19.49% | #REF! | #REF! | 2
3.12 | Weight of the Use in reference countries criterion | 27% | 36.98% | 14.88% | #REF! | #REF! | 3
4.2 | Weight of the Supply reliability criterion | 30% | 29.12% | 11.71% | #REF! | #REF! | 4
5.16 | Weight of the Previous use in tenders criterion | 31% | 22.4% | 9.01% | #REF! | #REF! | 5
6.28 | Weight of the Instant replacement within product variety (within surgery OR on shelf stock) criterion | 50% | 17.1% | 6.878% | #REF! | #REF! | 6
7.24 | Weight of the Pharmacovigilance criterion | 14% | 11.4% | 4.585% | #REF! | #REF! | 7
8.36 | Weight of the Refund/Replacement within product variety criterion |  | 10% | 4.022% | #REF! | #REF! | 8
[5 empty] | #REF! |  | 9

## Weights
| The weight of the Price criterion | 0
| This means that the combined weights of all other criteria will be | 0
SMART weighting
| Total distribution of weights of all criteria |  | SMART weighting | Manually set weights | Please select!
Rank |  | 100 | 100 | 0
|  | 0 | 0
1.04 | Calculated weight of the Technical characteristics of the medical device criterion | 29.4264 | 29.4264 | - | 1
2.08 | Calculated weight of the Country of origin criterion | 19.4877 | 19.4877 | - | 2
3.12 | Calculated weight of the Use in reference countries criterion | 14.8761 | 14.8761 | - | 3
4.2 | Calculated weight of the Supply reliability criterion | 11.7135 | 11.7135 | - | 4
5.16 | Calculated weight of the Previous use in tenders criterion | 9.0104 | 9.0104 | - | 5
6.28 | Calculated weight of the Instant replacement within product variety (within surgery OR on shelf stock) criterion | 6.8781 | 6.8781 | - | 6
7.24 | Calculated weight of the Pharmacovigilance criterion | 4.5854 | 4.5854 | - | 7
8.36 | Calculated weight of the Refund/Replacement within product variety criterion | 4.0223 | 4.0223 | - | 8
9
10
11
12

## Assessing options
| Criterion | Weight of criterion | Comparator 1 |  |  | Comparator 2 |  |  | Comparator 3 |  |  | Comparator 4 |  |  | Comparator 5
|  |  | Assessment | Points | Score within weights (%) | Assessment | Points | Score within weights (%) | Assessment | Points | Score within weights (%) | Assessment | Points | Score within weights (%) | Assessment | Points | Score within weights (%)
| Technical characteristics of the medical device | 29.4264 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Country of origin | 19.4877 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Use in reference countries | 14.8761 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Supply reliability | 11.7135 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Previous use in tenders | 9.0104 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Instant replacement within product variety (within surgery OR on shelf stock) | 6.8781 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Pharmacovigilance | 4.5854 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
| Refund/Replacement within product variety | 4.0223 |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A
#REF! | Overall score |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A | #N/A |  | #N/A

## Graph
| Comparator 1 | Comparator 2 | Comparator 3 | Comparator 4 | Comparator 5
Technical characteristics of the medical device | #N/A | #N/A | #N/A | #N/A | #N/A
Supply reliability | #N/A | #N/A | #N/A | #N/A | #N/A
Country of origin | #N/A | #N/A | #N/A | #N/A | #N/A
Previous use in tenders | #N/A | #N/A | #N/A | #N/A | #N/A
Use in reference countries | #N/A | #N/A | #N/A | #N/A | #N/A
Instant replacement within product variety (within surgery OR on shelf stock) | #N/A | #N/A | #N/A | #N/A | #N/A
Pharmacovigilance | #N/A | #N/A | #N/A | #N/A | #N/A
Refund/Replacement within product variety | #N/A | #N/A | #N/A | #N/A | #N/A
#REF! | #N/A | #N/A | #N/A | #N/A | #N/A
#REF! | #N/A | #N/A | #N/A | #N/A | #N/A
#REF! | #N/A | #N/A | #N/A | #N/A | #N/A
#REF! | #N/A | #N/A | #N/A | #N/A | #N/A